| #### PACKING / PROFORMA INVOICE |  | University of Bergen Institute of Solid Earth Physics Allé gt. 41 N-5007 BERGEN, NORWAY Tel: (+47) 5558 3420 Fax: (+47) 5558 9669 | No.: 01-02 |
| --- | --- | --- | --- |
|  | Please contact: Ole Meyer Direct tel.: (+47) 5558 3421 |  | Date: 21. feb. 2001 |

| To: | Shipping address: |
| --- | --- |
| UNIVERSITETET I TROMSØ | Samme |
| Institutt for geologi |  |
| Dramsveien 201 |  |
| 9037 TROMSØ |  |
| Attn.: Steinar Iversen, tlf. 7764 4409 |  |

| ITEM | description, marks, type of pieces | Ser. no. | WEIGHT [kg] | DIM LxWxH [cm] |
| --- | --- | --- | --- | --- |
| Box 1: METAL CASE, WEIGHT 30 kg, CUSTOMS VALUE: NOK 20.000 Item No Unit Description ------------------------------------------------------------------------------ 1 1 ea Blaster, mod. HVD-100, mfr. GeoSpace 2 1 ea Battery charger 12 Vdc, for HVD-100 & Synchraphone II, mfr. Biltema 3 1 ea Trigger cable, between HVD-100 & Geometrics ES-2401 (two-part) 4 1 ea Trigger cable, for series connection in cap wire, for Geometrics 5 1 ea 12 Vdc power distribution junction box 6 1 ea 12 Vdc (40 A) power supply, mod. WRP12SX, mfr. ETA 7 1 ea Battery cable, w/ snap-on connectors 8 1 ea Power outlet, 8-way, for 230 Vac 9 2 ea Wind speed indicator, w/ spare rotor 10 1 ea Heater unit for coal elements, mod. HeatPac, mfr. STK 11 2 ea Battery, D-cell, for HeatPac 12 24 ea Coal element, mod. 8403, for HeatPac 13 1 ea Oven, 300 W, 230 Vac, mfr. Nobø 14 1 ea Oven, fan, 2000 W, 230 Vac, mfr. Siemens 15 1 ea Cap cable w/ snap-on connector and safety switch 16 1 ea Adapter for snowstreamer |  |  |  |  |
| ##### Box 2: METAL CASE, WEIGHT 15 kg, CUSTOMS VALUE NOK 5.000 Item No Unit Description ------------------------------------------------------------------------------ 1 1 ea Display LCD 2 1 ea Analog board assembly, P/N 32050-01 3 1 ea Power supply, P/N 32145-01 4 1 ea Custom filter 5 1 ea Floppy disk drive, 3.5" 6 1 ea Network card 7 1 ea SCSI disk 8 10 ea Paper roll 9 1 ea MS-DOS manual 10 1 ea Keyboard for Geometrics ES-2401 11 30 ea Floppy Disk 3.5” 12 1 ea Interlink cable |  |  |  |  |

##### Box 3:  GREY GLASSFIBER CASE, 40 kg, CUSTOMS VALUE NOK 100.000

Item No Unit Description

------------------------------------------------------------------------------

1   1  ea   Geometrics ES-2401 Seismic Recorder, 24-channels
 1   1  ea   Operating Manual

Total value for customs: NOK 125.000

No of pieces: 3

Authorized signature:	...............................................................

Ole Meyer

| Shipping instructions |  |  |  |  |  | for shipper |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Select one: |  | ASAP | Payment: | X | Shipper | Type: |  | Date: |  |
|  |  | Next day |  |  | Consignee | AWB no.: |  | By: |  |
|  |  | In two days |  |  | Other | Charges: |  |  |  |
|  |  | Routine |  |  |  | Reference: |  |  |  |
| Delivered by: |  | Ole Meyer |  |  |  | Date: | 21. feb 2001 |  |  |
| Received by: |  |  |  |  |  | Date: |  | No of pieces: | 3 |

Special Instructions: