## Fjord test results
New Active # in streamer | UiB proposal 25 May 2009 | Fjord comments 19 May 2009 | UiB Section # 2008 map | Status (UiB) | Serial number | Depth transducer | Hyd. gr. leak. | Hyd.gr. | El.test
1 | OK |  | 1 | OK | 9405-090-02F | ok | ok | ok | Cap. gr. 10 in tail.
2 | New active #2 |  | New 2 | OK | 9508-130-18F | OK | OK | OK | Leakage wire tail- T4: 28 Mohm. Cap. gr. 10 in tail.
3 | OK |  | Spares | OK | 9302-053-010F | ok | ok | ok | Cap.gr.10 in tail.
4 | OK - ikke så stor leakage | scrap | 4 | ? | 9210-289-06L | o.k | Missing data | o.k | Leak gnd/f39 12Mohm and F39-F62 70 Mohm (mangler gummi matte i front)
5 | OK |  | Spares | OK | 9302-051-014F | ok | ok | ok | Cap.gr.10 in tail.
6 | Fjord har fyllt opp m/kerosen | må etterfylles med kerosen | 6 | ? | 9503-414-006L | o.k | Missing data |  | cap. Gr.10 leak gr. 3 53 Mohm. almost empty of kerosene
7 | OK |  | Spares | OK | 9603-167-006F | ok | ok | ok | Cap.gr.10 in tail.
8 | OK |  | Spares | OK | 9511-469-06L | ok | ok | ok
9 | OK |  | 9 | OK | 9510-455-05L | ok |  |  | Leakage gr. 8: 20 Mohm. Cap.gr 10 in tail.
10 | OK |  | 10 | OK | 9507-125-09F | o.k | Missing data | o.k
11 | OK |  | Spares 19/5 |  | 9506-427-05L | Ok | OK | OK | Cap. gr.10 in tail.
12 | Litt leakage, men ikke så mye .. | scrap | 12 | ? | 9304-056-01F | ok |  |  | Leakages gr. 11 and gr. 9 21 and 14 Mohm, gr 3 34 Mohm. Leakage A-E 22 Mohm. Missing pin pad in front con.
13 | OK |  | 13 | OK | 9408-093-020F | o.k | Missing data | o.k
14 | Litt leakage på Power, bør gå bra … | scrap | 14 | ? | 9311-366-04L | o.k | Missing data |  | Gr. 9B- Gnd 14Mohm leak on power
15 | OK |  | Spares 19/5 |  | 9608-183-06F | OK | OK | OK | Cap. gr.10 in tail.
16 | OK |  | Spares 19/5 |  | 9310-073-014F | OK | OK | OK | Cap. gr.10 in tail.
17 | OK |  | 17 | OK | 9506-429-03L | ok ? |  |  | DT -1,5 ( Little too high)
18 | Leakage er liten (dvs høye verdier). |  | 18 | ? | 9606-176-14F | ok |  |  | Cap. Gr. 10 tail. Leakage B/Gnd 80 Mohm. Many leakages on the lines 15-20 Mohm
19 | OK | kan brukes | 19 | ? | 9411-100-004F | OK | Missing data |  | Leakage gr. 16 121 Mohm, gr. 8 60 Mohm, gr.9 60 Mohm. Leakage power A-B 44 Mohm , Short coil 1 to ground and more leakage.
20 | OK |  | 20 | OK | 9506-427-08L | OK | OK | OK | Cap. Gr. 10 tail.
21 | OK |  | Spares 19/5 |  | 9510-141-02F | OK | OK | OK | High resistance p.7: DC power +15 V: 29 ohm. (21 ohm). Cap. gr.10 in tail.
22 | OK | O.k | 22 | ? | 9601-477-04L | HIGH | Missing data | OK | Cap. Gr 10 in tail. DT high 6,1 og 0.
23 | OK |  | 23 | OK | 9605-175-015F | OK | Missing data | OK | Cap. gr. 10 in tail.
24 | OK | Kan brukes | 24 | ? | 9508-444-10L | LOW | Missing data | OK | DT messure -4,7 on 0. Gr.4 163 nf and gr. 11 169 nf low. Missing 1 or 1/2 hyd.
25 | Litt høyere motstandsverdi noen steder, men hydrofonsignalene bør være ganske bra? Men kanskje begynnende brudd? | scrap | 25 | ? | 9606-515-009L | OK | Missing data | OK | Cap. gr. 10 in tail. High resistance on 71, 78 and 89 : 30-40 ohm. (21 ohm).(71 tran ch 8. 78 Carrier C, 89 tran ch. 18.)
26 | OK |  | 26 | OK | 9301-321-006L | o.k | Missing data | o.k
27 | OK - vi mister da en kanal? Eller kanskje TriAcq'en ruter rundt bruddet. | scrap | 27 | ? | 9311-366-010L | o.k | Missing data | o.k | Broken pin 110 in front trans ch.3 to Gnd.
28 | OK |  | 28 | OK | 9402-083-020F | o.k | Missing data |  | cap on gr. 10 tail
29 | OK |  | 29 | OK | 9203-030-02F | ok | ok | ok | Cap. gr.10 in tail.
30 | OK |  | 30 | OK | 9302-049-010F | ok | ok | ok
SPARE | Vrak ved neste anledning | Scrap |  | ? | 9311-366-02L | ok |  |  | Gr 9 B - Gnd 14 Mohm,Leakage A-F 14 Mohm, A-B 25 Mohm, Cap. Gr. 10 in tail. Many leakages 276 pcs.
SPARE | Vrak ved neste anledning | scrap | 11 | ? | 9606-177-05F | OK | Missing data |  | Leakage gr.1,3,5,2,6,4,8. Gr. 15 43 Mohm, Gr 6 1,2 Mohm gr. 1 14 Mohm. Elles 15-20 Mohm leakage on hyd. groups.
| SCRAP YES! |  | 3 | SCRAP | 9304-056-016F |  | Missing data |  | short-circuit on all gr.
| SCRAP YES! |  | 5 | SCRAP | 9309-354-003L | o.k | Missing data | o.k | Broken steel wire
| SCRAP | scrap | 7 | ? | 9203-028-14F | ok |  |  | Leakage gr. 2 ; 4 Mohm, gr. 4: 2 Mohm, gr.6: 13 Mohm, gr.7-GND: 17 Mohm. Leakage wire-tail: t86, 87 : 14-25 Mohm.Gr: 4 low cap. Cap. Gr.10 in tail. Missing set screw.
| SCRAP YES! |  | 8 | SCRAP | 9203-029-07F | ok |  |  | Short circuit on all hyd. gr. Cable is empty of kerosene and it is water inside.
| SCRAP | scrap | 15 | ? | 9401-374-007L | o.k | Missing data |  | short-circuit on gr.5-9B-10-11 and 13
| SCRAP YES! |  | 16 | SCRAP | 9608-182-008F | OK | Missing data | Short | Short on all hyd. gr. . Short and leakage on several lines. Cap. gr.10 in tail. Break on power A, high resistance power B 21 ohm (0,5)
|  |  | Notes: | We don't use Depth transducers in sections
Active #2 and #21 section in streamer: Mismatch between streamer map dated Autumn 2008 (see separate worksheet in this file) and Fjord test records.
Map was probably not updated.
Cross-reference with map over UiB streamer.
Fjord: "Spesifikasjon på hyd gr ved leak er ca. 20 Mohm. Jeg har merket scrap på de som er under vår spec."

## Map 2008 UiB Nessie-3 streamer
"Håkon Mosby" N3 streamer configuration 2008 Svalex - Isfjorden
Sections | ASSI | Cable | Ser.No. | 2 | 3 | Bird | Weights |  | Date | Ch.# | Ch.# | Remarks
[6 empty] | Front | Front | Aft | Changed
|  | HSDJ-A | [9 empty] | Deck cable 31m
|  | HSJJ | [9 empty] | Slip-ring 0.5m
Slip-ring adapter 3m
Lead-in |  | HSEJ-B | [9 empty] | 412m Leadin
Tow-Adapt. |  | HSRWJ | 9302-009-004F | [5 empty] | 2001-08-12 |  |  | REPAIR ADPT. GEL FILLED
Stretch |  | HSYJ-B | 9611-020-003F |  |  | 1- |  |  | 2001-08-12 |  |  | skiftet 29/8-07, 50m, 2 bly
Front Group |  | HSAWJ | 9109-003-001F | [5 empty] | 2001-08-12 |  | 0.5
Active 1 |  | HSSJ-B | 9405-090-02F |  |  | 2- | 2 |  | 2006-08-30 | 0.5 | 7.5 | Bird 1, 2 bly, skiftet 2008
ASSI - 1 | 2018-03-01 | [7 empty] | 2001-08-12
Active 2 |  | HSSJ-B | 9605-511-002L | [5 empty] | 2001-08-12 | 8.5 | 15.5 | Bird 2
Active 3 |  | HSSJ-B | 9304-056-016F |  |  | BC | 1 |  | 2001-08-12 | 16.5 | 23.5 | skiftet 2008
ASSI - 2 | 03-0117 | [7 empty] | 2001-08-12
Active 4 |  | HSSJ-B | 9210-289-006L |  |  | 3- | 3 |  | 2001-08-12 | 24.5 | 31.5 | Bird 3, 2 bly
Active 5 |  | HSSJ-B | 9309-354-003L |  |  |  | 1 |  | 2001-08-12 | 32.5 | 39.5 | 1 Bly
ASSI - 3 | 03-1498 | [7 empty] | 2001-08-12
Active 6 |  | HSSJ-B | 9503-414-006L |  |  |  | 3 |  | 2001-08-12 | 40.5 | 47.5 | 1 Bly
Active 7 |  | HSSJ-B | 9203-028-014F |  |  |  | 2 |  | 2001-08-12 | 48.5 | 55.5 | 1 Bly
ASSI - 4 | 03-1071 | [7 empty] | 2001-08-12 |  |  | skiftet 2008
Active 8 |  | HSSJ-B | 9203-029-007F |  |  | 4- | 3 |  | 2001-08-12 | 56.5 | 63.5 | Bird 4 2 hull - lappet (31/8-05), (28/8-07)
Active 9 |  | HSSJ-B | 9510-455-055L | [5 empty] | 2001-08-12 | 64.5 | 71.5 | hull - lappet
ASSI - 5 | 03-1944 | [7 empty] | 2001-08-12
Active 10 |  | HSSJ-B | 9507-125-009F |  |  |  | 4 |  | 2001-08-12 | 72.5 | 79.5 | 1 bly
Active 11 |  | HSSJ-B | 9606-177-005F |  |  |  | 3 |  | 2001-08-12 | 80.5 | 87.5 | 1 Bly
ASSI - 6 | 03-1942 | [7 empty] | 2001-08-12
Active 12 |  | HSSJ-B | 9304-056-001F |  |  | 5- | 3 |  | 2001-08-12 | 88.5 | 95.5 | Bird 5, 1 bly
Active 13 |  | HSSJ-B | 9408-093-020F |  |  |  | 2 |  | 2001-08-12 | 96.5 | 103.5
ASSI - 7 | 03-0473 | [7 empty] | 2001-08-12
Active 14 |  | HSSJ-B | 9311-366-004L | [5 empty] | 2001-08-12 | 104.5 | 111.5
Active 15 |  | HSSJ-B | 9401-374-007L |  |  |  | 2 | 0 | 2001-08-12 | 112.5 | 119.5 | 1 Bly
ASSI - 8 | 03-0039 | [7 empty] | 2001-08-12
Active 16 |  | HSSJ-B | 9608-182-008F |  |  | 6- | 2 |  | 2001-08-12 | 120.5 | 127.5 | Bird 6, 1 bly
Active 17 |  | HSSJ-B | 9506-429-003L |  |  |  | 1 |  | 2001-08-12 | 128.5 | 135.5 | 0 Bly
ASSI - 9 | 03-0679 | [7 empty] | 2001-08-12
Active 18 |  | HSSJ-B | 9606-176-014F |  |  | a | 2 |  | 2001-08-12 | 136.5 | 143.5 | Bird 7, 1 Bly
Active 19 |  | HSSJ-B | 9411-100-004F |  |  | a | 2 |  | 2001-08-12 | 144.5 | 151.5 | 1 Bly
ASSI - 10 | 03-01934 | [7 empty] | 2001-08-12
Active 20 |  | HSSJ-B | 9506-427-008L |  |  | 7- | 2 |  | 2001-08-12 | 152.5 | 159.5 | Bird 8, 3 Bly
Active 21 |  | HSSJ-B | 9508-434-009L |  |  |  | 1 |  | 2001-08-12 | 160.5 | 167.5
ASSI - 11 | 03-0614 | [7 empty] | 2001-08-12
Active 22 |  | HSSJ-B | 9601-477-004L |  |  | a | 1 |  | 2001-08-12 | 168.5 | 175.5 | 1 Bly
Active 23 |  | HSSJ-B | 9605-175-015F |  |  | a | 1 |  | 2001-08-12 | 176.5 | 183.5 | 1 Bly
ASSI - 12 | 03-0505 | [7 empty] | 2001-08-12
Active 24 |  | HSSJ-B | 9508-444-010L |  |  | 8- |  |  | 2001-08-12 | 184.5 | 191.5 | Bird 9
Active 25 |  | HSSJ-B | 9606-515-009L |  |  | a | 1 |  | 2001-08-12 | 192.5 | 199.5 | 1 Bly
ASSI - 13 | 03-02152 | [7 empty] | 2001-08-12
Active 26 |  | HSSJ-B | 9301-321-006L | [5 empty] | 2001-08-12 | 200.5 | 207.5
Active 27 |  | HSSJ-B | 9311-366-010L | [5 empty] | 2001-08-12 | 208.5 | 215.5
ASSI - 14 | 03-0863 | [7 empty] | 2001-08-12
Active 28 |  | HSSJ-B | 9402-083-020F |  |  | 9- | 2 |  | 2001-08-12 | 216.5 | 223.5 | Bird 10, 1 Bly
Active 29 |  | HSSJ-B | 9203-030-002F | [5 empty] | 2001-08-12 | 224.5 | 231.5
ASSI - 15 | 03-1826 | [7 empty] | 2001-08-12
Active 30 |  | HSSJ-B | 9392-049-010F |  |  |  | 1 |  | 2001-08-12 | 232.5 | 239.5 | Bird 11, 1 Bly
Power Mod. |  |  | None
Tail Stretch |  | HSYBJ-C | 9903-007-011F |  |  | 10- | 0 | 0 | 2001-08-12 |  |  | 75m
TTC |  | TTC-C | 9505-006-004F | [5 empty] | 2001-08-12 |  |  | 50m
Tailbouy
Don't use - invalid

## Map 2009 UiB Nessie-3 streamer
University of Bergen N3 streamer configuration 30 August 2012
Notes | Sections | Cable | Ser.No. | 2 | 3 | Bird |  | Weights | Date |  | Ch.# | Ch.# | Remarks
[7 empty] | "Utaskjærs" | Isfjorden | VanMijen 29/8/2009 | Changed
|  | HSDJ-A | [10 empty] | Deck cable 31m
|  | HSJJ | [10 empty] | Slip-ring 0.5m
Slip-ring adapter 3m
| Lead-in | HSEJ-B | [10 empty] | 412m Leadin
| Tow-Adapt. | HSRWJ | 9302-009-004F | [6 empty] | 2001-08-12 |  |  | REPAIR ADPT. GEL FILLED
| Stretch | HSYBJ-C | 9903-007-011F | [6 empty] | 2010-08-24 |  |  | flyttet bakerste stretch frem. Hull lappet
| Front Group | HSAWJ | 9109-003-001F | [6 empty] | 2001-08-12 |  | 0.5
| Active 1 | HSSJ-B | 9406-094-20F |  |  | 1 | 2 | 2 | 0 | 2011-08-28 | 0.5 | 7.5 | OK
Tape label "1" | ASSI - 1 |  |  |  |  | ASSI - 1 |  |  |  | 2001-08-12
| Active 2 | HSSJ-B | 9508-130-18F |  |  | 2 |  |  |  | 2009-05-25 | 8.5 | 15.5 | OK
| Active 3 | HSSJ-B | 9302-053-010F |  |  |  | 1 | 1 | 0 | 2009-05-25 | 16.5 | 23.5 | OK
Tape label "2" | ASSI - 2 |  |  |  |  | ASSI - 2 |  |  |  | 2001-08-12
| Active 4 | HSSJ-B | 9610-186-171F |  |  | 3 | 3 | 2 | 2 | 2012-08-22 | 24.5 | 31.5 | OK ny seksjon
| Active 5 | HSSJ-B | 9302-051-014F |  |  |  | 1 | 1 | 1 | 2009-05-25 | 32.5 | 39.5 | OK
Tape label "3" | ASSI - 3 |  |  |  |  | ASSI - 3 |  |  |  | 2001-08-12
| Active 6 | HSSJ-B | 9503-414-006L |  |  |  | 3 | 2 | 2 | 2001-08-12 | 40.5 | 47.5 | OK
| Active 7 | HSSJ-B | 9603-167-006F |  |  |  | 2 | 2 | 2 | 2009-05-25 | 48.5 | 55.5
Tape label "4" | ASSI - 4 |  |  |  |  | ASSI - 4 |  |  |  | 2001-08-12
| Active 8 | HSSJ-B | 9511-469-06L |  |  | 4 | 3 | 2 | 2 | 2009-05-25 | 56.5 | 63.5 | OK
| Active 9 | HSSJ-B | 9510-455-05L | [5 empty] | 1 | 2001-08-12 | 64.5 | 71.5 | OK
Tape label "5" | ASSI - 5 |  |  |  |  | ASSI - 5 |  |  |  | 2001-08-12
| Active 10 | HSSJ-B | 9507-125-009F |  |  |  | 1 | 1 | 1 | 2001-08-12 | 72.5 | 79.5 | OK
| Active 11 | HSSJ-B | 9506-427-05L |  |  |  | 1 | 1 | 1 | 2009-05-25 | 80.5 | 87.5 | OK
Tape label "6" | ASSI - 6 |  |  |  |  | ASSI - 6 |  |  |  | 2001-08-12
| Active 12 | HSSJ-B | 9304-056-001F |  |  | 5 | 1 | 1 | 1 | 2001-08-12 | 88.5 | 95.5 | OK
| Active 13 | HSSJ-B | 9408-093-020F |  |  |  | 2 | 1 | 1 | 2001-08-12 | 96.5 | 103.5 | OK
Tape label "7" | ASSI - 7 |  |  |  |  | ASSI - 7 |  |  |  | 2001-08-12
| Active 14 | HSSJ-B | 9311-366-004L | [6 empty] | 2001-08-12 | 104.5 | 111.5 | OK
| Active 15 | HSSJ-B | 9608-183-06F |  |  |  | 1 | 1 | 1 | 2009-05-25 | 112.5 | 119.5 | OK
Tape label "8" | ASSI - 8 |  |  |  |  | ASSI - 8 |  |  |  | 2001-08-12
| Active 16 | HSSJ-B | 9603-165-05F |  |  | 6 | 1 | 0 | 0 | 2010-08-24 | 120.5 | 127.5 | OK
| Active 17 | HSSJ-B | 9506-429-003L |  |  | .7 |  |  |  | 2001-08-12 | 128.5 | 135.5 | OK
Tape label "9" | ASSI - 9 |  |  |  |  | ASSI - 9 |  |  |  | 2001-08-12
| Active 18 | HSSJ-B | 9606-176-014F |  |  |  | 1 | 1 | 1 | 2001-08-12 | 136.5 | 143.5 | OK
| Active 19 | HSSJ-B | 9411-100-004F |  |  |  | 1 | 1 | 1 | 2001-08-12 | 144.5 | 151.5 | OK (feste til bird ikke brukt)
Tape label "10" | ASSI - 10 |  |  |  |  | ASSI - 10 |  |  |  | 2001-08-12
| Active 20 | HSSJ-B | 9506-427-008L |  |  | 8 | 3 | 3 | 3 | 2001-08-12 | 152.5 | 159.5 | OK
| Active 21 | HSSJ-B | 9510-141-02F |  |  |  | 1 | 1 | 1 | 2009-05-25 | 160.5 | 167.5 | OK
Please check S/N | ASSI - 11 |  | 03-0614 |  |  | ASSI - 11 |  |  |  | 2001-08-12
| Active 22 | HSSJ-B | 9601-477-004L |  |  |  | 1 | 1 | 1 | 2001-08-12 | 168.5 | 175.5 | OK,
| Active 23 | HSSJ-B | 9605-175-015F |  |  |  | 1 | 1 | 1 | 2001-08-12 | 176.5 | 183.5 | OK, t
Please check S/N | ASSI - 12 |  | 03-0505 |  |  | ASSI - 12 |  |  |  | 2001-08-12
| Active 24 | HSSJ-B | 9508-444-010L |  |  | 9 |  |  |  | 2001-08-12 | 184.5 | 191.5 | OK
| Active 25 | HSSJ-B | 9606-515-009L |  |  |  | 1 | 0 | 0 | 2001-08-12 | 192.5 | 199.5 | OK
Please check S/N | ASSI - 13 |  | 03-02152 |  |  | ASSI - 13 |  |  |  | 2001-08-12
| Active 26 | HSSJ-B | 9301-321-006L | [6 empty] | 2001-08-12 | 200.5 | 207.5 | OK
| Active 27 | HSSJ-B | 9405-090-02F | [6 empty] | 2009-08-30 | 208.5 | 215.5
Please check S/N | ASSI - 14 |  | 03-0863 |  |  | ASSI - 14 |  |  |  | 2001-08-12
| Active 28 | HSSJ-B | 9402-083-020F |  |  | 10 | 1 | 1 | 1 | 2001-08-12 | 216.5 | 223.5 | OK
| Active 29 | HSSJ-B | 9203-030-002F | [6 empty] | 2001-08-12 | 224.5 | 231.5 | OK
Please check S/N | ASSI - 15 |  | 03-1826 |  |  | ASSI - 15 |  |  |  | 2001-08-12
| Active 30 | HSSJ-B | 9392-049-010F |  |  | 11 | 1 | 0 | 0 | 2001-08-12 | 232.5 | 239.5 | OK
| Power Mod. |  | None
| Tail Stretch | HSYJ-B | 9611-020-003F |  |  |  |  | 0 | 0 | 2010-08-24 |  |  | 75m denne er defekt og må skiftes
| TTC | TTC-C | 9505-006-004F | [6 empty] | 2001-08-12 |  |  | 50m
Tailbouy