PANAMA WORKSHOP SUMMARY

Common problems

- Old analog networks

- Continuous data, both collecting and transmitting?

- Hard to get inexpensive digital links

- Mixture of equipment types

- General push to get more BB stations, but resources unavailable

- Hard to get new VHF or UHF links combined with high cost for such dedicated links

- Satellite links generally too expensive

- Less cooperation between countries than could be possible

- Unclear how to select instruments due to lack of general knowledge of instruments, who can tell if equipment is ok

- Digital protocols generally unknown

- Not everyone understands that a 24 bit converter usually has a dynamic range less than 24 bit

- It is unclear when continuous registration is needed

- Receiving free equipment which is hard to maintain.

- Maintain and repair out of date equipment. What to do?

- Specific purposes of the already installed networks.

Common solutions

Networks/stations

- Local recording at each station, requires a PC, AD converter, GPS and sensor

- Use internet for continous trasmission of real time data (without PC)

- Use of automatic network collection software like e.g. SEISNET or MSnet. Unfortunately little public domain software available, there might be more in the future, when more virtual networks are built

Sensors

- Buying new 1 Hz sensors does not make sense when cheapest 3 C BB has a similar price

- 4.5 Hz geophone can be used when demand for low frequency response is limited to 0.3 Hz, the recommended solution for micro earthquake networks

- Chinese BB sensors seem the cheapest ($3000)  but only goes to 0.05 Hz

- A one Hz sensor, easily go down to 0.1 and possibly to 0.05 Hz with a sensitive high dynamic range digitizer

- Accelerometers can substitute SP seismometer if connected to a good digitizer

- Be well aware what the network is going to be used for and then choose sensor

Analog to digital converters

- Make better use of existing equipment like using K2/Etna or Geosig as digitizers

- Choose appropriate solution for sensor and use of data:

  - High cost BB sensor require high cost digitizer (>$4000)

  - Low sensitivity geophone requires high sensitivity digitizer, which can be low cost ($300-600).

- Be aware that low cost digitizers have bad anti-alias filters so make sure to use at least 100 Hz sample rate, usually do not have 24 bit dynamic range (18-22)

- A general problem is, that QNX Seislog use old AD cards and no drivers are made for newer cards (will not be made). A solution could be to use 16 channel A/D cards for RS232 or develop a driver for newer cards for Seislog Linux and Windows. To keep the analog systems on, a Mauro 16 bit card is a must.

- Mauro’s equipment should be easily repaired with off-the-shelf parts, commercially available.

Recorders

- Simplest solution a PC with free software and an AD converter.

- Seislog QNX will not be further developed, Seislog Windows is ok for many applications, but there is a need and interest for Seislog-linux for remote stations, due in summer 2004.

- For indoors stationary use, a normal PC may be used.

- For remote low power station, can be a PC104 or PC104+ (6-10 W) or also and ITX (Angel’s network computers, buyable online)

- For portable use, PC104. Laptop and pocketPC are possible solutions, need to be more tested

- Generally hard to make a low price, low power portable recorder

Communications

Possible low cost solutions, in the region seem to be as follows:

- When available, fixed Internet connections, like at other government institutions. ADSL might also be a possible at some sites.

- Shorter radio links with inexpensive wireless LAN, distances possible will depend on local regulations. For Panama, 10-40 km is possible.

- Considering the many analog links already in use in all countries, there was a strong desire to be able to use these links (as they are now) for one-way digital transmission, even at a low baud rate like 4800 or 2400. Apparently, no such modems exist. Converting these analog links to digital links would mean that no multiplexing may be used.

Conclusions

- Cooperate more, have a forum for exchange of experience and/or development of equipment.

- Continue exchange of seismic data in the region, particularly through CASC.

- Use general PC’s and public domain open source software when possible. There is little public domain acquisition software.

- Buy only specialized hardware from seismological companies (sensor digitizer) if necessary.

- Use off-the-shelf solutions for communications

- Linked stations in own and neighboring countries into virtual networks