SeislogCE (Seislog for PocketPC)

José Åsheim Ojeda, joseo@geo.uib.no

Department of Earth science

University of Bergen

Allegaten 41, 5007, Bergen, Norway

SeislogCE was developed for seismological data acquisition on PocketPC. PocketPC’s are small standardized handheld PC’s. The PocketPC standard describes the physical attributes of the device, like the screen size of 320x240 pixels, and that the input device is a pen. PocketPC runs Windows CE versions (latest version is also called Windows Mobile 2003), which is very similar to Windows for desktop PC’s.

The goal for SeislogCE is to have a small mobile seismological data acquisition system based on cheap standard products that use little power. In the near future the mobile phones and the PocketPC are melting together to one product. With falling phone prices, a network of seismic station could be set up with 3 components, one PocketPC (with integrated GSM phone and data transferred over GSM network), a sensor, and a digitizer.

Seislog for PocketPC is essentially the same software as Seislog for Windows, however the graphics is somewhat different due to the screen size. The CE version has not been tested with as many digitizers as the Windows version, however, there is support for 5 digitizers. The software, including source code, is freely available on our web site and seismo-CD.