Micro Array Volcan Baru

# Angel Rodriguez

Volcan, Chiriqui

Panama

angel@tierrasaltas.net

Array Volcan Baru is a private research array with an aperture of about 500 meters.

Station AVB0 the central station is a 3 component.  Stations AVB 7 and 6 have a Z and N components.  All other station have have Z only.  All stations use 16 bit SARA digitizers.  The stations have high resolution coordinates they receive DC power and a 1 Hz sync pulse and communicate serially with a central computer running Seislog.  The central computer has a GPS and is connect via a wireless link to Chirinet.

Software for automatic event detection and notification is being written.