## Slide 1: Array Volcan Baru

## Slide 2: What is an Array?
An array is a set of seismic sensors, with a common response function, recording time synchronized. Deployed in a homogeneous area according to a certain configuration with the aim of obtaining a coherent spatial sampling of the seismic wave in time.
Jens

## Slide 3
Let’s look at the criteria one at a time
Is VAB an array? You bet!

## Slide 4: A set of seismic sensors, with a common response function
Yes, there are eight sensors. The are 4.5 Hz geophones with identical electronics.

## Slide 5: Recording time synchronized.
Yes, The central station has a GSP and a PPS pulse is sent to all of the remote stations.

## Slide 6: Deployed in a homogeneous area
Yes, It is in one of the wettest, soft, muddy, least well drained areas in Volcan. But it is homogeneous.
So why did I put it in such a place?
* It is flat and homogeneous
* Close to where I live
* All on one property where I had permission
* It has electrical power
* It has internet
* Security, some lives at the central station
* My goal was to learn

## Slide 7: To a certain configuration
It is an “L” shaped configurations and the points are accurate to < 1 meter.

## Slide 8: Coherent spatial sampling of the seismic wave in time.

## Slide 9: Basic Configuration

## Slide 10: Does it work? Yes! Have I used it? No time!

## Slide 11: What is next?
I plan to write software to do automatic locations and notification with just the array and very local stations.
See how many stations in what configurations give the best results.
Move the array to a better location
Make several arrays in the region.

## Slide 12: What did I learn?
Buried wires are a mess.
  Must be very careful in burying or you
  will not be able to pull the wires.
  Grounding and induced currents are a concern.
  You must be able to access the installation easly.
  The processing must be easy, automatic.

## Slide 13: Questions?