UNIVERSITETET I BERGEN

Matematisk-naturvitenskapelig embetseksamen

Subject: GFJ 270:  Applied seismology I

Friday, December 2, 1994  0900-1400 hrs.

Permitted remedy: Calculator

The total number of points for this exam is 100. The number of points for each question is indicated with the question.

Question 1, 8 points

- Schematically draw the displacement response (log-log) for a seismograph with a standard seismometer with a velocity transducer, 5Hz natural frequency, critically damped, a 3 pole low pass filter at 20 Hz and a 1 pole high pass filter at 1 Hz.

- Indicate the slope of the different sections of the curve.  - Draw the velocity response for the same instrument.

Question 2,   12 points

- Define on a figure the strike, dip and slip angles of a fault.

- What is the slip vector and normal vector for the faulting.

- How is the null vector, p-vector and t-vector defined in terms of normal vector and slip vector.

Question 3,   8 points

- Schematically draw a source displacement spectrum.

- What parameters can you determine from it.

Question 4,  12 points

- Define the elements of the moment tensor.

- Write down the elements of the moment tensor for a pure strike-slip fault where the fault plane is in the xy plane and the slip vector is along the positive x-axis.

- What does it mean physically if the trace of the moment tensor is non zero.

Question 5, 12 points

- Sketch the seismic source spectra for different magnitudes.

- Explain the phenomena of magnitude saturation for Mb and Ms

- Why does moment magnitude not saturate.

Question 6, 12 points

- Explain the time predictable and slip predictable earthquake occurrence models.

Question 7, 8 points

- A fault oriented EW has a length of 50 km, it ruptures with a rupture velocity of 2.5 km/sec from East to West and the slip time can be considered zero. The P-wave velocity near the fault is 6 km/sec. How long time does the initial displacement pulse last east and West of the fault respectively.

Question 8, 8 points

- In a seismic tomography experiment involving 3 blocks, the resolution matrix looks as follows

0.8   0.2   0.2

0.2   0.8   0.2

0.2   0.2   0.8

If block 2 has a velocity perturbation of 5 %, how would the resulting velocity perturbation model be in each of the 3 cells.

Question 9, 2 points

- What is the natural period of the a WWSSN station SP and LP seismometers respectively.

- What is a typical gain of the two instruments respectively.

Question 10, 3 points

- What is the principle definition of the Mb magnitude scale. - Which part of the seismogram is used and on which instrument.

Question 11, 2 points

- What is the definition of seismic moment.

Question 12, 3 points

- What is the principle behind the Wood Anderson seismograph (sketch) and what is the approximate natural period.

Question 13, 2 points

- What is the form of the coda wave magnitude scale

Question 14, 3 points

- Which seismic signal has the highest frequency content: Displacement, velocity or acceleration.

- Why is there a difference.

Question 15, 2 points

- Draw the S-wave radiation pattern from a double couple seismic source.

Question 16, 3 points

- How does the Vp/Vs velocity ratio change before a large earthquake in cases where it have been used for prediction.