UNIVERSITETET I BERGEN

Matematisk-naturvitenskapelig embetseksamen

Subject: GFJ 372 Seismic Instrumentation

Thursday, June 9, 1999,  0900-1400 hrs.

Permitted remedy: Calculator, English dictionary

A total of 100 points is possible for this exam. The number of points for each question is indicated.

Question 1, 10 points

- Set up an experiment to measure the internal resistance of a battery using a multimeter and an external resistor.

- If two batteries of the same type have different internal resistance, what does this tell you about the state of charge.

- A car battery has an unloaded voltage of 12.44 V. What is the approximate % charge.

Question 2, 5 points

3 resistors are connected to a 12 V battery as shown below.

------------------

|

|

|

12 V            -------|-------

|      |      |

R1     R2     R3

|      |      |

-------------------------

R1=R2= 3 ohm, R3= 6 ohm

- Calculate the current through each resistor.

- What is the equivalent resistance to the 3 resistors in parallel.

Question 3, 8 points

Show the construction of a one pole low pass RC filter.

If the resistor has a value of 1000 ohm, what is the value of the capacitor if the corner frequency is 10 hz ?

Show the construction of a 2 pole low pass RC filter.

Question 4, 5 points

A seismometer is connected to an amplifier and a chart recorder. The seismometer has a natural period of 1 hz, a damping of 0.7 and a generator constant of 200 V/(m/sec). The amplifier has a gain of 40 dB and the char recorder a gain of 2m/V. The earths displacement is 100 nm at 0.5 hz, what is the amplitude on the chart recorder ?

Question 5, 8 points

An amplifier has an output of 1 micro volt (p-p) when the input is shorted. The maximum output is 10 V (p-p).

What is the dynamic range ?

The amplifier is used with a signal which has a DC shift and the output DC shift of 4 V.

What is the dynamic range of the AC signal which can be recorded without any clipping ?

Question 6, 5 points

A seismometer has a generator constant of 200 V/m/s, a critical damping resistance of 5 kohm and an internal resistance of 3 kohm. If the desired damping is 0.6, calculate the damping resister to use and the corresponding loaded generator constant.

Question 7, 12 points

Recording is done with 2 seismometers, both 0.7 damped and with loaded generator constants of 100 V/(m/s). One seismometer has a natural frequency of 1.0 Hz and the other a natural frequency of 4.5 Hz. The earth’s background noise is 10 nm at 1.0 Hz and 0.1 nm at 10.0 Hz.

- Calculate the output of the sensors at 10 Hz and 1.0 Hz.

The recording system can record a maximum of 1.0 V.

- What is the dynamic range of earthquake recording above the seismic background noise at 10 and 1 Hz respectively  for both sensors ?

Question 8, 5 points

A digital seismic station has 10 channels of data. The sample rate is 200 samples/sec and a 18 bit A/D converter is used. The data is compressed by a factor of 2. The recording is continuous.

- How much data (Mbytes) are recorded in 24 hours ?

Question 9, 12 points

Give an example of a one octave filter.

What is the relation between acceleration power spectral density and displacement power spectral density ?

If displacement power is proportional to d*d/f0 (2/3 octave filter) where d is rms displacement amplitude and f0 is filter center frequency, what is the relation between  d and acceleration power spectral density ?

If the RMS displacement is 1 nm at 1 Hz measured with a 2/3 octave filter, what is the acceleration power spectral density ?

Convert the acceleration power spectral density to dB relative to 1 (m/s**2)**2)/Hz.

Question 10, 10 points

Explain how the standard STA/LTA trigger works.

Explain what effect a signal DC component can affect the operation of the trigger and how is corrected for.

Question 11, 3 points

How do we measure polarity of a seismometer ?

What is the polarity of the output voltage from the seismometer supposed to be when the ground moves down.

Question 12, 2 points

- When increasing the damping of a seismometer, how is the free period changing ?

Question 13, 3 points

- A sine wave has  1 V p-p, what is the RMS voltage ?

- A square wave has 1 V p-p, what is the RMS voltage ?

Question 14, 3 points

What is the dynamic range of a 14 bit A/D converter ?

Question 15, 3 points

A 1g accelerometer with a max output of 10 V is inclined 10 degrees from vertical. What is the output from the vertical channel ?

Question 16, 3 points

What is a VCO and what is it used for ?

Question 17, 3 points

- What is power supply ripple ?