Jan Mayen

Operation of seismic stations and data recorded in 1998

Institute of Solid Earth Physics

University of Bergen

Allegaten 41

5007 Bergen

Norway

December 1998

Introduction

This report has two purposes (1): Give statistics of the station operation, (2) Overview of the seismicity near Jan Mayen. These aspects are partly covered in the halfyearly reports of Norwegian seismicity but no details of the Jan Mayen seismicity is shown and the station operation is not  given since the details are not available at the time of making the halfyearly report.

Station operation

Seismic network: This has operated at nearly 100% and no major problems have been observed. The stops has only been a few hours.

Broad band station: The computer system has operated most of the year. However for much of the time the system was running, there has been software problems resulting in loss of data, mainly due to wrong timing. In other words, the data exists on tape but the timing is completely wrong making the data nearly useless. The details are:

Times with no useful data:

January   1 to January   27

February  7 to February  10

February 21 to february  24

March     1 to March      2

March     7 to March     10

March    12 to March     13

March    21 to September 29

October  26 to December  31

Data recorded

In 1997, 384 local earthquakes were recorded around Jan Mayen. Of these earthquakes, 198 could be located and are shown in Figure 1. The activity follows the usual zones along the Jan Mayen fracture zone to the north of the island as well as the Midatanltic ridge to the West of the island. There are a few earthquakes recorded just south of Jan Mayen and the origin of these events is not known. There are also 3 earthquakes just below the JMI station which is the only earthquakes recorded on land on Jan Mayen except for the events on the north tip of the island related to Beerenberg. The events below JMI are too small to be felt (M=1.7), however if slightly larger events  occur here, they should be clearly felt.

The largest earthquake in 1997 occurred on December 13 and had a magnitude of 5.3 Mb and was clearly felt on the island. It occurred to the west of the Jan Mayen (Figure 1) and was followed by numerous aftershocks. Within the following 2 days, 21 of the aftershock were large enough to be located.

Figure 2 shows the number of earthquakes located pr month in 1997 and pr year since 1982. It is seen that the activity in 1997 was similar to the yearly activity for the last years. The high number of earthquakes in 1988 is due to many aftershock of a large earthquake. Before 1988, the activity is apparently lower that today, but this is caused a less reliable recording system before 1988.

In 1997, 38 teleseismic earthquakes were recorded on Jan Mayen (Figure 3). Of these, 21 were recorded on the broad band station (Table 1), while the remaining were recorded on the paper recorder.

Figure 1

Earthquakes located around Jan Mayen in 1997.

M is magnitude.

Figure 2

Statistics of earthquakes located around Jan Mayen

The top figure shows number of earthquakes pr month in 1997 while the bottom figure shows the number of earthquakes pr year since 1982.

Figure 3

Epicenter of global earthquakes recorded on Jan Mayen in 1997.

M is magnitude.

Table 1

List of global earthquakes recorded on the Jan Mayen broad band station in 1997.

The abbreviations are HRMM: Hour and minute, AGA: Agency locating the earthquake,

NST: Number of stations used for location, Mb: Body wave magnitude and Ms: Surface wave magnitude.

Year Date HRMM  Sec Latitud Longitud Depth AGA NST   Mb   Ms

1997  2 4 0953 57.1  37.570   57.319  10.0 PDE   4  5.6  4.7

1997  2 4 1037 49.1  37.952   58.545  10.0 BER  13  6.1  6.5

1997  2 5  8 1 59.9                        BER   3

1997  2 6  016  0.1                        BER   1

1997  220 0754 50.4  40.729  143.962  29.3 BER   9  5.7  5.5

1997  226  0 6 48.2                        BER   1

1997  227 2108  9.1  30.654   67.918  25.4 BER  14  6.2  6.9

1997  228 1257 35.1  39.771   47.251  10.0 BER   9  5.8  5.9

1997  3 1 0604  7.1  38.096   76.671  22.0 BER   4  4.9  5.3

1997  3 4 1303  2.0  22.399   69.059  33.0 BER   7  5.3  5.5

1997  311 0526  0.3 -31.078 -177.732  10.0 PDE   8  5.6

1997  311 1922  0.5   7.406  128.552  10.0 BER  16  6.7  6.6

1997  315  0 7 18.1                        BER   1

1997  316 0551 37.2  34.941  137.411  25.6 BER   9  5.5  5.1

1997  317 0521  2.1  22.433  -61.835  33.0 NAO   3  4.5

1997  317 0805 44.8  -7.374  105.932  33.0 BER   6  6.2  5.8

1997  318 1126 15.7  33.924   24.897  20.0 BER   5  5.1

1997  320 0850 46.2  30.744   67.720  33.0 BER  14  5.5  5.4

1997 1013 1339 39.4  36.390   22.593  33.0 BER  16  6.2  6.2

1997 1017  0 3 42.6                        BER   3

1997 1023 1407  5.7  42.755  -27.202  10.0 BER   4  5.0  4.0