Report for January , 2006

for

The University of Tibet Seismic Network (UTB)

Operated by

The Department of Science

Address: Environmental Physics institute. Lhasa. Tibet. PRC

Responsible: Tsoja Wangmo

Email: tsoja2@yahoo.com

The UTB network operates short period stations in and around Lhasa with the purpose of studying the local seismicity. The first station started operating on June 18, 2004. The network is considered experimental and stable operation cannot be expected before more experience is gained. All data is freely available on request.

Stations:

| Station name | Code | Latitude(N) | Longitude(E) | Height(m) |
| --- | --- | --- | --- | --- |
| Jamag | JAMG | 29.6879° | 91.6694° | 4161 |
| Nhimo | NIHM | 29.4336° | 90.1643° | 3823 |
| Chuding | CHUD | 29.6978° | 91.1438° | 3794 |
| Chusang | CHUS | 29.9970° | 90.7462° | 4113 |
| Tage | TAGA | 29.7400 ° | 91.4603° | 3788 |

Jamag

Station running stable

Taga

Station running stable

Note : Because of bad road conditions we couldn’t go to JAMG station to take data during the winter time. From Jan 19 2006, the JAMG station moved to Taga Xiang (TAGA).

Nhimo

Down January 24-31:	System could not restart after power failures

Chuding

Down January 1-24  pc had some problems and had to restore and so on

Chusang

Down January 1-31: System could not restart after power failure.

For the month of Janury a total of 20 events were recorded (Table 2). Of these,17 were located with one station (see Figure 1). The one station locations must be considered very uncertain due to the uncertainty in azimuth determination.

The crustal model used for location is given in Table 1.

| Depth (km) | Vp (km/s) | Vs (km/s) |
| --- | --- | --- |
| 0-27 | 6.0 | 3.4 |
| 27-41 | 6.5 | 3.7 |
| 41-61 | 7.0 | 4.0 |
| >61 | 8.0 | 4.6 |

Table 1. Crustal model of the area around Lhasa

The magnitude scales used are:

Mc = 2.6log(coda) + 0.001dist –3.0

Ml = log (amp) – 1.11 log (dist) – 0.00189 dist – 2.09

where Mc is coda magnitude, coda is coda length in seconds, dist is hypocentral distance in km, Ml is local magntude and amp is maximum S-amplitude in nm.

Figure 1.  Seismicity of area around Lhasa for January 1-31, 2006. The network recorded 21 events for this time period and all 17 could be located within the area shown (top).

Year Date HRMM  Sec Latitud Longitud Depth AGA NST  RMS   Mc   Ml   Mb

2006  1 5 1650 22.0  29.497   90.256  15.0 TBU   1  2.5  2.6  3.5

2006  1 5 2052 45.2  29.501   90.252  15.0 TBU   1  2.7  1.6  2.2

2006  115 1916 11.3  30.395   88.401  15.0 TBU   1  0.0  1.8  2.9

2006  119 2036 24.3  29.777   91.474  15.0 TBU   1  0.3  1.1  1.0

2006  119 2103 35.5  29.820   91.536  15.0 TBU   1  0.5  1.1  1.8

2006  119 2131 44.1  29.819   91.536  15.0 TBU   1  0.5  0.8  0.5

2006  120 2102 44.4  30.104   91.504  15.0 TBU   1  0.0  1.3  2.5

2006  121 1231 20.2                           TBU   0

2006  123 0047 18.0  29.819   91.536  15.0 TBU   1  0.3  1.1  1.7

2006  125 0956 59.5  29.709   91.872  15.0 TBU   1  0.0  0.5  1.6

2006  126 1057 54.1  29.777   91.475  15.0 TBU   1  0.3  0.7  1.4

2006  126 1515 57.3  29.820   91.536  15.0 TBU   1  0.7  0.9  1.3

2006  126 1837 54.2  29.775   91.222  15.0 TBU   2  4.3  1.6  1.2

2006  126 1954 36.7  29.762   91.469  15.0 TBU   1  0.2  1.0  0.8

2006  126 2316 27.7  29.820   91.536  15.0 TBU   1  0.5  1.1  1.0

2006  127 0140  8.2  30.109   91.420   0.0 TBU   2  0.8  1.3  1.7

2006  127 1706 58.1  29.541   91.211  15.0 TBU   1  0.0  3.4  2.8

2006  128 2030 27.9  29.382   91.339  15.0 TBU   2  0.0  1.3  1.5

2006  131  519  7.5                            TBU   0

2006  131 1920 58.0                           TBU   1

Table 2 . All events of January 2006 recorded by TBU. Abbreviations are: HRMM: Hour and minute, Sec, Seconds, L: L or D for local or distant event, respectively, AGA: Agency, NST: Number of station used, RMS: Root mean square of location residuals, Mc, Ml and Mb: Coda wave magnitude, local magnitude and body wave magnitude, respectively.