SEISINFO

By Terje Utheim,  Department of Geoscience, University of Bergen, terje@geo.uib.no

January 13, 2005

SEISINFO is a program to show various seismological information in a semiautomatic matter. The program is intended for public displays in connection with seismological stations. The program can partly be configured online, but several parameters are mainly hardcoded in the source code and specially set up for the Norwegian National Seismic Network.. The program is written in Java.

The program can show different slideshows, continously updated recordings from the worldwide long period network, USGS current seismicity maps and current seismicity from the Norwegian National Seismic Network.

The program runs under Windows .

Distributions, installations and setup:

Installation:

JAVA

Standard JAVA must be installed. If not already installed, all modules are  available on the CD in the FREE_PC directory, or they can be obtained at the WEB addresses given below.

Standard JAVA

JSDK		Java Software Development Kit

j2sdk-1_4_2_03-windows-i586-p

Setup and installation launcher. Installs Java in j2sdk1.4.2_03

Path must be modified to include c:\j2sdk1.4.2_03\bin

All java software can be found at www.java.sun.com

SEISINFO Seismological Information System

The distribution comes in a seisinfo.zip. Create a directory called SEISINFO under c: and unzip  in SEISINFO. You now have the following directories:

DOC, seisinfo, SRC, PAR, SlideShow and VIDEO.

To start the program a seisinfo.bat file is also included. This file must be revised for each installation and modified to include the path for the java interpreter unless already installed

.

Example when Java not in path:

C:\JBuilderX\jdk1.4\bin\java –classpath “c:\SEISINFO” seisinfo.SeisInfo

Example if Java is in path, this is also how the example bat file is:

java –classpath “c:\SEISINFO” seisinfo.SeisInfo

The above examples assume that  SEISINFO is installed in c:\seisinfo.

In order to be able to start seisinfo form any directory, include c:\SEISINFO in path

Start SEISINFO: Open a DOS window and type seisinfo  (seisinfo.bat)

Options:

USGS Worldwide Seismicity:

USGS World Seismicity Map shows a world map with earthquakes marked with different symbols depending on magnitude and depth. The most recent earthquake is marked with a diamond. Automatically updated when new earthquakes.

USGS Last Earthquake shows a detailed map with the most recent earthquake marked with a star of different color depending on depth. Automatically updated when new earthquakes.

Norwegian National Network:

Last events shows a map of Norway with recent earthquakes marked a red circle of different size depending on magnitude. Automatically updated when new earthquakes.

Recent Event shows a detailed map with the most recent earthquake marked as a red circle of different size depending on magnitude. Automatically updated when new earthquake.

Seismograms:

This option shows seismograms from the worldwide long period network in a similar form as for the helicorder. You can choose one or more stations. Automatically updated every 30 minutes.

Slideshows:

Earthquake shows a series of slides. Automatically change to next slide. When finished it starts all over again.

Instrumentation shows a series of slides. Automatically change to next slide. When finished it starts all over again.

Configuration:

First select the different options you want to show automatically at each startup. Move the windows to where you want them positioned and press the Save current positions button.

Next time you start up the program, your selected options will automatically appear.

In general what you have on your screen when you press the Save current positions button, will be shown at next startup.