Operation of the

Norwegian National Seismic Network

2005

Supported by

University of Bergen, Faculty of Mathematics and Natural Sciences

and

Norwegian Oil Industry Association

Prepared by

Department of Earth Science

University of Bergen

Allegaten 41, N-5007 Bergen

May 2006

# CONTENTS

1. Introduction	1

2. Operation of field stations 	1

3. Field stations and technical service	2

4. Technical changes and plans	6

5. Communications	6

6. Economy	7

Appendix 1

Seismicity of Norway and surrounding areas

Appendix 2

The NORSAR regional arrays

1. Introduction

This annual report describes the operation of the Norwegian National Seismic Network (NNSN) for the year 2005. It covers operational aspects as well as a financial report for all seismic stations operated by the Department of Earth Science at the University of Bergen (UiB), which has the responcibility of the NNSN.

The network is supported by the oil industry through the Norwegian Oil Industry Association (‘Oljeindustriens Landsforening” (OLF)) and the Faculty of Mathematics and Natural Sciences, University of Bergen (UiB).

The seismicity of Norway and surrounding areas is presented in Appendix 1. The seismic arrays operated by NORSAR are covered in Appendix 2 in this report. NORSAR is subcontracted to deliver data of interest to NNSN.

2. Operation

The operational stability for each station is shown in Table 1. The average downtime for all stations during this reporting period is 4.3 %, compared to 5.2 % for 2004. This is higher than the goal of average downtime which is below 2%. The high average is caused by a long downtime at Bjørnøya, Rundemanen, Florø and Kings Bay. If these four stations are excluded, the average downtime is 1.3%. Bjørnøya and Kings Bay are arctic stations and especially Bjørnøya can not easily be visited. Kings Bay and Kongsberg are operated by USGS, all maintenance must be arranged through the USGS. The location for the Rundemanen station is owned by TELENOR. Permission to visit the station is only given when accompanied with TELENOR staff.  The downtime at Rundemanen

coincided with summer hollidays.

Table 1. Downtime in % for the period 2005 for the NNSN stations.

| Station | Downtime in % |
| --- | --- |
| Askøy (ASK) | 1.0 |
| Bergen (BER) | 1.0 |
| Bjørnøya (BJO) | 58.0 |
| Blåsjø (BLS) | 2.0 |
| Dombås (DOMB) | 0 |
| Espegrend (EGD) | 0 |
| Florø (FOO) | 10.0 |
| Hopen (HOPEN) | 0 |
| Høyanger (HYA) | 3.0 |
| Jan Mayen BB (JMI) | 0 |
| Jan Mayen SP (JMI) | 0 |
| Jan Mayen (JNE) | 0 |
| Jan Mayen (JNW) | 0 |
| Karmøy (KMY) | 7.5 |
| Kautokeino (KTK) | 3.0 |
| Kings Bay (KBS) | 12.0 |
| Kongsberg (KONO) | 2.0 |
| Lofoten (LOF) | 0.5 |
| Mo i Rana (MOR8) | 0 |
| Molde (MOL) | 6.0 |
| Namsos (NSS) | 0 |
| Odda (OOD1) | 0 |
| Oslo (OSL) | 0 |
| Rundemanen (RUND) | 14.0 |
| Snartemo (SNART) | 1.0 |
| Stavanger (STAV) | 0 |
| Stokkvågen (STOK) | 5.0 |
| Sulen (SUE) | 2.0 |
| Trondheim (TRON) | 1.0 |
| Tromsø (TRO) | 0 |
| Average | 4,3 |

3. Field stations and technical service

The technical changes for each seismic station are listed below. It is noted if these changes are not related to a visit from the technical staff at the University of Bergen. When a station stops working, tests are made to locate the problem. Sometimes the reason cannot be found and the cause of the problem will be marked as unknown.

Bjørnøya (BJO1)

From 15.02.05. No data was received from the digitizer. The local operator observed that due to a weather change with heavy rain and snow melting on the frozen ground, the aluminium box was flooded with water. The box contains the sensor, digitiser and breakout box, and the water damaged the digitizer and maybe the sensor.

Station down for 135 days

15-20.09.05. Visit. Reinstallation.

The moisture in the aluminium box was dried out. A new Guralp BB sensor, CMG-6TD and a beakout box was installed. Outside a new GPS antenna, mounted on a mast, was installed.

In the recording room,  a new PC with Seislog for Windows was installed. During testing the PC screen failed and a used screen was installed. A new screen will be sent from Bergen.

As backup, a 4.5 Hz geophone and  GPS was installed outside, and a digitzer was installed in the recording room.

Blåsjø (BLS)

13.01.05 The PC was restarted. The station was down for 1 day.

13.07.05 The PC was restarted. The station was down for 5.5 days.

Florø (FOO)

03.02.05. The PC was restarted. Station down for 2 days

04.02.05. The PC was restarted. Station down for 1 day

09.02.05. The PC was restarted. Station down for 1.5 days

08.03.05. The PC was restarted. Station down for 1 day

05.04.05. The PC was restarted. Station down for 1 day

26.05.05. The PC was restarted. Station down for 2.5 days

01.08.05. The PC was restarted. Station down for 2.5 days

18.08.05. The PC was restarted. Station down for 12 days

18.10.05. The PC was restarted. Station down for 2 days

14.11.05. The PC was restarted. Station down for 2 days

23.11.05. The PC was restarted. Station down for 1.5 days

12.12.05. The PC was restarted. Station down for 3 days

22.12.05. The PC was restarted. Station down for 4 days

Høyanger (HYA)

12.09.05. Station down for 10.5 days due to a broken Ciscobox. A new Ciscobox and lightning protection was installed by the local operator.

30.11.05. The PC was restarted. Station down for 1 day.

Karmøy (KMY)

From 15.01.05. No data was received due to the last pair of the phone lines were broken (see report 2001). Karmøy municipality, the owner of this part of the phone lines, started in 2001 to transmit data wireless and had no intention of repairing the line. The estimated cost for replacing a new phoneline was kr. 100 000.

07.02.05. Tromsø Geophysical Observatory  (Nordlysobservatoriet) and Department of Earth Science installed a GSM GPRS modem for data transmission.

Station down for 22 days.

24.08.05. The PC was restarted. Station down for 6 days.

Lofoten (LOF)

11.09.05. Communication  down for 2 days due to a broken UPS (uninterruptible power supply). No data lost. The UPS was removed and a new one was not installed since there has been problems with UPS’s.

01.10.05. “Clock type” in the parameterfile set to 1. For some weeks timing problems has occurred due to bad PPS (pulse/sec).

Mo i Rana (MOR8)

13.12.05. The PC was restarted. Station down for 1.5 days

Molde (MOL)

21.01.05. A new digitiser and telecommunication protector was installed. Station was down for 17 days due to lightning.

28.01.05. A new PC and Ciscobox was installed. Station down for 4 days due to lightning.

Namsos (NSS)

No visit or technical changes.

Odda (ODD1)

No visit or technical changes.

Tromsø (TRO)

18.08.05. GPS restartet by the local operator.

02.12.05. GPS restartet by the local operator.

Sulen (SUE)

12.01.05. The PC was restarted. Station down for 1 day

08.06.05. Visit. Accelerometer reinstalled.

07.07.05. The PC was restarted. Station down for 1.5 days

06.09.05. The PC was restarted. Station down for 4.5 days

14.11.05. The PC was restarted. Station down for 0.5 day

Kautokeino (KTK)

28.06.05. Digitiser restarted with use of remote control. Station down for 9 days. Reason unknown.

30.08.05. The PC was restarted. Station down for 1.5 days

Stavanger (STAV)

No visit or technical changes.

WNN network: 	Bergen (BER), Espegrend (EGD), Ask (ASK)

ASK. Visit 12.12.05. Station down for 5 days due to lightning.

Installed a new VCO and DC/DC converter.

Rundemanen (RUND)

25.08.05. Visit.

Station has been down for 51 days due to a defective power and phone cabel. (mouse had eaten the cables)

29.09.05. For some time timing problems has occurred due no PPS signal (pulse/sec), caused by a broken cable.

Trondheim (TRON)

30.01.05. The PC was restarted. Station down for 3 days

Oslo (OSL)

No visit or technical changes.

Dombås (DOMB)

No visit or technical changes.

Jan Mayen (JMI)

30.03 - 05.04.05. Visit

The 3 stations have worked properly since last visit in 2004.

A new AD converter SADC20 was installed. Since the new AD converter has 6 channels, signals from all seismometers will be recorded.

A new windmill was installed and tested. The windmill was operating well in strong wind.

Kongsberg (KONO)	No visit or technical changes.

Kings Bay (KBS)	No visit or technical changes.

Stokkvågen (STOK)

08.02.05. A new Mauro 24bits digitizer installed by the local operator. Station down for 20 days due to a bad digitizer.

22-26.06.05. Visit. The GPS cable was grounded to prevent 50 Hz. During the visit two temporary stations were installed in the area, in Konsvik (STOK1) and Flostrand (STOK2) to monitor the high seismicity.

Snartemo (SNART)

10.01.05. Digitizer restarted by the local operator. Station down for 2 days.

28.01.05. PC restarted due to bad timing – ok.

08.04.05. PC restarted due to software problems. Station down for 2 days.

Visit. 06.05.05. PC and digitizer were changed. PC had problem reading both Com1 and Com2 at same time. New PC setup for ADSL, VPN client. This is our first ADSL station. Old digitizer SeisAD18 had to be restarted by pressing reset button a couple of times.

25.10.05. The PC was restarted by the local operator. Station down for 1 day.

Hopen (HOPEN)

19.09.05. Visit.

The mass position of the Ranger SS-1 sensors was centered.

Some noise was observed on the Z-comp. Some tests did not improved the noise level.

Inspected the aluminium box where the  sensors are located – ok.

4. Technical changes and plans

The network now has 6 broadband stations where continuous data is collected. One more station MOL, will be upgraded to broad band in the spring of 2006. Ideally there should also be a broad band station in the Stokvågen area, due to the high activity and the chance of getting a larger event.

New possibilities in communication (see next section) will make it possible to get continuous communication to all field stations at a reasonable cost. This would make it possible to transfer all data from all stations to Bergen and also make a real time detection system. The plan is to is to try to implement this as fast as time and economy allows it.

In the summer of 2005, a temporary station (financed by the Department of Earth Science) was installed at the north end of Jan Mayen (Figure 1). The intention is that is shall record for 1-2 years. Part of the data is sent to Bergen by Iridium telephone and the rest of the data will be collected during the summer of 2006. All data is integrated into the NNSN data base. The purpose of the station is to exactly locate the fracture zone north of Jan Mayen and determine the local crustal structure.

Figure 1.  Left: North Jan Mayen, Right: Seismic station (in the middle) and power systems at left and right.

5. Communication

The use of ADSL is now more widely available and is now used at some of the stations. A new possibility for data transfer is using GPRS, which is data transfer with a GSM phone. This has been tested and is now used at station KMY. The data rate is lower than with ADSL, but the price is comparable. The advantage of permanent open lines is that communication costs will be constant and independent on amount of data transferred.

6. Economy

The National Seismic Network is supported economically from the University of Bergen through the Faculty of Natural Sciences and from OLF.

APPENDIX 1

Seismicity of Norway and surrounding areas.

# Seismicity of Norway

# and surrounding areas

for 2005

Prepared by

# Department of Earth Science

University of Bergen

Allegt. 41

N-5007 Bergen

e-mail: seismo@geo.uib.no

Phone: (+47) 55 58 36 00

Fax: (+47) 55 58 36 60

May 2006

# CONTENTS

- Introduction	 4

- Velocity models and magnitude relations	 6

- Events recorded by the Norwegian stations	 9

- The seismicity of Norway and adjacent areas	10

- Well recorded earthquakes	22

- Felt earthquakes	23

- 100 years of seismic monitoring in Bergen.	28

- Use of NNSN data during 2004	29

- References	33

1. Introduction

This annual report on the seismicity of Norway and adjacent areas encompasses the time period January 1st - December 31st, 2005. The earthquake locations have been compiled from all available seismic stations operating on the Norwegian territory including the Arctic islands of Spitsbergen, Bjørnøya and Jan Mayen. In addition, stations from neighbouring countries have been included for large or well-recorded events.

In Norway, the University of Bergen (UiB) operates the Norwegian National Seismic Network (NNSN) consisting of 29 seismic stations where 6 have broad band sensors. NORSAR operates 3 seismic arrays and one seismic station (Figure 1). Data from temporarily installed local networks are also included whenever data are made available. During 2005 two temporary stations were installed in northern Norway at Stokvågen and one temporary station was installed in the northern part of Jan Mayen. Phase data from arrays in Russia (Apatity), Finland (Finess), Sweden (Hagfors) and from stations operated by the British Geological Survey (BGS) are also included when available. All phase data are collected by UiB, and a monthly bulletin is prepared and distributed. A brief overview of the events published in the monthly bulletins is given in this annual report. Macroseismic data for the largest felt earthquakes in Norway are collected, and macroseismic maps are presented.

All local and regional events with magnitude larger than 1.5 and all teleseismic events that are detected by the UiB network are included. The merging of data between NORSAR and UiB is based on the following principles:

i) All local and regional events recorded by NORSAR that are also detected by the  NNSN network are included.

ii) All local and regional events with local magnitude larger than 2.0 detected by NORSAR and not recorded by the NNSN are included.

iii) All teleseismic events recorded by NORSAR and also detected by the NNSN are included.

iv) All teleseismic events with NORSAR magnitude Mb(5.0 are included.

Data from British Geological Survey (BGS) are included in the database in Bergen following similar criteria as mentioned above, however only events located in the prime area of interest, shown in Figure 1, are included.

# Data availability to the public

All the data stored in the NNSN database is also available to the public via Internet, e-mail or manual request. The main entry for information is www.skjelv.no. It is possible to search interactively for specific data, display the data locally (waveforms and hypocenters) and then download the data. Data are processed daily and updated lists of events recorded by Norwegian stations are available soon after recording. All events with an estimated local magnitude ( 2.0 are plotted on individual maps shown on the web pages.

Figure 1: Norwegian seismic stations. UiB operates the 29 stations in the National Seismic Network (NNSN) and NORSAR operates the 3 arrays and the station JMIC.

2.  Velocity models and magnitude relations

The velocity model used for locating all local and regional events, except for the local Jan Mayen events, is shown in Table 1 (Havskov and Bungum, 1987).  Event locations are performed using the HYPOCENTER program (Lienert and Havskov, 1995) and all processing is performed using the SEISAN data analysis software (Havskov and Ottemöller, 1999).

Table 1: Velocity model used for locating all local and

regional events, except for the local Jan Mayen

events, (from Havskov and Bungum, 1987).

| P-wave velocity (km/sec) | Depth to layer interface (km) |
| --- | --- |
| 6.2 | 0.0 |
| 6.6 | 12.0 |
| 7.1 | 23.0 |
| 8.05 | 31.0 |
| 8.25 | 50.0 |
| 8.5 | 80.0 |

Magnitudes are calculated from coda duration, amplitudes or seismic spectra. The coda magnitude relation was revised in 2006 (Havskov & Sørensen 2006). The coda wave magnitude scale (MC) is estimated through the relation

# MC = -4.28 + 3.16 ( log10(T) +0.0003 ( D

where T is the coda length in seconds and D is the epicentral distance in km. The new scale  made MC more consistent with ML since MC in general is reduced. For this report all data are updated using the new magnitude scale. When instrument corrected ground amplitudes A (nm) are available, local magnitude ML is calculated using the equation given by Alsaker et al. (1991):

# ML= 1.0 ( log(A) + 0.91 ( log(D)  + 0.00087 ( D - 1.67

where D is the hypocentral distance in km.

The moment magnitude Mw is calculated from the seismic moment M0 using the relation (Kanamori, 1977)

Mw = 0.67 ( log(M0) – 6.06

The unit of M0 is Nm. The seismic moment is calculated from standard spectral analysis assuming the Brune model (Brune, 1970) and using the following parameters:

Density: 3.0 g/cm2

Q = 440 ( f 0.7

P-velocity = 6.2 km/s

S velocity = 3.6 km/s

For more computational details, see Havskov and Ottemöller, (2003).

For the Jan Mayen area, a local velocity model (see Table 2) and coda magnitude scale is used (Sørnes and Navrestad, 1975).

Table 2: Velocity model used for locating local

Jan Mayen events.

| P-wave velocity (km/sec) | Depth to layer interface (km) |
| --- | --- |
| 3.14 | 0 |
| 6.33 | 3 |
| 8.27 | 18 |

.

The coda magnitude scale for Jan Mayen which is used in this report is given by Havskov & Sørensen (2006). This scale was implemented in 2006 but all events used in this report are updated during April/May 2006.

# MC = 3.27 ( log(T) 2.74 + 0.001 ( D

where T is the coda duration and D is the epicentral distance in km.

The regional and teleseismic events recorded by the network are located using the global velocity model IASPEI91 (Kennett and Engdahl, 1991).

Body wave magnitude is calculated using the equation by Veith and Clawson (1972):

# Mb = log(A/T) + Q(D,h)

Here h is the hypocentre depth (km), A is the amplitude (microns), T is period in seconds and Q(D,h) is a correction for distance and depth.

Surface wave magnitude Ms is calculated using the equation (Karnik et al., 1962):

# Ms = log(A/T) + 1.66 ( log(D) + 3.3

where A is the amplitude (microns), T is period in seconds and D is the hypocentral distance in degrees.

#### Starting from January 2001, the European Macroseismic Scale, EMS98, (Grünthal, 1998) has been used. All macroseismic intensities mentioned in the text will refer to the EMS98 instead of the previously used Modified Mercalli Intensity scale. The two scales are very similar at the lower end of the scale for intensities less than VII.

3. Events recorded by the Norwegian stations

Based on the criteria mentioned in section 1, a total of 4016 local and regional events, were detected by the Norwegian seismic stations during 2005. Of these local and regional events analysed, 56% were located. The number of local/regional and teleseismic events, recorded per month in 2005 is shown in Figure 2. The average number of local and regional events recorded per month is 335.

A total of 1085 teleseismic events were recorded during 2005, of which 97% were located. In addition to the locations determined at UiB, also preliminary locations published by the USGS (United States Geological Survey) based on the worldwide network are included in the UiB database whenever the earthquake is recorded with Norwegian stations. The monthly average of teleseismic earthquakes recorded by NNSN is 90.

Figure 2: Monthly distribution of local/regional and distant events, recorded during 2005.

UiB, as an observatory in the global net of seismological observatories, reports as many secondary phases as possible from the teleseismic recordings.

All events (teleseismic, regional and local) recorded from January to December 2005 with M ( 3 are plotted on Figure 3.

Monthly station recording statistics from January to December 2005 are given in Table 3. This table shows, for each station, the number of local events that were recorded only at one station, local events recorded on more than one station and recorded teleseismic events. It must be observed that Table 3 shows both earthquakes and explosions, and that the large number of detections at KTK  mainly is due to explosions at the Kirruna/Malmberget mines in Sweden. The MOR station also records the Kirruna/Malmberget explosions but in addition the station also records a large number of local earthquakes. Since 2003 a new seismic station, STOK, was located close to the existing MOR station and therefore the number of recorded local earthquakes increased.

Figure 3: Epicentre distribution of earthquakes with M(3.0, located by the Norwegian Seismic Network from January to December 2005. Teleseismic events recorded only by NORSAR have M(5.0.

4. The seismicity of Norway and adjacent areas

A total of 2116 of the recorded events are located inside the NNSN prime area, 54(N-82(N and 15(W-32(E. During analysis and using the explosion filter (Ottemöller, 1995), 32% of these events were identified as probable explosions. Figure 4 shows all local/regional events in the prime area, analyzed and located during 2005.

Figure 5 and Table 4 show the 134 local and regional events, located in the prime area, with one of the calculated magnitudes greater than or equal to 3.0. 69 of these are located in the vicinity of the Jan Mayen island. There are observed a reduction of earthquakes with magnitude above 3.0 and located on mainland Norway. This is mostly due to an change in the calculation of MC.

Table 3a: Monthly statistics of events recorded at each station for January-June 2005. Abbreviations are: LM = Number of local events recorded at more than one station, LS = Number of local events recorded at only one station and D = Number of teleseismic events.

|  | JANUARY | FEBRUARY | MARCH | APRIL | MAY | JUNE |
| --- | --- | --- | --- | --- | --- | --- |
| STATION | LM | LS | D | LM | LS | D | LM | LS | D | LM | LS | D | LM | LS | D | LM | LS | D |
| ASK | 31 | 0 | 5 | 33 | 0 | 7 | 25 | 0 | 5 | 28 | 0 | 6 | 30 | 0 | 4 | 27 | 0 | 2 |
| BER | 14 | 0 | 13 | 7 | 0 | 19 | 7 | 0 | 14 | 10 | 0 | 29 | 14 | 0 | 32 | 19 | 0 | 47 |
| BJO1 | 3 | 0 | 17 | 1 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| BLS5 | 20 | 0 | 12 | 32 | 0 | 24 | 26 | 0 | 19 | 29 | 0 | 12 | 31 | 0 | 8 | 27 | 0 | 5 |
| DOMB | 10 | 0 | 17 | 14 | 0 | 22 | 3 | 0 | 18 | 6 | 0 | 14 | 3 | 0 | 8 | 3 | 0 | 8 |
| EGD | 27 | 0 | 4 | 31 | 0 | 7 | 23 | 0 | 4 | 26 | 0 | 5 | 26 | 0 | 4 | 25 | 0 | 2 |
| FOO | 23 | 0 | 9 | 15 | 0 | 8 | 15 | 0 | 7 | 10 | 0 | 2 | 13 | 0 | 1 | 19 | 0 | 6 |
| HOPEN | 21 | 15 | 0 | 20 | 16 | 0 | 59 | 41 | 0 | 38 | 11 | 0 | 21 | 2 | 0 | 36 | 19 | 1 |
| HYA | 24 | 0 | 7 | 20 | 0 | 5 | 18 | 0 | 7 | 16 | 0 | 1 | 18 | 0 | 0 | 19 | 0 | 1 |
| JMI | 13 | 0 | 0 | 7 | 0 | 0 | 9 | 0 | 0 | 15 | 0 | 0 | 26 | 0 | 0 | 48 | 0 | 0 |
| JMIC | 1 | 0 | 8 | 0 | 0 | 14 | 3 | 0 | 11 | 2 | 0 | 24 | 2 | 0 | 29 | 1 | 0 | 47 |
| JNE | 13 | 0 | 0 | 7 | 0 | 0 | 11 | 0 | 0 | 16 | 0 | 0 | 26 | 0 | 0 | 46 | 0 | 0 |
| JNW | 13 | 0 | 0 | 7 | 0 | 0 | 11 | 0 | 2 | 16 | 0 | 0 | 26 | 0 | 0 | 48 | 0 | 0 |
| KBS | 0 | 0 | 0 | 1 | 0 | 16 | 7 | 0 | 4 | 21 | 1 | 6 | 19 | 1 | 34 | 9 | 2 | 49 |
| KMY | 1 | 0 | 1 | 21 | 0 | 3 | 26 | 0 | 6 | 35 | 0 | 1 | 38 | 0 | 0 | 37 | 0 | 1 |
| KONO | 8 | 0 | 20 | 11 | 0 | 13 | 13 | 0 | 24 | 11 | 0 | 28 | 7 | 0 | 32 | 5 | 0 | 44 |
| KTK1 | 173 | 42 | 52 | 165 | 60 | 34 | 216 | 58 | 33 | 140 | 23 | 23 | 184 | 11 | 17 | 65 | 2 | 6 |
| LOF | 60 | 1 | 19 | 57 | 0 | 23 | 102 | 0 | 20 | 77 | 0 | 17 | 131 | 0 | 13 | 101 | 1 | 19 |
| MOL | 1 | 0 | 3 | 26 | 3 | 27 | 24 | 6 | 25 | 23 | 6 | 20 | 28 | 6 | 14 | 26 | 4 | 14 |
| MOR8 | 116 | 8 | 54 | 116 | 2 | 36 | 172 | 0 | 32 | 145 | 0 | 27 | 173 | 0 | 21 | 95 | 1 | 15 |
| NORSAR | 12 | 0 | 163 | 21 | 0 | 77 | 21 | 0 | 91 | 23 | 0 | 75 | 73 | 0 | 59 | 45 | 0 | 72 |
| NSS | 38 | 2 | 41 | 47 | 0 | 39 | 62 | 0 | 26 | 38 | 0 | 29 | 25 | 0 | 33 | 44 | 1 | 46 |
| ODD1 | 25 | 0 | 4 | 40 | 1 | 17 | 33 | 0 | 9 | 34 | 0 | 1 | 20 | 0 | 1 | 15 | 0 | 1 |
| OSL | 0 | 0 | 9 | 0 | 0 | 11 | 0 | 0 | 10 | 0 | 0 | 8 | 1 | 0 | 6 | 1 | 0 | 7 |
| RUND | 14 | 0 | 3 | 11 | 0 | 6 | 10 | 0 | 10 | 15 | 0 | 5 | 8 | 0 | 6 | 19 | 0 | 7 |
| SNART | 12 | 0 | 2 | 17 | 0 | 4 | 11 | 0 | 5 | 9 | 0 | 0 | 22 | 0 | 2 | 20 | 0 | 3 |
| STAV | 1 | 0 | 2 | 4 | 0 | 6 | 3 | 0 | 5 | 0 | 0 | 1 | 2 | 0 | 5 | 6 | 0 | 3 |
| STOK | 1 | 0 | 0 | 28 | 0 | 10 | 78 | 0 | 8 | 81 | 0 | 10 | 22 | 0 | 2 | 71 | 0 | 6 |
| SUE | 20 | 0 | 1 | 11 | 0 | 4 | 13 | 0 | 4 | 14 | 0 | 0 | 14 | 0 | 2 | 21 | 0 | 3 |
| TRO | 99 | 0 | 52 | 58 | 0 | 32 | 105 | 0 | 32 | 96 | 0 | 35 | 116 | 0 | 43 | 84 | 0 | 51 |
| TRON | 3 | 0 | 2 | 10 | 0 | 6 | 1 | 0 | 3 | 2 | 0 | 2 | 2 | 0 | 1 | 4 | 0 | 2 |
| SPITS | 23 | 1 | 0 | 14 | 1 | 0 | 31 | 1 | 0 | 29 | 0 | 0 | 27 | 0 | 0 | 13 | 0 | 0 |
| ARCES | 41 | 0 | 0 | 57 | 0 | 0 | 69 | 0 | 0 | 44 | 0 | 0 | 86 | 0 | 0 | 62 | 0 | 0 |

Table 3b: Monthly statistics of events recorded at each station for July-December 2005. Abbreviations are: LM = Number of local events recorded at more than one station, LS = Number of local events recorded at only one station and D = Number of teleseismic events.

|  | JULY | AUGUST | SEPTEMBER | OCTOBER | NOVEMBER | DECEMBER |
| --- | --- | --- | --- | --- | --- | --- |
| STATION | LM | LS | D | LM | LS | D | LM | LS | D | LM | LS | D | LM | LS | D | LM | LS | D |
| ASK | 20 | 0 | 8 | 29 | 0 | 6 | 27 | 0 | 5 | 43 | 0 | 17 | 20 | 0 | 11 | 26 | 0 | 11 |
| BER | 9 | 0 | 44 | 22 | 0 | 33 | 5 | 0 | 12 | 27 | 0 | 40 | 5 | 0 | 22 | 7 | 0 | 27 |
| BJO1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 5 | 0 | 3 | 3 | 0 | 9 | 4 | 0 | 12 |
| BLS5 | 14 | 0 | 12 | 25 | 0 | 10 | 26 | 0 | 9 | 35 | 0 | 23 | 19 | 0 | 13 | 30 | 0 | 11 |
| DOMB | 4 | 0 | 10 | 10 | 0 | 7 | 3 | 0 | 9 | 13 | 0 | 24 | 6 | 0 | 18 | 5 | 0 | 17 |
| EGD | 19 | 0 | 7 | 29 | 0 | 6 | 26 | 0 | 4 | 39 | 0 | 17 | 17 | 0 | 11 | 22 | 0 | 12 |
| FOO | 15 | 0 | 6 | 19 | 0 | 1 | 16 | 0 | 4 | 29 | 0 | 7 | 7 | 0 | 5 | 15 | 0 | 7 |
| HOPEN | 38 | 26 | 0 | 13 | 5 | 0 | 9 | 5 | 0 | 23 | 11 | 0 | 22 | 16 | 0 | 40 | 24 | 0 |
| HYA | 15 | 0 | 2 | 21 | 0 | 2 | 11 | 0 | 3 | 33 | 0 | 5 | 9 | 0 | 3 | 15 | 0 | 4 |
| JMI | 185 | 0 | 0 | 79 | 0 | 0 | 48 | 0 | ,0 | 80 | 0 | 0 | 30 | 0 | 0 | 14 | 0 | 0 |
| JMIC | 5 | 0 | 39 | 5 | 0 | 32 | 2 | 0 | 12 | 5 | 0 | 28 | 2 | 0 | 12 | 2 | 0 | 16 |
| JNE | 180 | 0 | 0 | 79 | 0 | 0 | 49 | 0 | 0 | 81 | 0 | 0 | 29 | 0 | 0 | 14 | 0 | 0 |
| JNW | 182 | 0 | 1 | 80 | 0 | 1 | 49 | 0 | 0 | 83 | 0 | 1 | 30 | 0 | 0 | 14 | 0 | 1 |
| KBS | 20 | 6 | 43 | 22 | 1 | 32 | 19 | 0 | 14 | 21 | 0 | 39 | 12 | 1 | 19 | 14 | 0 | 24 |
| KMY | 21 | 0 | 5 | 16 | 0 | 2 | 28 | 0 | 2 | 39 | 0 | 2 | 21 | 0 | 0 | 33 | 0 | 3 |
| KONO | 4 | 0 | 39 | 7 | 0 | 34 | 1 | 0 | 16 | 1 | 0 | 32 | 3 | 0 | 14 | 2 | 0 | 22 |
| KTK1 | 138 | 34 | 30 | 155 | 10 | 15 | 115 | 28 | 18 | 146 | 9 | 82 | 102 | 27 | 21 | 109 | 26 | 27 |
| LOF | 84 | 2 | 22 | 129 | 1 | 14 | 45 | 1 | 6 | 88 | 1 | 40 | 51 | 0 | 16 | 58 | 2 | 18 |
| MOL | 19 | 4 | 18 | 31 | 4 | 12 | 15 | 2 | 16 | 37 | 5 | 36 | 20 | 4 | 18 | 19 | 1 | 21 |
| MOR8 | 102 | 4 | 34 | 139 | 0 | 17 | 93 | 1 | 19 | 143 | 1 | 94 | 82 | 0 | 27 | 116 | 2 | 32 |
| NORSAR | 36 | 0 | 83 | 29 | 0 | 59 | 46 | 0 | 68 | 40 | 0 | 129 | 27 | 0 | 64 | 23 | 0 | 61 |
| NSS | 43 | 0 | 40 | 52 | 0 | 32 | 22 | 0 | 21 | 49 | 0 | 47 | 36 | 0 | 26 | 46 | 0 | 33 |
| ODD1 | 11 | 0 | 4 | 21 | 0 | 4 | 20 | 0 | 5 | 39 | 0 | 7 | 14 | 0 | 3 | 34 | 0 | 7 |
| OSL | 0 | 0 | 7 | 0 | 0 | 2 | 0 | 0 | 4 | 2 | 0 | 15 | 0 | 0 | 8 | 1 | 0 | 7 |
| RUND | 0 | 0 | 0 | 4 | 0 | 3 | 11 | 0 | 2 | 28 | 0 | 9 | 4 | 0 | 6 | 11 | 0 | 6 |
| SNART | 16 | 0 | 5 | 24 | 1 | 2 | 15 | 0 | 5 | 27 | 0 | 10 | 14 | 0 | 6 | 21 | 0 | 7 |
| STAV | 3 | 0 | 5 | 1 | 0 | 2 | 1 | 0 | 2 | 12 | 0 | 4 | 1 | 0 | 0 | 3 | 0 | 2 |
| STOK | 85 | 2 | 9 | 76 | 1 | 6 | 44 | 0 | 6 | 67 | 0 | 27 | 52 | 0 | 14 | 81 | 1 | 9 |
| SUE | 12 | 0 | 3 | 19 | 0 | 2 | 14 | 0 | 2 | 28 | 0 | 3 | 8 | 0 | 5 | 12 | 0 | 3 |
| TRO | 83 | 0 | 49 | 117 | 0 | 38 | 76 | 0 | 23 | 106 | 0 | 95 | 58 | 0 | 29 | 65 | 0 | 37 |
| TRON | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |
| SPITS | 22 | 0 | 0 | 24 | 0 | 0 | 21 | 0 | 0 | 27 | 0 | 0 | 13 | 0 | 0 | 21 | 0 | 0 |
| ARCES | 63 | 0 | 0 | 56 | 0 | 0 | 72 | 0 | 0 | 62 | 0 | 0 | 40 | 0 | 0 | 42 | 0 | 0 |

Figure 4: Epicentre distribution of events analyzed and located from January through December 2005. Earthquakes are plotted in red and probable and known explosions in yellow. For station locations, see Figure 1.

It should be emphasized that it is often difficult to get a good magnitude estimate for the earthquakes located on the oceanic ridge in the Norwegian sea, since distances are too large to compute a proper ML, too short for Mb and coda magnitudes for these locations are often unreliable. Most of the recorded earthquakes in this area have magnitudes above 3.0 if the earthquakes are recorded on Norwegian mainland stations.

The largest local or regional earthquake in 2005, recorded on Norwegian stations and within the prime area, occurred on July 25th 2005 at 16:02 (UTC) north of the northern tip of Jan Mayen. The earthquake had a magnitude of Mc = 5.2.

Figure 5: Epicentre distribution of located events with one of the calculated magnitudes above or equal to 3.0. All earthquakes are listed in Table 2. For station location, see Figure 1.

The largest earthquake in the vicinity of the Norwegian mainland occurred on June 24th at 04:25 (UTC). The earthquake was located in the Mo i Rana area at 66.5(N, 13.5(E and had a magnitude of 3.3. Some of the recorded seismograms from the earthquake are shown in Figure 6.

Table 4: Local and regional events in prime area with any magnitude above or equal to 3.0 for the time period January through December 2005. For depth determination, see section 5.

Only magnitudes reported by the University of Bergen are included. In cases where all BER magnitudes are below 3 but the event still is included in the list, NORSAR has reported a magnitude of 3.0 or larger.

Abbreviations are: HR = hour (UTC), MM = minutes, Sec = seconds, L = distance identification (L=local, R=regional, D=teleseismic), Latitud = latitude, Longitud = longitude, Depth = focal depth (km), F = fixed depth, AGA = agency (BER=Bergen), NST = number of stations, RMS = root mean square of the travel-time residuals, Mc = coda magnitude, Ml = local magnitude and Mw = moment magnitude.

Year Date HRMM  Sec L Latitud Longitud Depth F  AGA NST  RMS   Mc   Ml   Mw

2005  1 1 1302  1.3 L  71.393   -9.432  18.0    BER   3  0.1  3.4  2.9

2005  112 0549  3.8 L  81.852   -4.742   0.0    BER   3  1.7  2.9  3.1

2005  116 1253  0.5 L  62.913    6.108  15.0 F  BER  15  1.3  2.4  2.3

2005  128 1400 40.3 L  71.683  -12.185  10.0 F  BER   3  0.1  3.5  3.4

2005  128 1445 12.9 L  70.809    9.192  10.0 F  BER  24  1.3  2.9  3.0

2005  128 1658 16.5 L  71.888  -11.804  10.0 F  BER   3  0.3  3.6  3.3

2005  131 2029  7.8 L  65.814  -10.278  10.0 F  BER  27  1.9  3.7  4.2  4.7

2005  2 3 1549 52.0 L  56.289   11.363  15.0 F  BER   8  1.3  2.7  1.8

2005  2 3 1749 28.6 L  56.268   11.511  11.0 F  BER   8  0.6  2.5  3.0

2005  2 4 2143 59.3 L  71.285   -6.788   8.0 F  BER   8  1.1  4.1  3.1

2005  210 1822 26.2 L  65.389   -1.822  10.0 F  BER  26  1.5  2.9  2.9

2005  215 1228 10.8 L  71.284   -8.793  10.0 F  BER   3  0.3  3.3  3.0

2005  218 1410 13.1 L  61.049   28.911   0.0    BER   3  1.8       3.0

2005  220 0708  3.3 L  78.382    7.820  10.0 F  BER   7  1.2  2.7  3.6

2005  3 1 0958 35.3 L  77.326   29.598  15.0 F  BER   6  2.1  2.7  3.6

2005  3 1 1219 56.2 L  77.409   30.311  15.0 F  BER   4  1.3  2.1  3.0

2005  3 2 0030 56.2 L  70.895   -6.585  10.0 F  BER   3  0.3  3.1  3.4

2005  3 9 0351 24.9 L  78.423    8.724  15.0 F  BER   4  1.2  2.5  3.2

2005  316 0114  9.5 L  81.318   -3.513  10.0 F  BER   7  1.5  2.8  3.3

2005  318 0945 12.4 L  77.703    7.680  10.0 F  BER   3  0.5  2.5  3.1

2005  320 2303  7.0 L  71.472  -10.599  10.0 F  BER  12  2.8  3.7  3.1

2005  331 0900 57.2 L  64.684   30.573  15.0 F  BER  10  1.1  3.2  2.4

2005  4 2 0606 41.9 L  78.752    6.763  10.0 F  BER  20  1.7  3.4  3.8

2005  4 2 0634 34.0 L  78.560    7.585  10.0 F  BER  14  1.9  3.0  3.4

2005  4 2 1252 37.5 L  78.583    7.307  10.0 F  BER  30  2.5  3.9  4.3  6.2

2005  4 2 1304 30.3 L  78.907    5.990  15.0    BER   2  0.7       3.2

2005  4 2 1359 18.8 L  78.465    7.131  10.0 F  BER   6  1.0  2.9  3.6

2005  4 4 0441 19.7 L  71.227   -7.992  10.0 F  BER   5  0.7  3.3  3.2

2005  4 7 1920 24.7 L  71.158   -6.884  10.0 F  BER   6  0.5  3.4  3.4

2005  410 1715 37.7 L  77.380   18.364  12.0 F  BER   5  1.3  1.7  3.1

2005  410 2255 15.5 L  78.503    6.960  10.0 F  BER   5  1.1  2.2  3.0

2005  411 1213  4.3 L  72.019   -0.240   0.0    BER  13  1.5       3.1

2005  424 1254 20.2 L  78.443    7.554  10.0 F  BER  11  1.6  2.7  3.6

2005  5 1 0105 52.2 L  78.943    3.997  15.0 F  BER   4  0.8  3.5  3.6

2005  5 6 1920 58.9 L  76.949   15.507  31.0    BER   4 99.9  3.0  2.8

2005  513 1853 29.9 L  62.298   18.175  15.0 F  BER  27  1.4  3.5  3.1

2005  516 0239 45.6 L  71.057   -7.526  10.0 F  BER   3  0.2  3.5  2.7

2005  523 0218 33.0 L  73.773   12.438  10.0 F  BER  14  1.1  3.2  2.6

2005  523 2018 27.9 L  72.193    0.248  10.0 F  BER  23  1.9       2.9

2005  526 0539 27.3 L  71.184   -7.221  15.0 F  BER   3  0.1  3.2  2.5

2005  526 0545 58.4 L  71.194   -7.115  10.0 F  BER   3  0.6  3.9  3.2

2005  527 2354 34.8 L  80.267    0.046  10.0 F  BER   6  1.6  3.3  3.4

2005  528 0533 42.9 L  77.574   21.437  12.0 F  BER   5  0.8       3.1

2005  528 1239 17.0 L  71.431   -7.952  10.0 F  BER   3  0.4  3.4  3.1

2005  531 1611  9.3 L  71.388   -8.092  10.0 F  BER   8  1.5  4.4  3.1

2005  6 9 0714 33.5 L  78.558   16.998  15.0 F  BER   6  2.2  2.7  3.4

2005  6 9 1006 50.8 L  71.069   -7.350  10.0 F  BER   3  0.1  3.2  2.7

2005  6 9 2335 52.7 L  77.951   13.561  15.0 F  BER   3  0.7  2.5  3.3

2005  612 1947 55.1 L  71.124   -7.663  10.0 F  BER   3  0.2  3.4  2.8

2005  614 1430 49.2 L  71.626   -2.227  10.0 F  BER   8  1.1            3.1

2005  616 1018  0.4 L  81.853   -2.126  10.0 F  BER  11  1.3  3.8  3.4

2005  624 0425 40.6 L  66.475   13.461   5.0 F  BER  24  1.6  3.1  3.2  3.4

2005  626 0919 52.9 L  71.038   -6.277  10.0 F  BER   3  0.1  3.5  2.7

2005  629 1438 36.9 L  71.084   -7.578   5.0 F  BER   3  0.1  3.3  3.2

2005  630 0734 31.8 L  71.095   -7.590   5.0 F  BER   3  0.1  3.3  2.6

2005  7 9 1248  4.8 L  72.205   -3.387  10.0 F  BER  11  1.2  3.0  3.0

2005  713 1712 26.8 L  76.846   16.854  13.0 F  BER   4  0.6  3.0  3.0

2005  714 0715 34.5 L  76.145   24.681  15.0 F  BER   9  1.3  2.6  3.1

2005  715 2130 34.6 L  71.822  -11.899  10.0 F  BER   3  0.1  3.7  3.1

2005  724 0907 22.1 L  71.052   -7.222  10.0 F  BER   7  0.7  3.4  3.1

2005  725 1602  9.3 L  71.197   -7.884  10.0 F  BER  33  1.3  5.2  4.1  5.5

2005  725 1613 27.4 L  71.206   -7.921  10.0 F  BER  10  0.9  3.6  3.3

2005  725 1628  9.2 L  71.070   -7.347  10.0 F  BER   5  0.2  3.3  3.3

2005  725 1716 54.9 L  71.049   -7.333  10.0 F  BER   3  0.3  3.2  3.4

2005  725 1716 55.4 L  71.003   -7.405  10.0 F  BER   3  0.1  3.1  3.3

2005  725 1739 54.5 L  71.097   -7.357  10.0 F  BER   3  0.2  3.1  3.0

2005  725 1901 12.6 L  71.147   -7.406  10.0 F  BER   3  0.1  3.3  2.6

2005  725 2204 39.0 L  71.102   -7.371  10.0 F  BER   3  0.1  3.0  3.0

2005  726 2052 16.0 L  71.033   -7.422  10.0 F  BER   3  0.1  3.0  2.8

2005  726 2235 33.1 L  71.159   -7.504  10.0 F  BER   3  0.2  3.1  3.0

2005  8 6 1427 20.5 L  71.069   -7.267  10.0 F  BER   3  0.1  3.3  3.0

2005  813 2323 24.2 L  79.483    5.448  12.0 F  BER  22  1.6  3.8  4.2

2005  815 1614  3.9 L  71.185   -7.225  10.0 F  BER   3  0.1  3.2  2.2

2005  816 1842  4.6 L  71.436   -9.945  12.0 F  BER   4  0.3  3.0  1.9

2005  817 0648  6.2 L  71.322   -8.154  10.0 F  BER   4  0.5  3.2  2.7

2005  817 2301 35.8 L  71.179   -7.239  10.0 F  BER   3  0.3  3.3  2.2

2005  819 2308  9.0 L  71.054   -7.381  10.0 F  BER   4  0.1  2.9  3.1

2005  820 1051 22.9 L  70.882    9.123   6.0 F  BER  32  1.6  3.5  3.5  3.3

2005  822 2349 25.0 L  71.259   -8.226  10.0 F  BER   4  0.2  2.5  2.3  3.2

2005  825 2119  6.9 L  80.481    4.059  10.0 F  BER   4  1.0  3.1  2.5

2005  826 0106 25.3 L  77.291   17.477  15.0 F  BER   5  1.6  2.4  3.1

2005  830 0910 32.4 L  71.448   -6.535  10.0 F  BER   3  0.2  3.0  2.6

2005  830 1857 29.2 L  72.011   -0.877  10.0 F  BER  12  1.3       3.0

2005  830 2033 21.1 L  71.923   -0.491  10.0 F  BER  19  1.8       3.2

2005  830 2053 52.3 L  71.931   -1.385  10.0 F  BER  21  2.4  3.0  3.6

2005  831 0226 26.0 L  71.926   -0.696  10.0 F  BER  14  2.0       2.9

2005  831 1501 35.2 L  71.295   -8.071  10.0 F  BER   9  1.3  3.4  3.6

2005  831 1902  3.7 L  71.119   -7.335  10.0 F  BER   3  0.2  3.5  3.1

2005  9 2 0021 49.1 L  72.675    3.757  10.0 F  BER  12  1.1       3.1

2005  9 2 0035 24.5 L  72.677    4.165  11.0 F  BER  14  1.3       3.0

2005  9 2 0049 51.6 L  72.691    4.072  10.0 F  BER  13  1.5       2.9

2005  9 4 2346 14.2 L  70.702   -6.882   0.3    BER   3  0.5  3.1  2.4

2005  913 0251  1.6 L  71.174   -7.884  10.0 F  BER  22  2.1  4.2  3.5

2005  913 0327  1.1 L  71.132   -7.359  10.0 F  BER   3  0.1  3.0  2.8

2005  914 0721 13.1 L  71.080   -7.339  10.0 F  BER   3  0.1  3.1  3.0

2005  914 0835 26.1 L  71.087   -7.316  10.0 F  BER   3  0.1  3.2  2.7

2005  915 1643 29.0 L  78.318    8.268  10.0 F  BER   3  0.7  2.4  3.2

2005  917 0424 23.0 L  71.065   -7.411  13.0 F  BER  11  0.9  3.7  3.4

2005  925 2228 50.9 L  79.359    4.275  10.0 F  BER   6  1.8  2.9  3.6

2005 10 3 1331 37.9 L  71.457  -11.602  10.0 F  BER   3  0.1  3.3  2.5

2005 10 4 1751 41.2 L  71.212   -8.013  10.0 F  BER  13  2.2  3.8  3.5

2005 10 9 2100 40.4 L  71.058   -7.213   0.3    BER   3  0.3  3.3  3.0

2005 1010 0656 59.0 L  70.965   -6.702  10.0 F  BER   8  0.6  4.1  3.6

2005 1011 0144 30.5 L  64.584   24.434   0.0    BER   9  1.4  3.1  2.1

2005 1012 1114 56.5 L  73.735    9.540  10.0 F  BER   3  0.4       3.1

2005 1013 1408 40.3 L  66.391   13.202   5.0 F  BER  14  1.4  3.0  2.8  2.8

2005 1018 1833 45.5 L  79.761   20.260  13.0 F  BER  11  2.1  2.9  3.1

2005 1019 0901 10.4 L  70.754   -7.233  10.0 F  BER  31  2.2  5.9  3.6

2005 1019 0902 58.8 L  71.013   -7.040  12.0 F  BER   3  0.1  2.9  3.4

2005 1019 1232 42.6 L  70.877   -7.487  10.0 F  BER  25  2.0  4.1  4.2

2005 1019 1340 36.4 L  71.089   -7.217  13.0 F  BER   3  0.2  2.9  3.1

2005 1019 1352 44.8 L  71.110   -7.166  14.0 F  BER   3  0.1  3.1  3.1

2005 1019 1721 51.7 L  70.938   -7.041  10.0 F  BER   3  0.1  2.9  3.0

2005 1020 1714 20.4 L  77.291   20.286  15.0 F  BER   7  1.5  2.2  3.1

2005 1027 1233  5.8 L  77.637    7.967  10.0 F  BER   6  1.2  3.0  2.3

2005 1028 0722 23.0 L  57.518    7.146  15.0 F  BER  20  1.3  2.8  3.1

2005 1030 1834 32.7 L  71.027   -7.452  10.0 F  BER   3  0.3  3.3  3.5

2005 11 1 1859 48.3 L  71.052   -7.109  14.8    BER   3  0.0  3.1  3.3

2005 11 5 0111 22.2 L  71.064   -7.352   9.0 F  BER   3  0.1  3.0  2.6

2005 11 6 2218 20.0 L  71.530   -6.099  10.0 F  BER   3  0.3  3.7  3.0

2005 11 7 0149 35.7 L  71.678  -11.953  10.0 F  BER  13  1.2  5.4  3.4

2005 11 7 1450  4.1 L  69.566   -8.196  10.0 F  BER   3  0.4  3.4  2.8

2005 1116 0520  6.4 L  71.072   -7.548  14.6    BER   3  0.1  2.8  3.0

2005 1119 2009 48.9 L  71.808   -4.290  10.0 F  BER  11  1.3  3.0

2005 1120 2121 20.4 L  78.128   14.611  13.0 F  BER   5  1.1  2.5  3.6

2005 1125 1921 45.8 L  71.265   -8.712  10.0 F  BER   3  0.2  3.2  2.8

2005 1128 1449  5.2 L  71.286   -8.949  10.0 F  BER   3  0.4  3.0  2.7

2005 12 2 1852  2.4 L  71.198   -8.127  10.0 F  BER   3  0.3  3.0  2.2

2005 1210 2321 30.4 L  56.823   -5.334  12.0 F  BER  16  0.7       2.8

2005 1215 1647 13.1 L  66.435   13.433   9.0 F  BER  16  1.9  2.9  2.7  2.8

2005 1216 1224 59.1 L  71.664  -11.276  10.0 F  BER   5  0.3  3.7  3.2

2005 1224 0542 50.2 L  79.454    4.540  10.0 F  BER   8  1.9  2.9  3.4

2005 1225 0845  5.4 L  71.046   -7.129  10.0 F  BER   3  0.0  3.0  2.1

2005 1230 1540 31.0 L  79.295    3.880  10.0 F  BER   5  0.9  2.6  3.3

Figure 6: Seismograms for the earthquake on June 24th 2005 at 04:25 (UTC). The seismograms are filtered between 5-10 Hz. The horizontal time scale is minutes, first marking at 04:24 (UTC).  The station abbreviations are: STOK: Stokkvågen, MELS:Meløy, MOR: Mo i Rana, LOF: Lofoten, RORS:Røros, NSS: Namsos, TRON:Trondheim, TRO: Tromsø, MOL:Molde, DOMB:Dombås, FOO:Florø, HYA: Høyanger, SUE:Sulen, BLS:Blåsjø.

# Earthquake recordings in the Stokkvågen area.

During summer 2005, two temporary stations were installed in the Stokkvågen area in Nordland. This has long been known to be a highly seismically active area, which was also confirmed after the installation of the STOK station in 2003. The two stations (STOK1 and STOK2) were installed at the locations shown in Figure 7. In the following, a review is given of the events recorded in the region in 2005.

Figure 7. Earthquakes recorded in the Stokkvågen area by the NNSN in 2005.

A total of 778 earthquakes were recorded by at least one of the stations STOK, STOK1, STOK2 and MOR8 during 2005. Of these, 693 were located within the area shown in Figure 7 (66.2-66.6N, 12.5-14E). In comparison, 52 events were recorded in the same area in 2004. The locations in Figure 7 are obtained using joint hypocenter determination (JHD) with all available recordings within 200 km distance. Due to very small magnitudes, some of the events are located based on data from only one station, and further investigations are necessary to obtain a complete and reliable picture of the seismicity. As seen in the figure, the events have a tendency of clustering, which was also noticed prev iously by Hicks et al. (2000). It is expected that the location accuracy can be improved when more data becomes available.

The magnitude distribution of the events is shown in Figure 8. Here it is seen that most recorded events are of magnitude smaller than 2 and that events down to magnitude 0 or even lower are recorded. Fitting a b-value to the low-magnitude events (line in Figure 8) gives a b-value of 0.99.

Figure 8. Magnitude distribution of events recorded in the Stokkvågen area.

The temporal distribution of the earthquakes in the region (Figure 9) shows a clear increase in the number of recorded events after installation of the temporary stations during summer 2005 (around day 200).

Figure 9. Temporal distribution of earthquakes in the Stokkvågen area in 2005.

Statistics about the number of events recorded at the individual stations are given in Table 5.

Table 5. Events recorded by NNSN stations in the Stokkvågen area.

’Recorded events’ indicates total number of events recorded

by a station; ’Recorded, only station’ indicates number of

events recorded only by the given station.

| Station | Recorded events | Recorded, only station |
| --- | --- | --- |
| STOK | 239 | 12 |
| STOK1 | 76 | 10 |
| STOK2 | 559 | 433 |
| MOR8 | 162 | 1 |

The table shows that most of the events are recorded by the STOK2 station and that many events are recorded only by this one station. This is due to the location of the station within few kilometres of one of the most active clusters in the area. STOK1 has suffered from technical problems and therefore parts of the data have been lost. It is expected that many of the events recorded only at STOK2 would have been recorded also by STOK1 if the station had been recording at the time of the event.

It is clear that the installation of the temporary stations in the Stokkvågen area has improved the detection capability in this area significantly and it has been confirmed that the area is highly active. Based on these observations, it has been decided to continue the dense monitoring in the region by continuing recording with more permanent installations at the two sites. Plans are also made for installation of a high-quality broad-band seismometer in the same area.

## Jan Mayen

The Jan Mayen island is located in an active tectonic area with two major structures, the Mid Atlantic ridge and the Jan Mayen fracture zone, interacting in the vicinity of the island. Due to both tectonic and magmatic activity in the area, the number of recorded earthquakes is higher than in other areas covered by Norwegian seismic stations. During 2005 a total of 542 earthquakes were located as seen on Figure 10 and of these, 70 were calculated to have a magnitude equal to or above 3.0.

The largest earthquake in the Jan Mayen region occurred July 25th at 16:02 (UTC). This earthquake was located to 71.197N and 7.884W with magnitude 5.2.

Figure 10: Earthquakes located in the vicinity of the Jan Mayen island during 2005.

5. Well recorded earthquakes

Since January 1995, well recorded earthquakes have been selected during the daily analysis and specially marked in the NNSN data base. The event selection is based on signal to noise ratio and the number of recording stations, which entails that both small events near the network and large events further away have been selected. In a few cases also location has been a qualification to mark an event as an event of special interest. These events are studied in greater detail than the other events recorded by the network. Additional phase readings and waveform data are collected if available, mainly from NORSAR and BGS. Particularly the location and the depth estimates are checked. For each event, the rms-vs-depth plot is checked and if possible the event is located using only the nearest stations (D < 200 km) to check if this gives a better location with a well constrained depth. If this is the case, the depth is fixed and the event is relocated using all stations. If no reasonable depth can be determined, the depth is fixed at 15 km for continental earthquakes and at 10 km for oceanic earthquakes. The same principle for depth determination is also used for the local and regional events with magnitude equal to or above 3.0. For this report, 11 special events have been analyzed (see Table 6). The locations of these events are shown in Figure 11.

Figure 11: Epicentre distribution of well-recorded events in 2005. For station locations, see Figure 1.

## Focal mechanisms

It has not been possible to determine a focal mechanism for any of the 11 well recorded events due to their relative small magnitude.

6. Felt earthquakes

From 2005 it is now possible to report felt earthquakes using the internet. On the site www.skjelv.no., questionnaires are available for  the public.  10 earthquakes were reported felt during 2005 (see Table 7 and Figure 12). None of the earthquakes reported felt in Norway was felt by a sufficient number of people for questionnaires to be distributed by post. For some earthquakes questionnaires has been received by web and intensities are plotted on maps.

Figure 12: Location of the 10 earthquakes reported felt during 2005.

Table 6: List of 11 well-recorded events in 2005.

Abbreviations are: HH = hour (UTC), MM = minutes, Sec = seconds, L = distance identification (L=local), Latitud = latitude, Longitud=longitude, Depth = focal depth (km); F= fixed depth, AGA = reporting agency (BER=Bergen), NST = number of stations, RMS = root mean square of the travel-time residuals, Mc = coda magnitude, Ml = local magnitude, Mb = body wave magnitude, Ms = surface wave magnitude, Mw = moment magnitude, STRIK = strike, Mom = log of seismic moment in Nm, Strs = stress drop in bar, f0 = corner frequency in Hz and r = source radius in km.

Year Date HRMM  Sec L Latitud Longitud Depth FF AGA NST  RMS   Mc   Ml   Mb   Ms   Mw STRIK  DIP RAKE   Mom Strs   f0    r

2005  1 9 1253 37.5 L  61.964    5.132  12.0 F  BER  12  1.1  2.1  2.1            2.2                  12.4  8.510.82.1202

2005  2 4 2116 38.8 L  61.948    6.452  10.0 F  BER  18  1.2  1.7  1.7            1.8                  11.8  2.211.24.1168

2005  211 0209 42.5 L  59.874    6.146  12.0 F  BER  18  1.2  1.9  2.1            2.3                  12.5  2.4 6.93.1985

2005  5 1 0727 32.3 L  66.248   13.189   5.0 F  BER  15  1.8  2.7  2.3            2.5                  12.8  2.9 5.54.2373

2005  624 0425 40.6 L  66.475   13.461   5.0 F  BER  24  1.6  3.1  3.2            3.4                  14.2 98.4 4.66.4276

2005  728 2029 58.3 L  59.815    5.133  14.0 F  BER  16  0.9  2.3  2.5            2.5                  12.8  6.2 7.28.1979

2005  820 1051 22.9 L  70.882    9.123   6.0 F  BER  32  1.6  3.5  3.5  4.8       3.3                  14.0 40.1 4.99.2729

2005 1013 1408 40.3 L  66.391   13.202   5.0 F  BER  14  1.4  3.0  2.8            2.8                  13.2  7.4 5.03.2682

2005 1127 2316 16.2 L  60.172    5.203  11.0 F  BER  18  1.0  2.2  2.1            2.1                  12.3  1.7 6.88.2100

2005 1215 1647 13.1 L  66.435   13.433   9.0 F  BER  16  1.9  2.9  2.7            2.8                  13.3  5.7 3.77.3649

2005 1231 0248 28.9 L  61.242    4.652  11.0 F  BER  18  1.5  2.1  2.5            2.3                  12.6 13.111.34.1526

Table 7: Earthquakes reported felt in the BER database in 2005. Abbreviations are: Mc = coda magnitude, Ml = local magnitude and Mw = moment magnitude, Q: questionnaires sent.

| Nr | Date | Time (UTC) | Max.intensity (on MMI scale) | Magnitude (BER) | Instrumental epicentre location | Q |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 04.02.05 | 21:16 | III | Mc=1.9, Ml=1.8 | 62.05N / 6.27E | N |
| 2 | 24.02.05 | 08:39 | III | Mc=2.0, Ml=1.6 | 63.79N / 9.52E | N |
| 3 | 01.05.05 | 07.27 | III | Mc=2.9, Ml=2.2 | 66.25N / 13.19E | N |
| 4 | 24.06.05 | 04:25 | III | Mc=3.1, Ml=3.2 | 66.47N / 13.42E | N |
| 5 | 25.07.05 | 16:02 | III | Mc=4.7, Ml=4.5 | 71.19N / 7.88W | N |
| 6 | 28.07.05 | 20:29 | IV | Ml=2.6, Mw=2.8 | 59.81N / 5.14E | N |
| 7 | 13.10.05 | 14:08 | III | Mc=3.0, Ml=2.8 | 66.39N / 13.21E | N |
| 8 | 27.11.05 | 23:16 | III | Mc=2.2, Ml=2.1 | 60.17N / 5.20E | N |
| 9 | 15.12.05 | 16:47 | III | Mc=2.8, Ml=2.7 | 66.44N / 13.38E | N |
| 10 | 31.12.05 | 02.48 | III | Mc=2.1, Ml=2.7 | 61.27N / 4.17E | N |

# Figure 13: Macroseismic information for the event on November 27th, 2005 as returned in questionnaires using internet.

# 7. 100 years of seismic monitoring in Bergen.

# The seismological observatory in Bergen 100 years.

# Centennial Exhibition (1905-2005)

# ”Når jorden skjelver!”

The first seismic station in Norway was installed at Bergen Museum by C.F. Kolderup in 1905. In celebration of the 100-year anniversary of earthquake recording in Norway, the exhibition “Når jorden skjelver!” (“When the Earth quakes!”) was opened at Bergen Museum on May 12, 2005 as a cooperation between the museum and the Dept. of Earth Science. The exhibition aims to give an insight to earthquakes as a natural phenomenon, the historical evolution of seismology both in Norway and the rest of the world and seismic instrumentation. Separate sections of the exhibition focus on the Norwegian National Seismic Network (Figure 14) and on oil exploration in Norway. Various posters explain the basic principles through text and figures and are complemented by monitors showing e.g. updated earthquake information and real-time seismograms (Figure 14) and by seismic instrumentation shown in the exhibit room. In addition, a number of interactive elements have been included such as a earthquake simulator where the audience can feel an earthquake (Figure 15), a ‘tsunami-simulator’ where one can generate a tsunami (Figure 16) and a smaller shaking table for testing the seismic resistance of simple structures represented by Lego building blocks.

In connection with the opening of the exhibition, a seminar was arranged with invited speakers who gave lectures about the history and evolution of Jordskjelvstasjonen (The seismological observatory in Bergen) to celebrate the 100th anniversary and the centennial exhibition opening.

Figure 14. Display describing the NNSN and monitors showing updated earthquake information and real-time seismograms

Figure 15. There

was a great media interest in connection with the exhibition opening. Here the shaking table is demonstrated for a tv station.

Figure 16. The tsunami simulator in use. In the background are posters describing the history of seismology and the global distribution of earthquakes.

# 8. Use of NNSN data during 2005.

# Data collected by Norwegian seismic stations are made available through the Internet and are provided on request to interested parties. The use and publication of this data is beyond our control.

## Publications and reports.

Atakan, K., and Ojeda, A. 2005. Stress transfer in the Storegga area, offshore mid-Norway. Marine and Petroleum Geology, Vol 22/1-2, 161-170.

## Bungum, H., T. Kværna, S. Mykkeltveit, N. Maercklin, M. Roth, K. Estebxl, D. B. Harris & S. Larsen (2005): Energy partitioning for seismic events in Fennoscandia and NW Russia. 27th Seismic Research Review: Ground-based nuclear explosion monitoring technologies, Rancho Mirage, California, LA-UR-05-6407. Proceedings, pages 529-538.

## Bungum, H., C. Lindholm & J. I. Faleide (2005): Postglacial seismicity offshore mid-Norway with emphasis on spatio-temporal-magnitudal variations. Marine and Petroleum Geology, 22, 137-148.

## Bungum, H. & O. Olesen (2005): The 31st of August 1819 Lurøy earthquake revisited. Nor. J. Geology, 85, 245-252.

## Bungum, H. & O. Olesen (2005): Reply to Comments on the Lurøy 1819 earthquake controversy by E.S. Husebye. Nor. J. Geology, 85, 257-258.

## Bungum, H., O. Ritzmann, N. Maercklin, J. I. Faleide, W. D. Mooney & S. T. Detweiler (2005). Three-dimensional model for the crust and upper mantle in the Barents Sea region. EOS Trans., Am. Geophys. Un., 86(16), 160161.

Gibbons, S. J., T. Kverna & F.Ringdal (2005): Monitoring of seismic events from a specific source region using a single regional array: a case study. J. Seism., 9, 277-294.

Gibbons, S. J. & F. Ringdal (2005): The detection of rockbursts at the Barentsburg coal mine, Spitsbergen, using waveform correlation on SPITS array data. In: Semiannual Technical Summary, 1 July - 31 December 2004, NORSAR Scientific Report No. 1- 2005. NORSAR, Kjeller, Norway.

Gibbons, S. J. & F. Ringdal (2005): Detecting the aftershock from the 16 August 1997 Kara Sea event using waveform correlation. In: Semiannual Technical Summary 1 January - 30 June 2005, NORSAR Scientific Report No. 2-2005. NORSAR, Kjeller, Norway.

Kverna, T., S. Gibbons, F. Ringdal & D. Harris (2005): Integrated Seismic Event Detection and Location by Advances Array Processing. 27th Seismic Research Review: Ground- based nuclear explosion monitoring rechnologies, Rancho Mirage, California, LA- UR-05-6407. Proceedings, pages 927-936.

Levshin, A., Ch. Weidle & J. Schweitzer (2005): Surface wave tomography for the Barents Sea and surrounding regions. Semiannual Technical Summary, 1 January  30 June 2005, NORSAR Scientific Report 2-2005, 37-48, Kjeller, Norway.

Lindholm, C., F. Ringdal & J. Fyen (2005): The Sumatra M=9.0 earthquake as a high-end test of NORSAR’s processing capability. In: Semiannual Technical Summary, 1 July - 31 December 2004, NORSAR Sci. Rep. 1-2005, Kjeller, Norway.

Lindholm C., M. Roth, H. Bungum & J.I. Faleide (2005): Probabilistic and deterministic seismic hazard results and influence of the sedimentary Møre Basin, NE Atlantic, Marine Petroleum Geology 22, 149-160.

Ottemöller, L., Nielsen, H.H., Atakan, K., Braunmiller, J., and Havskov, J. 2005. The May 7, 2001 induced seismic event in the Ekofisk Oil-field, North Sea. Journal of Geophysical Research, 110, B10301, doi:10.1029/2004JB003374.

Pettenati, F., L. Sirovich, H. Bungum & J. Schweitzer (2005): Source inversion of regional intensity patterns of five earthquakes from south-western Norway. Bolletino. Geof. Teor. e Appl., 46(2-3), 111-134. 2 - 16,Volume 1, 423-432.

Ringdal, F., S.J. Gibbons & D.B. Harris (2005): Adaptive Waveform Correlation Detectors for Arrays: Algorithms for Autonomous Calibration. In Proceedings of the 27th Seismic Research Review, Rancho Mirage, California, September 2005 --Ground-based Nuclear Explosion Monitoring Technologies, 413-422.

Ringdal, F., S. Gibbons, T. Kværna, V. Asming, Y. Vinogradov, S. Mykkeltveit & J. Schweitzer (2005): Research in Regional Seismic Monitoring. 27th Seismic Research Review  Ground-based nuclear monitoring technologies. Rancho Mirage, California, September 20 - 22, 2005, LA-UR-05-6407, Proceedings, CD Version file 2 - 16,Volume 1, 423-432.

Ringdal, F., & J. Schweitzer (2005): Combined seismic/infrasonic processing: A case study of explosions in NW Russia. Semiannual Technical Summary, 1 January  30 June 2005, NORSAR Scientific Report 2-2005, 49-60, Kjeller, Norway.

Schweitzer, J. (2005): The 7 April 2004 Flisa, southern Norway earthquake sequence  eight hypocenter determinations and one focal mechanism. In: Semiannual Technical Summary, 1 June  31 December 2004, NORSAR Scientific Report 1-2005, Kjeller, Norway.

SESAME Project Team (including K. Atakan and SESAME Project Participants). 2005. SESAME (Site Effects Assessments Using Ambient Excitations) Project Final Report. Universite Joseph Fourier, Grenoble, France. 31p.

Oral and poster presentations

Atakan, K. 2005 (invited). The mega-thrust earthquake of 26 December 2006 (M=9), off northwestern coast of Sumatra, Indonesia: Seismotectonic processes. Norsk Geologisk Forening, Vintermøte, 9-13 January 2005, Røros, Norway.

Atakan, K. 2005 (invited). Jordskjelvet utenfor Sumatra: seismotektoniske prosesser, tsunami og fremtidsperspektiver. Statoil AS, 2 February 2005, Sandsli, Bergen, Norway.

Atakan, K. 2005 (invited). The mega-thrust earthquake of 26 December 2006 (M=9), off northwestern coast of Sumatra, Indonesia: Seismotectonic processes, tsunami and future perspectives. Norsk Petroleum Forening (Norwegian Petroleum Society) and Norsk Geologisk Forening (Norwegian Geological Society, Stavanger Section), 8 February 2005, Stavanger, Norway.

Atakan, K. 2005 (invited). Jordskjelvet utenfor Sumatra 26 desember 2004 (M=9). 22 February 2005, Studentersamfunnet, Bergen, Norway.

Atakan, K. 2005 (invited). Jordskjelvet utenfor Sumatra: seismotektoniske prosesser, tsunami og fremtidsperspektiver. Norsk Geologisk Forening, Bergen, Norway.

Atakan, K. 2005 (invited). Jordskjelvet utenfor Sumatra 26 desember 2004 (M=9). 4 March 2005, Institutt for Fysikk og Teknologi, UiB, Bergen, Norway.

Atakan, K. 2005. Great Sumatra Earthquakes of 2004 and 2005. Norsk Petroleum Forening, Bergen Section, 24 May 2005, Bergen Norway.

Atakan, K. 2005. Jordskjelvet utenfor Sumatra: seismotektoniske prosesser, tsunami og fremtidsperspektiver. Norsk Petoleumsforening, Avd. Bergen, 24 May 2005.

Bischoff, M., J. Schweitzer, T. Maier & H.-P. Harjes (2004): Messung der Love-Rayleigh-Diskrepanz: GRSN und NORSAR. 64th Jahrestagung der Deutschen Geophysikalischen Gesellschaft, Berlin 8 – 12 March (poster).

J. Havskov (2005). Jan Mayen, a geophysical laboratory, Oslo geofysikers
forening, February.

J. Havskov (2005) Norwegian National Seismic Network in 100 years, Nordic
Detection seminar, Copenhagen, June.

J. Havskov. Norsk Nasjonalt Seismisk Netverk, Jordskjelvstasjonen I
Bergen's 100 års jubileum.

J. Havskov. Seismicity of Jan Mayen, IASPEI, Chile, October 2005

Ottemöller, L, H. H. Nielsen, K. Atakan, J. Braunmiller and J. Havskov
(2005). The 7 May 2001 induced seismic event in the Ekofisk oil field,
North Sea, IASPEI, Chile, October 2005.

Sørensen, M.B., Atakan, K., Havskov, J., Pulido, N., Ojeda, A. 2005. 
Modeling of ground motions and stress transfer caused by the December 26, 2004 Sumatra earthquake. European Geosciences Union General Assembly 2005, Vienna, Austria, 24-29 April 2005. (Poster Presentation).

Sørensen, M. B., Ottemöller, L., Havskov, J., Atakan, K., Hellevang, B., Pedersen, R. B. 2005. Tectonic processes in the Jan Mayen Fracture Zone based on earthquake occurrence and bathymetry. European Geosciences Union General Assembly 2005, Vienna, Austria, 24-29 April 2005. (Poster presentation).

Sørensen, M.B., Atakan, K., Havskov, J. Pulido, N., and Ojeda, A. 2005. Modeling of ground motions and stress transfer caused by the December 26, 2004 Sumatra earthquake. 36th Nordic Seminar on Detection Seismology, Copenhagen, Denmark, June 8-10, 2005. (Poster presentation).

Sørensen, M.B., Atakan, K., and Pulido, N. 2005.Modeling of ground motions and stress transfer caused by the December 26, 2004 Sumatra earthquake. IASPEI General Assembly, Santiago, Chile, 2-8 October 2005.

# 8. References

Alsaker A., Kvamme, L.B., Hansen, R.A., Dahle, A. and Bungum, H. (1991): The ML scale in Norway. Bull. Seism. Soc. Am., Vol. 81, No. 2, pp.379-398.

Brune J.N. (1970): Tectonic stress and spectra of seismic shear waves. Journal of Geophysical Research, 75, 4997-5009.

Grünthal, G. (1998): "European Macroseismic Scale 1998". Cahiers du Centre Européen de Géodynamique et de Séismologie Volume 15, Luxembourg.

Havskov J., and Bungum, H. (1987): Source parameters for earthquakes in the northern North Sea. Norsk Geologisk Tidskrift,Vol.67, pp 51-58.

Havskov, J. and Ottemöller, L. (1999): SEISAN earthquake analysis software. Seism. Res. Letters, Vol. 70, pp. 532-534.

Havskov, J. and Ottemöller, L. (2001): SEISAN: The earthquake analysis software. Manual for SEISAN v. 8.0, Department of Earth Science, University of Bergen, Norway.

Havskov, J. and Sørensen, M.B. (2006): New coda magnitude scales for mainland Norway and the Jan mayen region. Technical report no. 19.

Hicks, E.C., Bungum, H. and Lindholm, C., 2000b. Seismic activity, inferred crustal stresses and seismotectonics in the Rana region, Northern Norway, Quarternary Science Reviews, 19, 1423-1436.

Kanamori, H. (1977): The energy release in great earthquakes. Journal of Geophysicsl Research 82; 20, pp. 2981-2987.

Karnik, V., Kondorskaya, N.V., Riznichenko, Y. V., Savarensky, Y. F., Solovev, S.L., Shebalin, N.V., Vanek, J. and Zatopek, A. (1962): Standardisation of the earthquake magnitude scales. Studia Geophys. et Geod., Vol. 6, pp. 41-48.

# Kennett, B.L.N. and Engdahl, E.R. (1991): Traveltimes for global earthquake location and phase identification. Geophys. J. Int., Vol. 105, pp. 429-465.

Kradolfer, U. (1996): AuroDRM – The First Five Years. Seismological Research Letters, vol. 67, no. 4, 30-33.

Lienert, B.R. and Havskov, J. (1995): HYPOCENTER 3.2 A computer program for locating earthquakes locally, regionally and globally. Seismological Research Letters,

Vol. 66, 26-36.

Moreno, B, Ottemöller, L., Havskov, J. and Olesen, K.A. (2002): Seisweb: A Client-Server-Architecture-Based Interactive Processing Tool for Earthquake Analysis. Seism. Res. Letters. Vol.73, No.1.

# Ottemöller, L. (1995): Explosion filtering for Scandinavia. Technical Report No. 2, Institute of Solid Earth Physics, University of Bergen, Norway.

# Sørensen, M. B., Ottemöller, L., Havskov, J., Atakan, K., Hellevang, B. And Pedersen, R. B. (in prep.): Tectonic processes in the Jan Mayen Fracture Zone based on earthquake occurrence and bathymetry, manuscript in preparation.

# Sørnes A. and Navrestad, T. (1975): Seismic survey of Jan Mayen. Norsk Polarinstitutt, Årbok 37-52.

Veith K.F., and Clawson, G.E. (1972): Magnitude from short-period P-wave data. Bull. Seism. Soc. Am., Vol. 62, pp.435-452.

# Westre S. (1975): Richter's lokale magnitude og total signal varighet for lokale jordskjelv på Jan Mayen. Cand. real thesis., Seismological Observatory, University of Bergen, Norway.

APPENDIX 2

The NORSAR Regional Array

The NORSAR Regional Arrays

NORSAR operates the two regional seismic arrays, ARCES (near Karasjok, Finnmark) and SPITS (on Svalbard). In addition, data from NORSAR (the original large aperture array in southern Norway), FINES (in Finland), HAGFORS (southern Sweden), KBS (Kings Bay on Svalbard), KONO (Kongsberg, southern Norway) and JMIC (Jan Mayen) are collected and analyzed. All data are openly available and the interested layman can see daily data on www.norsar.no/NDC/data

The NORES array, which was damaged by lightening in 2002 represents a significant loss in the regional monitoring capability. Alternative processing algorithms for the NORSAR array have been developed, and the plans for a reconstruction of the NORES array are now in progress.

Fig. 1. Seismic Arrays currently operated by NORSAR. Only red circles represent the seismic stations.

Systems Recording Performance

The arrays have continuous data recording. In 2005 the average recording time for the SPITS array was 98.38%, for the ARCES array 97.93%, and for the NORSAR array 99.67%.

The recording performance in terms of monthly uptime statistics is shown in Table 1.

|  | ARCES | SPITS | NORSAR |
| --- | --- | --- | --- |
| January | 99.442 | 97.472 | 99.820 |
| February | 98.629 | 93.599 | 99.884 |
| March | 99.890 | 99.931 | 99.951 |
| April | 88.671 | 99.867 | 99.999 |
| May | 98.032 | 95.154 | 99.953 |
| June | 95.866 | 99.996 | 99.798 |
| July | 99.938 | 100 | 99.799 |
| August | 100 | 94.857 | 99.982 |
| September | 99.990 | 99.997 | 98.192 |
| October | 94.860 | 99.740 | 99.706 |
| November | 99.963 | 99.990 | 99.210 |
| December | 99.937 | 99.992 | 99.688 |

Table 1. Systems recording performance (uptime in % of theoretical) for three arrays operated by NORSAR in 2005.

Detections

The NORSAR analysis results are based on automatic phase detection and automatic phase associations which produce the automatic bulletin. Based on the automatic bulletin a manual analysis of the data is done, resulting in the reviewed bulletin (which is available under the NORSAR web pages). This procedure is often referred to as the Regional Monitoring System (RMS), and has been in operation since 1989. To reduce the work load on the analyst, the Generalized Beam Forming (GBF) is used as a pre-processor to RMS, so that only phases associated with selected events in northern Europe are considered in the automatic RMS phase association. However, all detections are available for analyst screening and review.

Table 2 gives a summary of the phase detections and events declared by the RMS.

|  | Jan. | Feb. | March | April | May | June |
| --- | --- | --- | --- | --- | --- | --- |
| Phase detections | 162944 | 130738 | 165138 | 132073 | 122762 | 134846 |
| Associated phases | 5380 | 4386 | 6283 | 4076 | 5569 | 4659 |
| Un-associated phases | 157564 | 126352 | 158855 | 127997 | 117193 | 130187 |
| Events automatically declared by RMS | 1225 | 968 | 1245 | 758 | 885 | 811 |
| No. of events defined by the analyst | 56 | 76 | 91 | 63 | 98 | 65 |
|  | July | Aug. | Sep. | October | Nov. | Dec. |
| Phase detections | 151880 | 157416 | 183672 | 172681 | 152602 | 140494 |
| Associated phases | 4981 | 4772 | 7176 | 6955 | 5050 | 4391 |
| Un-associated phases | 146899 | 152644 | 176496 | 165726 | 147552 | 136103 |
| Events automatically declared by RMS | 953 | 988 | 1460 | 1440 | 1003 | 872 |
| No. of events defined by the analyst | 75 | 65 | 89 | 75 | 73 | 50 |

Table 2. RMS phase detections and event summary.

The phase arrival time data from the arrays processed by NORSAR is provided to the UiB processing centre and merged with UiB readings, and a location based on all data is computed as published in the monthly bulletins

.

The use of Norwegian data

Data collected on Norwegian seismic stations are made available through the Internet and is provided on request to interested parties. The use and publication of this data is beyond our control. The published list therefore only covers publications that we are aware of (mainly where one NORSAR employee is a co-author).

Several investigations make use of the data from the Norwegian National Seismic Network.