# Seismicity of Norway

# and surrounding areas

for

2008

Prepared by

# Department of Earth Science

University of Bergen

Allegt. 41

N-5007 Bergen

e-mail: seismo@geo.uib.no

Phone: (+47) 55 58 36 00

Fax: (+47) 55 58 36 60

March 2009

# CONTENTS

- Introduction	 3

- Velocity models and magnitude relations	 4

- Events recorded by the Norwegian stations	 7

- The seismicity of Norway and adjacent areas	 8

- Felt  earthquakes	20

- Use of NNSN data during 2008	22

- References	24

1. Introduction

This annual report on the seismicity of Norway and adjacent areas encompasses the time period January 1st - December 31st, 2008. The earthquake locations have been compiled from all available seismic stations operating on the Norwegian territory including the Arctic islands of Spitsbergen, Bjørnøya, Hopen and Jan Mayen. In addition, stations from neighbouring countries have been included for large or well-recorded events.

In Norway, the University of Bergen (UiB) operates the Norwegian National Seismic Network (NNSN) consisting of 33 seismic stations where 12 have broad band sensors. NORSAR operates 3 seismic arrays and one seismic station (Figure 1). Data from temporarily installed local networks are also included whenever data are made available. In addition to NNSN stations waveform data from other selected stations in Norway (operated by NORSAR), Finland, Denmark and Great Britain are transferred in real time and included in the NNSN database.

Phase data from arrays in Russia (Apatity), Finland (Finess), Sweden (Hagfors) and from stations operated by the British Geological Survey (BGS) are also included when available. All phase data are collected by UiB, and a monthly bulletin is prepared and distributed. All earthquakes with magnitude ≥ 2.0 on mainland Norway and M ≥ 3.0 around Jan Mayen and the Mid Atlantic ridge, are presented on the web pages and also e-mailed to European-Mediterranean Seismological Centre (EMSC). A brief overview of the events published in the monthly bulletins is given in this annual report. Macroseismic data for the largest felt earthquakes in Norway are collected, and macroseismic maps are presented.

Local, regional and teleseismic events that are detected by the UiB network are included. The merging of data between NORSAR and UiB is based on the following principles:

i) All local and regional events recorded by NORSAR that are also detected by the  NNSN network are included.

ii) All local and regional events with local magnitude larger than 2.0 detected by NORSAR and not recorded by the NNSN are included.

iii) All teleseismic events recorded by NORSAR and also detected by the NNSN are included.

iv) All teleseismic events with NORSAR magnitude Mb(5.0 are included.

Data from British Geological Survey (BGS) are included in the database in Bergen following similar criteria as mentioned above, however only events located in the prime area of interest, shown in Figure 1, are included.

Starting from 2008 the NNSN stations were upgraded to provide continuous data in real time. This has resulted in more effective monitoring of earthquake activity in the region.

# Data availability to the public

All the data stored in the NNSN database is also available to the public via Internet, e-mail or manual request. The main web-portal for earthquake information is www.skjelv.no. It is possible to search interactively for specific data, display the data locally (waveforms and hypocenters) and then download the data. Data are processed daily and updated lists of events recorded by Norwegian stations are available soon after recording. All events with an estimated local magnitude ( 2.0 are processed daily and plotted on individual maps shown on the web pages. These pages are automatically updated with regular intervals.

Figure 1: Norwegian seismic stations. UiB operates the 33 stations (blue triangles) in the National Seismic Network (NNSN) and NORSAR operates the 3 arrays and the station JMIC (red triangles). Circles identify broad band stations.

2.  Velocity models and magnitude relations

The velocity model used for locating all local and regional events, except for the local Jan Mayen events, is shown in Table 1 (Havskov and Bungum, 1987).  Event locations are performed using the HYPOCENTER program (Lienert and Havskov, 1995) and all processing is performed using the SEISAN data analysis software (Havskov and Ottemöller, 1999).

Table 1: Velocity model used for locating all local and

regional events, except for the local Jan Mayen

events, (from Havskov and Bungum, 1987).

| P-wave velocity (km/sec) | Depth to layer interface (km) |
| --- | --- |
| 6.2 | 0.0 |
| 6.6 | 12.0 |
| 7.1 | 23.0 |
| 8.05 | 31.0 |
| 8.25 | 50.0 |
| 8.5 | 80.0 |

Magnitudes are calculated from coda duration, amplitudes or seismic spectra. The coda magnitude relation was revised in 2006 (Havskov & Sørensen 2006). The coda wave magnitude scale (MC) is estimated through the relation

# MC = -4.28 + 3.16 ( log10(T) +0.0003 ( D

where T is the coda length in seconds and D is the epicentral distance in km. The new scale  made MC more consistent with ML since MC in general is reduced. For this report all data are updated using the new magnitude scale. When instrument corrected ground amplitudes A (nm) are available, local magnitude ML is calculated using the equation given by Alsaker et al. (1991):

# ML= 1.0 ( log(A) + 0.91 ( log(D)  + 0.00087 ( D - 1.67

where D is the hypocentral distance in km.

The moment magnitude Mw is calculated from the seismic moment M0 using the relation (Kanamori, 1977)

Mw = 0.67 ( log(M0) – 6.06

The unit of M0 is Nm. The seismic moment is calculated from standard spectral analysis assuming the Brune model (Brune, 1970) and using the following parameters:

Density: 3.0 g/cm2

Q = 440 ( f 0.7

P-velocity = 6.2 km/s

S velocity = 3.6 km/s

For more computational details, see Havskov and Ottemöller, (2003).

For the Jan Mayen area, a local velocity model (see Table 2) and coda magnitude scale is used (Andersen, 1987).

Table 2: Velocity model used for locating local

Jan Mayen events.

| P-wave velocity (km/sec) | Depth to layer interface (km) |
| --- | --- |
| 6.33 | 18 |
| 8.25 | 50 |

The coda magnitude scale for Jan Mayen which is used in this report is given by Havskov & Sørensen (2006). This scale was implemented in 2006 but all events used in this report are updated during April/May 2006.

# MC = 3.27 ( log(T) 2.74 + 0.001 ( D

where T is the coda duration and D is the epicentral distance in km.

The regional and teleseismic events recorded by the network are located using the global velocity model IASPEI91 (Kennett and Engdahl, 1991).

Body wave magnitude is calculated using the equation by Veith and Clawson (1972):

# Mb = log(A/T) + Q(D,h)

Here h is the hypocentre depth (km), A is the amplitude (microns), T is period in seconds and Q(D,h) is a correction for distance and depth.

Surface wave magnitude Ms is calculated using the equation (Karnik et al., 1962):

# Ms = log(A/T) + 1.66 ( log(D) + 3.3

where A is the amplitude (microns), T is period in seconds and D is the hypocentral distance in degrees.

#### Starting from January 2001, the European Macroseismic Scale, EMS98, (Grünthal, 1998) has been used. All macroseismic intensities mentioned in the text will refer to the EMS98 instead of the previously used Modified Mercalli Intensity scale. The two scales are very similar at the lower end of the scale for intensities less than VII.

3. Events recorded by the Norwegian stations

Based on the criteria mentioned in section 1 and above, a total of 4256 local and regional events, were detected by the Norwegian seismic stations during 2008. Of these local and regional events, 54% were large enough to be recorded by several stations and hence could be located reliably. The number of local/regional and teleseismic events, recorded per month in 2008 is shown in Figure 2. The average number of local and regional events recorded per month is 348.

The number of recorded local/regional events is higher than in 2007 which can be explained by the Storfjorden earthquake (21st February) and its many aftershocks. This effect is clearly seen in Figure 2 were the number of recorded local/regional events in February through May is clearly above average for the rest of the year.

A total of 909 teleseismic events were recorded between January and December 2008, of which 95% were located. In addition to the locations determined at UiB, also preliminary locations published by the USGS (United States Geological Survey) based on the worldwide network are included in the UiB database whenever the earthquake is recorded with Norwegian stations. The monthly average of teleseismic earthquakes recorded by NNSN is 75.

Figure 2: Monthly distribution of local/regional and distant events, recorded during 2008. The apparent increase in the number of local events during the period Jan – May is probably due to aftershocks of the Svalbard earthquake.

UiB, as an observatory in the global network of seismological observatories, reports as many secondary phases as possible from the teleseismic recordings.

All events (teleseismic, regional and local) recorded from January to December 2008 with M ( 3 are plotted on Figure 3.

Monthly station recording statistics from January to December 2008 are given in Table 3. This table shows, for each station, the number of local events that were recorded only at one station, local events recorded on more than one station and recorded teleseismic events. It must be observed that Table 3 shows both earthquakes and explosions, and that the large number of detections at KTK  mainly is due to explosions at the Kirruna/Malmberget mines in Sweden. The MOR station also records the Kirruna/Malmberget explosions but in addition the station also records a large number of local earthquakes. Since 2003 a new seismic station, STOK, was located close to the existing MOR station and in 2006 this is further extended by two more stations (FLOS and KONS). Therefore the number of recorded local earthquakes in this region is increased.

During 2008 two new stations (HOMB and TBLU), both Broad Band stations, started operation and were added to the Norwegian National Seismic Network. Their location can be seen in Figure 1.

Figure 3: Epicentre distribution of earthquakes with M(3.0, located by the Norwegian Seismic Network from January to December 2008. Teleseismic events recorded only by NORSAR have M(5.0.

4. The seismicity of Norway and adjacent areas

A total of 2082 of the recorded events are located inside the NNSN prime area, 54(N-82(N and 15(W-32(E. During analysis and using the explosion filter (Ottemöller, 1995), 33% of these events were identified as probable explosions. Figure 4 shows all local/regional events in the prime area, analyzed and located during 2008.

Figure 4: Epicentre distribution of events analyzed and located from January through December 2008. Earthquakes are plotted in red and probable and known explosions in yellow. For station locations, see Figure 1.

Table 3a: Monthly statistics of events recorded at each station for January-June 2008. Abbreviations are: LM = Number of local events recorded at more than one station, LS = Number of local events recorded at only one station and D = Number of teleseismic events. The stations TBLU and HOMB was installed in December 2008.

|  | JANUARY | FEBRUARY | MARCH | APRIL | MAY | JUNE |
| --- | --- | --- | --- | --- | --- | --- |
| STATION | LM | LS | D | LM | LS | D | LM | LS | D | LM | LS | D | LM | LS | D | LM | LS | D |
| ASK | 16 | 0 | 5 | 43 | 0 | 6 | 31 | 0 | 5 | 48 | 0 | 4 | 14 | 0 | 3 | 28 | 0 | 10 |
| BER | 7 | 0 | 14 | 4 | 0 | 16 | 9 | 0 | 20 | 9 | 0 | 14 | 10 | 0 | 30 | 8 | 0 | 35 |
| BJO1 | 3 | 0 | 10 | 106 | 0 | 15 | 45 | 1 | 11 | 28 | 0 | 10 | 20 | 0 | 18 | 20 | 0 | 11 |
| BLS5 | 20 | 0 | 6 | 31 | 0 | 14 | 26 | 0 | 9 | 50 | 0 | 11 | 40 | 0 | 4 | 30 | 1 | 13 |
| DOMB | 3 | 0 | 6 | 7 | 0 | 10 | 5 | 0 | 11 | 5 | 0 | 13 | 5 | 0 | 12 | 0 | 0 | 2 |
| EGD | 11 | 0 | 3 | 19 | 0 | 4 | 19 | 0 | 4 | 25 | 0 | 2 | 9 | 0 | 3 | 8 | 0 | 4 |
| FLOS | 53 | 0 | 3 | 44 | 0 | 2 | 56 | 0 | 2 | 91 | 0 | 4 | 35 | 0 | 5 | 35 | 0 | 7 |
| FOO | 0 | 0 | 0 | 21 | 1 | 11 | 26 | 0 | 14 | 33 | 0 | 19 | 16 | 0 | 32 | 18 | 0 | 27 |
| HOMB | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| HOPEN | 15 | 7 | 0 | 234 | 80 | 1 | 161 | 34 | 1 | 41 | 0 | 0 | 62 | 11 | 1 | 28 | 4 | 4 |
| HYA | 20 | 4 | 1 | 38 | 1 | 8 | 44 | 2 | 6 | 59 | 1 | 9 | 25 | 0 | 7 | 21 | 0 | 10 |
| JMI | 11 | 0 | 0 | 9 | 0 | 0 | 9 | 0 | 0 | 17 | 0 | 0 | 23 | 0 | 0 | 18 | 0 | 0 |
| JMIC | 2 | 0 | 8 | 6 | 0 | 9 | 2 | 0 | 11 | 3 | 0 | 11 | 7 | 0 | 22 | 1 | 0 | 19 |
| JNE | 13 | 0 | 0 | 13 | 0 | 0 | 9 | 0 | 0 | 18 | 0 | 0 | 18 | 0 | 0 | 19 | 0 | 0 |
| JNW | 13 | 0 | 0 | 15 | 0 | 3 | 11 | 0 | 0 | 19 | 0 | 0 | 24 | 0 | 1 | 20 | 1 | 2 |
| KBS | 17 | 3 | 17 | 192 | 5 | 17 | 138 | 1 | 24 | 50 | 3 | 28 | 64 | 11 | 30 | 40 | 3 | 41 |
| KMY | 20 | 0 | 1 | 34 | 0 | 1 | 27 | 0 | 0 | 51 | 0 | 2 | 40 | 0 | 3 | 32 | 0 | 7 |
| KONO | 1 | 0 | 15 | 7 | 0 | 21 | 1 | 0 | 22 | 6 | 0 | 28 | 9 | 0 | 33 | 6 | 1 | 38 |
| KONS | 62 | 0 | 3 | 49 | 0 | 5 | 64 | 0 | 1 | 97 | 0 | 4 | 43 | 1 | 3 | 37 | 0 | 10 |
| KTK1 | 33 | 3 | 11 | 26 | 1 | 14 | 24 | 5 | 17 | 38 | 2 | 12 | 18 | 0 | 20 | 4 | 0 | 21 |
| LOF | 39 | 1 | 6 | 33 | 2 | 10 | 26 | 2 | 11 | 118 | 2 | 12 | 45 | 2 | 20 | 19 | 1 | 12 |
| MOL | 3 | 0 | 4 | 9 | 0 | 14 | 7 | 0 | 19 | 7 | 0 | 14 | 11 | 0 | 17 | 4 | 0 | 15 |
| MOR8 | 70 | 2 | 10 | 60 | 7 | 19 | 57 | 3 | 20 | 120 | 6 | 17 | 43 | 2 | 29 | 33 | 2 | 19 |
| NSS | 22 | 2 | 15 | 20 | 3 | 19 | 11 | 1 | 22 | 27 | 2 | 20 | 15 | 3 | 25 | 12 | 2 | 22 |
| ODD1 | 21 | 0 | 7 | 40 | 0 | 12 | 31 | 0 | 11 | 47 | 0 | 10 | 10 | 0 | 0 | 19 | 0 | 7 |
| OSL | 0 | 0 | 5 | 1 | 0 | 9 | 0 | 0 | 16 | 2 | 0 | 18 | 4 | 0 | 23 | 0 | 0 | 15 |
| RUND | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 5 | 0 | 1 |
| SNART | 15 | 0 | 6 | 27 | 1 | 5 | 17 | 0 | 4 | 30 | 0 | 5 | 24 | 0 | 9 | 9 | 0 | 10 |
| STAV | 3 | 0 | 2 | 8 | 0 | 3 | 2 | 0 | 2 | 3 | 0 | 0 | 5 | 0 | 3 | 1 | 0 | 5 |
| STEI | 42 | 3 | 4 | 24 | 0 | 5 | 18 | 0 | 9 | 107 | 0 | 3 | 34 | 0 | 5 | 14 | 0 | 7 |
| STOK | 70 | 0 | 7 | 52 | 0 | 14 | 66 | 1 | 14 | 96 | 0 | 16 | 42 | 0 | 15 | 30 | 0 | 11 |
| SUE | 9 | 0 | 1 | 11 | 0 | 0 | 15 | 0 | 3 | 19 | 0 | 2 | 11 | 0 | 5 | 15 | 0 | 5 |
| TBLU | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| TRO | 25 | 0 | 17 | 21 | 0 | 22 | 16 | 0 | 28 | 32 | 0 | 29 | 11 | 0 | 44 | 3 | 0 | 41 |
| NORSAR | 19 | 0 | 47 | 19 | 0 | 64 | 14 | 0 | 70 | 23 | 0 | 77 | 35 | 0 | 108 | 18 | 0 | 82 |
| ARCES | 44 | 0 | 0 | 165 | 0 | 0 | 78 | 3 | 0 | 89 | 0 | 0 | 76 | 0 | 0 | 63 | 0 | 0 |
| SPITS | 16 | 0 | 0 | 139 | 0 | 0 | 50 | 0 | 0 | 47 | 0 | 0 | 34 | 0 | 0 | 26 | 0 | 0 |

Table 3b: Monthly statistics of events recorded at each station for July-December 2007. Abbreviations are: LM = Number of local events recorded at more than one station, LS = Number of local events recorded at only one station and D = Number of teleseismic events.

|  | JULY | AUGUST | SEPTEMBER | OCTOBER | NOVEMBER | DECEMBER |
| --- | --- | --- | --- | --- | --- | --- |
| STATION | LM | LS | D | LM | LS | D | LM | LS | D | LM | LS | D | LM | LS | D | LM | LS | D |
| ASK | 25 | 0 | 17 | 22 | 0 | 2 | 60 | 0 | 13 | 40 | 0 | 8 | 30 | 0 | 13 | 27 | 0 | 13 |
| BER | 9 | 0 | 25 | 5 | 0 | 38 | 1 | 0 | 19 | 2 | 0 | 12 | 8 | 0 | 14 | 9 | 0 | 17 |
| BJO1 | 11 | 0 | 15 | 8 | 0 | 23 | 8 | 0 | 10 | 7 | 1 | 13 | 7 | 0 | 8 | 4 | 0 | 9 |
| BLS5 | 28 | 0 | 17 | 30 | 0 | 3 | 62 | 0 | 14 | 39 | 0 | 4 | 32 | 0 | 3 | 20 | 0 | 5 |
| DOMB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 2 |
| EGD | 8 | 0 | 3 | 9 | 0 | 0 | 10 | 0 | 4 | 21 | 0 | 4 | 12 | 0 | 3 | 0 | 0 | 0 |
| FOO | 21 | 0 | 23 | 18 | 0 | 37 | 24 | 0 | 22 | 30 | 0 | 13 | 12 | 0 | 15 | 17 | 0 | 16 |
| FLOS | 55 | 0 | 15 | 34 | 0 | 3 | 48 | 0 | 11 | 29 | 0 | 10 | 42 | 0 | 7 | 25 | 0 | 10 |
| HOMB | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 2 | 0 | 3 |
| HOPEN | 1 | 0 | 1 | 1 | 0 | 0 | 8 | 0 | 0 | 6 | 0 | 3 | 0 | 0 | 1 | 4 | 0 | 6 |
| HYA | 23 | 0 | 17 | 18 | 0 | 3 | 40 | 0 | 3 | 47 | 0 | 2 | 26 | 0 | 3 | 20 | 0 | 3 |
| JMI | 13 | 0 | 1 | 12 | 0 | 0 | 14 | 0 | 0 | 14 | 0 | 0 | 10 | 0 | 0 | 11 | 0 | 0 |
| JMIC | 11 | 0 | 20 | 8 | 0 | 34 | 17 | 0 | 15 | 5 | 0 | 11 | 9 | 0 | 9 | 8 | 0 | 2 |
| JNE | 24 | 0 | 1 | 18 | 0 | 0 | 19 | 0 | 0 | 18 | 0 | 0 | 15 | 0 | 0 | 14 | 0 | 0 |
| JNW | 24 | 0 | 3 | 18 | 0 | 0 | 23 | 2 | 0 | 18 | 0 | 1 | 18 | 0 | 0 | 16 | 0 | 0 |
| KBS | 24 | 3 | 31 | 23 | 4 | 47 | 24 | 5 | 20 | 24 | 1 | 21 | 29 | 0 | 18 | 22 | 4 | 24 |
| KMY | 29 | 0 | 13 | 22 | 0 | 0 | 54 | 0 | 1 | 30 | 0 | 0 | 31 | 0 | 1 | 22 | 0 | 3 |
| KONO | 1 | 0 | 26 | 4 | 0 | 44 | 3 | 0 | 15 | 4 | 0 | 18 | 10 | 0 | 22 | 5 | 0 | 26 |
| KONS | 62 | 0 | 16 | 42 | 0 | 6 | 51 | 0 | 10 | 31 | 0 | 4 | 32 | 0 | 3 | 4 | 0 | 3 |
| KTK1 | 17 | 1 | 23 | 18 | 0 | 39 | 31 | 5 | 40 | 20 | 2 | 29 | 22 | 4 | 35 | 35 | 3 | 42 |
| LOF | 55 | 5 | 19 | 16 | 1 | 14 | 23 | 1 | 16 | 6 | 0 | 7 | 4 | 0 | 5 | 6 | 0 | 7 |
| MOL | 4 | 0 | 13 | 4 | 0 | 17 | 5 | 0 | 9 | 5 | 0 | 13 | 2 | 0 | 12 | 2 | 0 | 11 |
| MOR8 | 71 | 3 | 29 | 45 | 0 | 27 | 50 | 6 | 31 | 34 | 1 | 23 | 43 | 4 | 16 | 35 | 1 | 29 |
| NSS | 16 | 2 | 24 | 19 | 0 | 37 | 22 | 0 | 23 | 14 | 0 | 17 | 17 | 0 | 16 | 9 | 0 | 21 |
| ODD1 | 20 | 0 | 15 | 20 | 0 | 0 | 50 | 0 | 11 | 19 | 0 | 2 | 27 | 0 | 7 | 18 | 0 | 18 |
| OSL | 0 | 0 | 18 | 1 | 0 | 23 | 1 | 0 | 22 | 0 | 0 | 6 | 0 | 0 | 12 | 1 | 0 | 8 |
| RUND | 5 | 0 | 3 | 15 | 0 | 2 | 51 | 0 | 14 | 33 | 0 | 9 | 28 | 0 | 13 | 21 | 0 | 11 |
| SNART | 5 | 0 | 4 | 20 | 0 | 9 | 41 | 0 | 7 | 20 | 0 | 8 | 26 | 0 | 14 | 19 | 0 | 18 |
| STAV | 0 | 0 | 13 | 1 | 0 | 0 | 1 | 0 | 1 | 2 | 0 | 1 | 2 | 0 | 3 | 0 | 0 | 1 |
| STEI | 49 | 1 | 12 | 11 | 0 | 1 | 21 | 0 | 11 | 6 | 0 | 11 | 7 | 0 | 23 | 11 | 0 | 19 |
| STOK | 52 | 0 | 11 | 34 | 0 | 4 | 43 | 0 | 13 | 32 | 0 | 17 | 42 | 0 | 22 | 24 | 0 | 17 |
| SUE | 16 | 0 | 9 | 12 | 0 | 0 | 13 | 0 | 6 | 16 | 0 | 1 | 12 | 0 | 2 | 7 | 0 | 0 |
| TBLU | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 1 | 0 | 3 |
| TRO | 16 | 1 | 34 | 16 | 0 | 51 | 24 | 0 | 41 | 7 | 0 | 26 | 8 | 0 | 30 | 13 | 0 | 44 |
| NORSAR | 31 | 0 | 79 | 21 | 0 | 70 | 32 | 0 | 67 | 23 | 0 | 62 | 22 | 0 | 63 | 17 | 0 | 79 |
| ARCES | 74 | 0 | 0 | 63 | 1 | 0 | 49 | 0 | 0 | 76 | 0 | 0 | 69 | 1 | 0 | 47 | 0 | 0 |
| SPITS | 21 | 0 | 0 | 17 | 0 | 0 | 8 | 0 | 0 | 28 | 0 | 5 | 37 | 0 | 24 | 28 | 0 | 34 |

Figure 5 and Table 4 show the 141 local and regional events, located in the prime area, with one of the calculated magnitudes greater than or equal to 3.0. Among these, 40 are located in the vicinity of the Jan Mayen Island. Depth is checked for the earthquakes with magnitude equal or above 3.0.

It should be emphasized that it is often difficult to get a good magnitude estimate for the earthquakes located on the oceanic ridge in the Norwegian sea, since distances are too large to compute a proper ML, too short for Mb and coda magnitudes for these locations are often unreliable. Most of the recorded earthquakes in this area have magnitudes above 3.0 if they are recorded on Norwegian mainland stations.

Figure 5: Epicentre distribution of located events with one of the calculated magnitudes above or equal to 3.0. All earthquakes are listed in Table 2. For station location, see Figure 1.

Table 4: Local and regional events in prime area with any magnitude above or equal to 3.0 for the time period January through December 2008. Only magnitudes reported by the University of Bergen are included. In cases where all BER magnitudes are below 3 but the event still is included in the list, NORSAR has reported a magnitude of 3.0 or larger. Abbreviations are: HR = hour (UTC), MM = minutes, Sec = seconds, L = distance identification (L=local, R=regional, D=teleseismic), Latitud = latitude, Longitud = longitude, Depth = focal depth (km), F = fixed depth, AGA = agency (BER=Bergen), NST = number of stations, RMS = root mean square of the travel-time residuals,

Mc = coda magnitude, Ml = local magnitude and Mw = moment magnitude.

Year Date HRMM  Sec L Latitud Longitud Depth FF AGA NST  RMS   Mc   Ml   Mw   Mb   Ms

2008  1 3 0050 26.2 L  78.355    8.112  10.0 F  BER   3  0.7  2.1  3.3

2008  115 0029  1.7 L  71.390   -6.933  10.0 F  BER   3  0.3  2.3  3.1  2.9

2008  118 1902 10.8 L  71.003   -7.410  10.0 F  BER   5  0.4  2.7  3.5  3.2

2008  122 0510 56.5 L  74.266   14.461  10.0 F  BER  11  1.2  2.7  2.3

2008  2 4 0930 16.0 L  76.143   26.527  15.0 F  BER   4  0.9  2.8  3.3

2008  2 4 2158 47.7 L  76.277   23.668  15.0 F  BER   9  1.5  2.4  3.2  3.4

2008  212 1321 55.6 L  78.019    8.332  15.0 F  BER   2  0.5  2.5  2.9

2008  221 0246 19.3 L  77.243   20.261  15.0 F  BER  31  2.9       5.7  6.0  5.7  5.9

2008  221 0253 57.5 L  77.135   18.265  15.0 F  BER   5  0.6       3.4  3.4

2008  221 0306 32.7 L  77.062   19.530  15.0 F  BER   5  0.8       3.1  3.2

2008  221 0308 54.0 L  77.037   18.928  15.0 F  BER   4  0.7       3.0  3.0

2008  221 0324  8.0 L  77.100   19.977  15.0 F  BER   4  1.1       3.4

2008  221 0326  3.1 L  77.033   19.242  15.0 F  BER   5  0.9  2.1  3.0

2008  221 0332 51.3 L  77.113   18.932  15.0 F  BER   7  0.7  2.2  3.3  3.2

2008  221 0350 59.8 L  77.074   19.149  15.0 F  BER   5  1.1  2.1  3.0  2.8

2008  221 0356 26.4 L  77.586   19.988  15.0 F  BER   8  0.9  3.1  3.7  3.3

2008  221 0409 26.6 L  77.333   19.545  15.0 F  BER  10  1.1  2.8  3.6  3.6  4.2

2008  221 0413 13.6 L  76.777   19.374  15.0 F  BER   5  0.8  2.3  3.0  2.8

2008  221 0427 19.0 L  77.431   19.419  15.0 F  BER   5  0.7  2.0  3.2  3.2

2008  221 0515 12.9 L  77.039   19.131  15.0 F  BER  11  1.1  2.6  3.7  3.7  4.4

2008  221 0745 24.6 L  77.121   18.943  15.0 F  BER   5  1.0  2.4  3.0  3.0

2008  221 1155 49.9 L  77.086   18.755  15.0 F  BER   5  0.8  2.6  3.3  3.4

2008  221 1220 12.0 L  77.047   19.031  15.0 F  BER   6  0.7  2.1  3.3  3.2

2008  221 2135 29.3 L  77.085   18.826  15.0 F  BER   5  0.8       3.0  3.0

2008  221 2228 48.9 L  77.148   19.394  15.0 F  BER   5  1.1  2.3  3.1  3.0

2008  221 2252 40.9 L  77.035   19.403  15.0 F  BER  13  1.1  2.5  3.8  4.0  4.1

2008  222 0021 24.5 L  77.074   19.240  15.0 F  BER   9  0.7  2.5  4.2  4.1

2008  222 0219 30.0 L  77.194   18.785  15.0 F  BER   8  0.8  2.1  3.7  3.6

2008  222 0451 56.4 L  77.093   19.225  15.0 F  BER   6  0.7  2.3  3.6  3.6

2008  222 0630 30.4 L  77.068   19.512  15.0 F  BER   4  0.5  3.1  3.3  3.3

2008  222 0647 15.4 L  77.067   19.172  15.0 F  BER   5  0.8  2.2  3.2  3.0

2008  223 0531  6.5 L  77.151   19.219  15.0 F  BER   5  0.6  2.6  3.4

2008  223 0900 16.1 L  77.196   19.446  15.0 F  BER   7  1.1  3.6  3.9  4.1  4.2

2008  224 0042  5.1 L  77.163   19.467  15.0 F  BER   5  0.5  2.7  3.0  3.0

2008  224 0320 16.0 L  77.153   19.139  15.0 F  BER   5  0.9  2.0  3.4  3.5

2008  224 0323 56.1 L  77.564   18.080  15.0 F  BER   9  1.1       3.8  3.6

2008  224 0905 16.9 L  77.076   19.149  15.0 F  BER   8  0.9  2.4  3.5  3.3

2008  224 0928 33.4 L  71.324   -6.513  10.0 F  BER   3  0.1  2.6  3.0  2.8

2008  224 1048 45.0 L  77.032   19.199  15.0 F  BER   8  0.8  2.6  3.6  3.3

2008  224 1417  6.0 L  77.030   19.121  15.0 F  BER   5  0.7  2.0  3.2  3.2

2008  225 1502 16.0 L  77.147   19.369  15.0 F  BER   6  0.7  2.5  3.2  3.2

2008  226 1102 20.3 L  77.181   19.458  15.0 F  BER   6  0.9  2.5  3.3  3.3

2008  229 0816  6.6 L  77.315   20.413  15.0 F  BER  18  2.3       3.9  4.1  4.2

2008  3 2 0657 47.9 L  77.024   19.237  15.0 F  BER  10  1.1  2.6  3.4  3.7

2008  3 3 1859 35.5 L  79.210    4.866  10.0 F  BER   5  1.7  2.9  3.1  3.1

2008  3 4 1255 24.6 L  77.034   19.169  15.0 F  BER  10  1.0  2.4  3.8  3.5

2008  3 7 1007 52.1 L  77.089   19.430  15.0 F  BER   5  0.7  2.3  3.1  3.1

2008  3 8 1656 30.2 L  77.116   19.047  15.0 F  BER   6  0.4  2.8  3.1  3.4

2008  3 9 0948 44.7 L  79.171    4.283  10.0 F  BER   5  1.4  3.0  3.1

2008  3 9 1953 13.8 L  77.131   18.998  15.0 F  BER   5  0.4  2.3  3.1  3.4

2008  310 0317 20.7 L  77.275   18.852  15.0 F  BER   7  1.2  2.9  3.2  3.2

2008  311 0605 15.0 L  77.188   19.268  15.0 F  BER   7  1.0  2.6  3.2  3.4

2008  311 1407 26.2 L  77.083   19.026  15.0 F  BER   7  1.0  2.5  3.5  3.5

2008  312 1314 49.1 L  77.255   18.747  15.0 F  BER   6  1.0  2.3  2.9  3.0

2008  312 1833 43.4 L  77.207   18.600  15.0 F  BER   6  1.2  2.4  3.1  3.2

2008  323 1229 38.1 L  77.183   19.307  15.0 F  BER   5  1.0  2.2  3.1  3.2

2008  324 1828 20.0 L  80.895   17.527  15.0 F  BER  10  1.4  3.2  3.8

2008  331 0148  4.9 L  71.336  -11.146  10.0 F  BER  10  2.3  3.9  3.4  3.6  4.3

2008  331 1703 50.6 L  80.487   12.743  10.0 F  BER   3  0.6  3.1  3.3       4.3

2008  4 7 2351 19.6 L  76.622    9.168  15.0 F  BER   9  1.2  2.5  3.1  2.8

2008  4 8 0332 59.9 L  77.100   19.092  15.0 F  BER   7  1.1  2.5  3.7  3.6

2008  4 9 0122 48.1 L  70.898   -7.472  10.0 F  BER  12  1.3  3.3  3.1  3.6

2008  410 0620  3.6 L  77.118   19.636  15.0 F  BER  14  1.4  3.2  4.3  4.3

2008  411 0602 56.5 L  67.848   15.154   5.0 F  BER  12  1.2       3.2  3.4

2008  413 0346  9.3 L  77.103   18.737  15.0 F  BER   6  0.7  2.6  3.1  3.0

2008  418 2239 38.2 L  77.130   18.909  15.0 F  BER   4  1.5       3.2  3.0

2008  424 1714 56.6 L  69.685   18.466  15.0 F  BER  12  1.8  3.2  2.7  3.0

2008  425 0453 18.7 L  69.669   18.455  15.0 F  BER  12  1.5  3.4  2.9  3.1

2008  425 2228  8.2 L  77.063   18.984  15.0 F  BER   6  0.8  2.3  3.3  3.2

2008  5 1 0805 54.2 L  71.319   -8.786  10.0 F  BER   3  0.2  2.7  3.4

2008  5 5 0435 51.1 L  71.169   -7.702  15.0 F  BER   3  0.0  2.6  3.0  3.1

2008  5 6 0450 14.3 L  71.772  -11.904  10.0 F  BER   3  0.1  3.5  3.4

2008  5 6 0500 23.6 L  71.547  -12.579  10.0 F  BER   3  0.1  3.5  3.3  3.2

2008  5 6 1951 12.6 L  71.408  -12.462  10.0 F  BER  10  2.9       3.6  3.6

2008  5 6 2055 44.1 L  71.870  -12.005  10.0 F  BER   4  0.5  4.1  3.4  3.6

2008  5 6 2338  4.8 L  70.743  -12.973  10.0 F  BER   3  0.6  2.7  3.0

2008  5 6 2348 30.7 L  77.143   18.895  15.0 F  BER   6  0.8       3.2

2008  5 7 1643 51.2 L  71.407  -12.937  10.0 F  BER  10  1.3       3.7       4.8

2008  5 8 0820 44.1 L  71.912  -12.058  10.0 F  BER   3  0.3  2.9  3.0  2.8

2008  5 8 2239 14.7 L  77.050   19.092  15.0 F  BER   8  1.4  2.6  3.4  3.5

2008  516 0033 51.4 L  77.058   19.096  15.0 F  BER   4  0.4  2.2  3.0  3.1

2008  518 0213 41.1 L  77.154   19.304  15.0 F  BER   7  1.0       3.1  3.3

2008  521 1207 45.4 L  77.074   19.162  15.0 F  BER   5  1.1  2.6  3.3

2008  524 0818 16.4 L  71.411   -3.955  10.0 F  BER  21  1.3  2.3  2.9  3.0

2008  6 1 0624 37.7 L  79.792    4.472  10.0 F  BER  12  1.6  3.6  3.3

2008  6 3 2359  6.0 L  80.884   -0.850  10.0 F  BER   3  1.1  3.1  2.6

2008  6 4 2125 43.8 L  70.962   -6.834  10.0 F  BER  24  1.7  3.3  3.8

2008  6 4 2329 24.9 L  71.000   -6.740  10.0 F  BER   3  0.1  2.6  3.0  3.0

2008  611 1252 16.8 L  77.156   19.060  15.0 F  BER   5  1.0       3.1  3.1

2008  617 0911 51.4 L  69.811   29.899  15.0 F  BER  20  1.2  3.4  2.3  2.6

2008  7 6 1721 25.2 L  71.210   -6.238  10.0 F  BER   3  0.1  3.0  2.7  3.0

2008  710 1036 13.1 L  71.290   -6.644  10.0 F  BER   3  0.1  3.0  2.6  2.7

2008  716 1037 36.7 L  71.336   -9.222  10.0 F  BER   3  0.1  3.0  3.1  2.9

2008  730 1406 26.7 L  78.564   22.498  15.0 F  BER  12  1.5  3.3  4.0

2008  731 0128  1.0 L  74.286   13.264  10.0 F  BER   8  1.0  2.6  2.4

2008  8 2 1625 42.0 L  76.902   20.360  15.0 F  BER  12  1.1  2.2  3.8  3.7

2008  8 3 2014 34.8 L  70.765   -7.017  10.0 F  BER   9  1.2  3.4  3.9  3.7

2008  8 8 0421 19.8 L  79.916    4.139  10.0 F  BER   3  0.7  2.9  3.3

2008  8 9 0350 37.5 L  78.419    7.574  10.0 F  BER   2  0.1  1.7  1.8

2008  8 9 0725 19.0 L  71.035   -7.360  10.0 F  BER   3  0.1  2.9  3.2  3.0

2008  814 0718 21.8 L  79.609    4.766  10.0 F  BER  10  1.9  3.7  3.5

2008  818 0100  8.0 L  70.970   -7.238  10.0 F  BER   3  0.2  2.7  3.2  3.0

2008  824 1021 56.4 L  77.013   19.150  15.0 F  BER   5  0.7  2.8  3.4  3.4

2008  831 0316 47.4 L  71.258   -6.498  10.0 F  BER   3  0.3  2.9  3.3  3.1

2008  831 1153 42.6 L  70.609   -7.958  10.0 F  BER   3  0.5  2.6  3.1

2008  9 8 2117 18.1 L  72.253    1.466  10.0 F  BER  20  1.4  3.1  3.2

2008  9 9 0422 44.0 L  80.708   -2.187  10.0 F  BER   8  1.3  3.9  2.9

2008  920 0440 38.5 L  78.804   -0.097  10.0 F  BER   5  1.8  3.1

2008  925 1534 13.2 L  77.304   19.424  15.0 F  BER   5  0.9  2.7  3.5  3.6

2008  927 0220 13.4 L  65.951   30.034  13.0 F  BER  17  1.3  3.4  2.4

2008  928 1952 25.4 L  71.548   -4.724  10.0 F  BER  16  1.2  2.8  3.4       5.0

2008  928 2220 18.6 L  71.277   -4.321  10.0 F  BER  26  0.9       3.7  3.7  5.3  5.1

2008  928 2313  6.6 L  71.515   -4.685  10.0 F  BER  11  0.8       3.1

2008  929 0349 57.1 L  77.478   24.352  15.0 F  BER   4  0.8  2.5  3.5

2008  929 1103 54.6 L  71.491   -4.702  10.0 F  BER  13  1.1  3.0  3.3       4.8  4.0

2008  929 1916 45.1 L  71.581   -4.594  10.0 F  BER  22  1.0  2.6  3.7  3.7  4.7  4.2

2008  929 1920 21.0 L  71.513   -4.572  10.0 F  BER  15  0.8  2.9  3.2       5.0

2008 10 4 0212 37.5 L  80.095   20.887  15.0 F  BER   4  1.1  3.1  3.0

2008 1010 0428 39.7 L  56.832   -5.494  10.0 F  BER  40  1.2  3.2  3.1

2008 1014 0223 44.5 L  62.326    1.663  10.0 F  BER  39  1.3  3.0  3.2  3.0

2008 1014 1647 42.1 L  69.762   30.725  10.0 F  BER  12  1.6  3.4  3.1  3.0

2008 1016 1932  0.4 L  64.345   20.825  15.0 F  BER  10  1.5  3.5  2.7  3.0

2008 1018 1938 44.9 L  71.021   -6.671  10.0 F  BER   3  0.1  2.6  3.1  3.0

2008 1026 1044 39.9 L  79.577    4.748  10.0 F  BER   3  1.0  1.9  3.0

2008 11 4 0019 44.7 L  77.292   19.518  15.0 F  BER   4  0.9       3.0

2008 11 4 0213  3.1 L  73.367   14.155  10.0 F  BER   9  1.2  3.1  2.4  2.4

2008 11 7 2017 39.7 L  71.339  -12.157  10.0 F  BER  13  1.4  4.1  3.7       4.1

2008 11 7 2113 15.7 L  71.712  -11.588  10.0 F  BER   7  0.5  3.4  3.5  3.3

2008 11 7 2140 54.6 L  71.621  -12.112  10.0 F  BER  18  1.6  4.9  4.0

2008 11 8 2121 54.9 L  71.158   -6.575  10.0 F  BER   3  0.1  3.0  3.6  3.4

2008 1117 0551 41.5 L  80.325    6.692  10.0 F  BER   3  1.1  2.1  2.7

2008 1120 0118 42.9 L  62.521   18.065  15.0 F  BER  12  1.1  3.2  2.6  2.9

2008 1120 2344  2.0 L  77.058   19.536  15.0 F  BER   3  0.9  2.6  3.1

2008 1128 0329  6.1 L  77.056   19.883  15.0 F  BER   5  0.9  2.9  3.3

2008 1216 0520  3.0 L  55.643   13.636  10.0 F  BER  32  1.8  4.1  4.6  4.3

2008 1216 1032  0.4 L  71.179   -7.824  10.0 F  BER   3  0.1  2.1  3.1

2008 1217 0632 36.4 L  71.058   -7.723  10.0 F  BER  13  1.2  3.7  3.6

2008 1218 1253 20.2 L  71.692  -11.462  10.0 F  BER  11  0.7       3.7  3.5

2008 1220 0006 52.8 L  70.833   -7.192  10.0 F  BER  24  1.7  2.9  3.5

2008 1222 0749 40.7 L  76.807   15.441  15.0 F  BER   5  1.0  2.4  3.0

2008 1225 0414 25.5 L  71.586   -2.819  10.0 F  BER  19  1.2       3.0

The largest local or regional earthquake in 2008, recorded on Norwegian stations and within the prime area, occurred on February 21st at 02:46 (UTC) in Storfjorden southwest of Spitsbergen. The earthquake had a magnitude of MW=6.0 (BER) and was strongly felt in Longyearbyen. Among the largest earthquakes in the vicinity of the Norwegian mainland is the earthquake located in Varangerfjorden, occurring on 14th October at 16:47 with a magnitude of ML=3.4.

Figure 6: Seismograms for the earthquake on February 21st,  2008 at 02:46(UTC). This earthquake is located in Storfjorden, Svalbard. The seismograms are not filtered. The horizontal time scale is minutes, first marking at 02:46 (UTC). The station abbreviations are: KONO: Kongsberg, KBS: Kings bay, HOPEN: Hopen island, BJO: Bjørnøya, TRO: Tromsø, LOF: Lofoten, STEI: Steigen, MOR: Mo i Rana, JMI and JNW: Jan Mayen, KONS: Konsvik, STOK: Stokkvågen, NSS: Namsos, MOL: Molde, DOMB: Dombås, FOO: Florø, HYA: Hyanger, ASK: Askøy, BER: Bergen, EGD: Espegrend, ODD: Odda, BLS: Blåsjø, SNART: Snartemo and KMY: Karmøy.

The magnitude 6 earthquake in Storfjorden, Svalbard.

At 02:46 (UTC) on 21st February 2008 a magnitude 6.0 (MW) earthquake occurred in Storfjorden, Svalbard, approximately 155 km south east of Longyearbyen. The earthquake was strongly felt in Longyearbyen and is the largest intraplate earthquake recorded on Norwegian territory. The mainshock was followed by a large number of aftershocks, which is still ongoing.

Figure 7. Aftershocks of the Svalbard earthquake (MW=6.0) of February 21st, 2008. The mainshock is shown in blue quadrangle.

During 2008, 296 aftershocks were located to the Storfjorden area as seen in Figure 7. Due to the many aftershocks recorded on the Hopen and KBS stations, a high number of earthquakes are still not processed and located. The monthly distribution of the located earthquakes are presented in Figure 8.

Figure 8. Monthly distribution of aftershocks of the Svalbard earthquake.

On 30th September, 2008, an internet connection via satellite was obtained at Hopen and data recorded at the seismic station on the island could from then on be transferred in real time. It is now possible to integrate phase readings from the HOPEN station with the data collected from other stations and the location of the earthquakes in the Storfjorden area are more accurate. Prior to the satellite communication, seismic data were received on memory sticks often with months delay.

A study of the Storfjorden earthquake is presented in Pirli et.al. (in prep).

## Earthquake recordings in the Stokkvågen area

The network around Stokkvågen continued operation in 2008. The seismic activity is approximately the same as for 2007 but reduced compared to 2006. During 2008, 204 seismic events were located in the area shown on Figure 9. There is a renewed research interest in the area and independent funding might be needed for additional monitoring of seismicity and crustal motions.

Figure 9: Events located in the Stokkvågen area during 2008.

## Earthquake recordings in the Steigen area

A new seismic station (STEI) was installed in June 2007, in the Steigen area in Nordland. This seismic station is recording small local earthquakes and also the larger earthquakes occurring offshore Lofoten. During 2008 a total of 179 small local events was recorded by STEI and located to the area shown in Figure 10.

Figure 10. Events located in the Steigen area during 2008. LEINS is a portable station temporary used

in autumn 2007.

It is evident that the distribution of epicentres follows a NE-trend, which is known to coincide with a previously known zone of weakness (Atakan et. al. 1994). However, the activity now seems to be more concentrated in the NE when compared to the 1993 earthquake swarm.

Figure 11. Events located in the Steigen area, during 2007 and 2008.

The monthly number of located earthquakes within the area defined in Figure 10, are presented in Figure 11. The number increases in November 2007 and reaches a maximum in December 2007. During the first 7 months of 2008 the number of events decreases with two local highs in April and July. Several of these earthquakes were reported felt by the local population, 4 in 2007 and 6 during 2008. The data presented are not filtered for explosions and some might be manmade events.

## Jan Mayen

The Jan Mayen Island is located in an active tectonic area with two major structures, the Mid Atlantic ridge and the Jan Mayen fracture zone, interacting in the vicinity of the island. Due to both tectonic and magmatic activity in the area, the number of recorded earthquakes is higher than in other areas covered by Norwegian seismic stations. During 2008 a total of 197 earthquakes were located as seen on Figure 12 and of these, 40 were calculated to have a magnitude equal to or above 3.0.

The largest earthquake in the Jan Mayen region occurred August 3rd at 20:14 (UTC). This earthquake was located to 70.9N and 6.8W with magnitude 3.9.

Figure 12: Earthquakes located in the vicinity of the Jan Mayen Island during 2008.

## The number of recorded earthquakes in the Jan Mayen area has varied over the last years, see Figure 13. The number of relative strong earthquakes show smaller time variation than smaller earthquakes. The apparent increase in 2004 and 2005 is due to the M=6.0 earthquake in 2004 and its aftershocks (Sørensen et al., 2007).

Figure 13: Yearly distribution of earthquakes located in the Jan Mayen area.

5. Felt earthquakes

From 2006 it is possible to report felt earthquakes using the internet. On the site www.skjelv.no., questionnaires are available for the public. In total, 18 earthquakes were reported felt during 2008 (see Table 5 and Figure 14).

Table 5: Earthquakes reported felt in the BER database in 2008. Abbreviations are: Mc = coda magnitude, ML = local magnitude and Mw = moment magnitude, Q: questionnaires sent (Y/N), W: questionnaires received on web.

| Nr | Date | Time (UTC) | Max. Intensity (MMI) | Magnitude (BER) | Instrumental epicentre location | Q | W |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 27.01.08 | 13:21 | III | ML=2.1,ML=2.3 (BGS) | 56.98N / 05.60W | - | - |
| 2 | 30.01.08 | 07:34 | III | Mc=2.2, ML=1.7 | 67.88N / 15.09E | N | N |
| 3 | 30.01.08 | 07:39 | III | Mc=2.6, ML=2.7 | 67.88N / 15.01E | N | N |
| 4 | 12.02.08 | 06:35 | III | Mc=2.8, ML=2.5 | 67.84N / 15.23E | N | N |
| 5 | 21.02.08 | 02:42 | III | ML=2.1, ML=2.4 (BGS) | 55.14N / 07.47W | - | - |
| 6 | 21.02.08 | 02:46 | VI | ML=5.7, MW=6.0 | 77.24N / 20.26E | N | Y |
| 7 | 10.04.08 | 06:20 | III | Mc=3.2, ML=4.3, MW=4.3 | 77.11N / 19.45E | N | N |
| 8 | 11.04.08 | 06:02 | IV | ML=3.2, MW=3.4 | 67.83N / 15.15E | N | Y |
| 9 | 11.04.08 | 06:04 | III | ML=2.6 | 67.95N / 15.36E | N | N |
| 10 | 24.04.08 | 17:14 | III | Mc=3.2, ML=2.7, MW=3.0 | 69.69N / 18.45E | N | N |
| 11 | 25.04.08 | 04:53 | III | Mc=3.4, ML=2.9, MW=3.1 | 69.67N / 18.45E | N | N |
| 12 | 15.05.08 | 09:05 | V | Mc=2.4, ML=2.0 | 66.82N / 13.78E | N | Y |
| 13 | 25.05.08 | 01:10 | V | Mc=2.8, ML=2.6 | 60.07N / 10.73E | N | Y |
| 14 | 29.05.08 | 16:22 | V | ML=2.6 | 69.69N / 30.06E | N | Y |
| 15 | 07.07.08 | 22:42 | III | Mc=2.4, ML=2.1 | 67.83N / 15.19E | N | N |
| 16 | 14.10.08 | 16:47 | III | Mc=3.4, ML=3.1, MW=3.0 | 69.76N / 30.72E | N | Y |
| 17 | 22.10.08 | 17:02 | III | Mc=2.2, ML=2.5 | 60.69N / 04.53E | N | N |
| 18 | 03.11.08 | 09:53 | III | ML=2.4, ML=2.5 (BGS) | 56.37N / 05.50W | - | - |

Figure 14: Location of the 18 earthquakes reported felt during 2008.

# 6. Use of NNSN data during 2008

Data collected on Norwegian seismic stations are made available through the Internet and is provided on request to interested parties. Therefore it is difficult to get a comprehensive overview on the use and all publication based on Norwegian data.

## Publications and reports

Atakan, K. 2008. Sichuan earthquake of 12 May 2008 (M=7.9) in central China: Why it happended? GEO-Magasin, 11.Årgang, Nr.4 – 2008, 50-52.

Chatelain, J-L., Guillier, B., Cara, F., Duval, A-M., Atakan, K., Bard, P-Y., and the WP02 SESAME Team. 2008.  Evaluation of the influence of experimental conditions on H/V results from ambient noise recordings. Bulletin of Earthquake Engineering, Vol. 6, Issue 1, 33-74, doi: 10.1007/s10518-007-9040-7.

Gibbons, Steven, J., Frode Ringdal, Tormod Kværna, (2008), Detection and characterization of seismic phases using continuous spectral estimation on incoherent and partially coherent arrays. Geophysical Journal International, Vol. 172, No. 1. pp. 405-421.

Guillier, B., Atakan, K., Chatelain, J-L., Havskov, J., Ohrnberger, M., Cara, F., Duval, A-M., Zacharapoulos, S., Teves-Costa, P., and the SESAME Team. 2008. Influence of instruments on H/V spectral ratios of ambient vibrations. Bulletin of Earthquake Engineering, Vol. 6, Issue 1, 3-31, doi: 10.1007/s10518-007-9039-0.

Haghshenas, Bard, P-Y., Theodulidis, N. and the SESAME WP04 Team (K. Atakan, F. Cara, C. Cornou, G. Cultrera, G. Di Giulio, P. Dimitriu, D. Fäh, R. de Franco, A. Marcellini, M. Pagani, A. Rovelli, A. Savvaidis, A.Tento, S. Vidal and S. Zacharopoulos). 2008. Empirical evaluation of the microtremor H/V spectral ratio. Bulletin of Earthquake Engineering, Vol. 6, Issue 1, 75-108, doi: 10.1007/s10518-007-9058-x.

Pirli, M., & J. Schweitzer (2008), Overview of NORSAR system response.
Semiannual Technical Summary, 1 July – 31 December 2007, NORSAR Scientific Report 1–2008, 64-77, Kjeller, Norway, February 2008

Pirli, M. & J. Schweitzer (2008), Continued overview of NORSAR system response: the NORES and ARCES arrays. Semiannual Technical Summary, 1 January – 30 June 2008, NORSAR Scientific Report 2–2008, 68-93, Kjeller, Norway, August 2008

Ringdal, R., T. Kværna, S. Mykkeltveit, S. Gibbons & J. Schweitzer (2008), Basic research on seismic and infrasonic monitoring of the European Arctic. Semiannual Technical Summary, 1 July – 31 December 2007, NORSAR Scientific Report 1–2008, 28-40, Kjeller, Norway, February 2008

Ringdal, F., T. Kværna, S. Mykkeltveit, S. Gibbons & J. Schweitzer (2008), Basic research on seismic and infrasonic monitoring of the European Arctic. 30th Seismic Research Review: Ground-based nuclear explosion monitoring technologies. Portsmouth, Virginia, September 23 – 25, 2008, LA-UR-08-05261, Proceedings, CD Version file 7 – 06, Volume 2, 968-977

Ringdal, F., S. J. Gibbons, D. B. Harris (2008), Adaptive Waveform Correlation Detectors for Arrays: Algorithms for Autonomous Calibration. Proceedings of the 30th Monitoring Research Review, Ground-Based Nuclear Explosion Monitoring Technologies. Portsmouth, Virginia, September 23-25, 2008. LA-UR-08-05261 (2008), pp. 465-474.

Ringdal, F., D. B. Harris, T. Kvaerna, S. J. Gibbons, (2008), Expanding Coherent Array Processing to Larger Apertures Using Empirical Matched Field Processing. Proceedings of the 30th Monitoring Research Review, Ground-Based Nuclear Explosion Monitoring Technologies. Portsmouth, Virginia, September 23-25, 2008. LA-UR-08-05261 (2008), pp. 455-464.

Schweitzer, J. & The IPY Project Consortium Members (2008), The International Polar Year 2007-2008 Project “The Dynamic Continental Margin between the Mid-Atlantic-Ridge System (Mohn’s Ridge, Knipovich Ridge) and the Bear Island Region”.
Semiannual Technical Summary, 1 July – 31 December 2007, NORSAR Scientific Report 1–2008, 53-63, Kjeller, Norway, February 2008.

Selby, N.D. (2008), Application of a Generalized F Detector at a Seismometer Array. Bulletin of the Seismological Society of America, Vol. 98, No. 5., pp. 2469-2481.

Weidle, Ch., V. Maupin, J. Ritter, T. Kværna, J. Schweitzer, N. Balling, H. Thybo & J. I. Faleide (2008), Mantle investigations of Norwegian Uplift Structure (MAGNUS) - a temporary network in southern Norway. Geophysical Research Abstracts, 10, EGU2008-A-06580, 2008 (abstract), SRef-ID: 1607-7962/gra/EGU2008-A-06580

NNSN related Talks & Poster 2008

Atakan, K. 2008. Hvor slår det neste store jordskjelvet til? Popular scientific presentation (in Norwegian). VilVite Science Center, Bergen, Norway, 3 February 2008.

Atakan, K. 2008. Earthquake monitoring in the Arctic: Norwegian, Greenland and Barents Seas. MARUM International Workshop on “Hydroacoustic Monitoring of Glacier Activity in Greenland”, University of Bremen, Bremen, Germany, 21-22 April 2008.

Atakan, K. 2008. The need for standardized approach for estimating the local site effects based on ambient noise recordings. Symposium on Geophysics and Remote Sensing in Determination of Near Surface Structures (GARS2008), Izmir, Turkey, 30 April – 2 May 2008.

Atakan, K., Ottemöller, L., Raeesi, M., and Havskov, J. 2008. Two recent earthquakes: linking long-term deformation with present day seismicity and hazard. Nordic Seismology Seminar, Oslo, Norway, 4-6 June 2008.

Bjerrum, L.W., Raeesi, M., and Atakan, K. 2008. Simulated ground motion distribution during the Wenchuan (China) earthquake of 12 May 2008 (M=7.9) using a slip model based on waveform inversion. 14th World Conference in earthquake Engineering. Beijing, China, 12-17 October 2008.

Pirli, M., J. Schweitzer, B. Paulsen and T. Kværna (2008), Preliminary analysis of the Storfjorden, Svalbard, 21st February 2008 earthquake and its aftershock sequence. Abstract presented at the 39th Nordic Seismology Seminar, Oslo, Norway, June 2008.

Pirli, M., S.J. Gibbons, H. Bungum, J. Schweitzer, T. Kværna, K. Atakan, J. Havskov, L. Ottemöller, M. Raeesi, A. Guterch, W. Debski, P. Wiejacz, P. Sawicki and B. Paulsen (2008), The 21st February 2008 Svalbard earthquake: Relative location of the aftershock sequence and seismotectonic interpretation. Abstract presented at the 33rd International Geological Congress, Oslo, Norway, August 2008.

Pirli, M., M. Raeesi, S.J. Gibbons, L. Ottemöller, J. Schweitzer, K. Atakan, B. Paulsen, A. Guterch, J. Havskov, H. Bungum, M. Sawicki, T. Kværna, W. Debski and P. Wiejacz (2008), The 21st February 2008 Svalbard earthquake: analysis, location and seismotectonic interpretation of the aftershock sequence. Abstract presented at the XXXI General Assembly of the European Seismological Commission, Hersonissos, Crete, Greece, September 2008.

Raeesi, M., Havskov, J., and Atakan, K. 2008. The mid-Atlantic ridge, a look through global travel-time tomography. Nordic Seismology Seminar, Oslo, Norway, 4-6 June 2008.

Roth, M. and J. Fyen, (2008). Status of the NORSAR network. 39th Nordic Seismology Seminar, June 4-6, 2008, Oslo

Schweitzer, J., A. Guterch, F. Krüger, M. Schmidt-Aursch & Bear Island Project Group (2008), The IPY project  “The Dynamic Continental Margin between the Mid-Atlantic-Ridge System (Mohns Ridge, Knipovich Ridge) and the Bear Island Region”.
68. Jahrestagung der Deutschen Geophysikalischen Gesellschaft, Freiberg 3. – 6. März 2008

Schweitzer, J. & IPY Project Consortium (2008), The IPY Project “The Dynamic Continental Margin between the Mid-Atlantic-Ridge System (Mohns Ridge, Knipovich Ridge) and the Bear Island Region”. 39th Nordic Seismology Seminar, June 4-6, 2008, Oslo

Sørensen, M.B., Voss, P., Havskov. J., Gregersen, S., and Atakan, K. 2008. Seismotectonics of Skagerrak. Nordic Seismology Seminar, Oslo, Norway, 4-6 June 2008.

# 7. References

Alsaker A., Kvamme, L.B., Hansen, R.A., Dahle, A. and Bungum, H. (1991): The ML scale in Norway. Bull. Seism. Soc. Am., Vol. 81, No. 2, pp.379-398.

Andersen K. (1987): Local seismicity and volcanism in the Jan Mayen area.

McS., Department of geosciences, University of Bergen.

Atakan,K., Lindholm,C.D., and Havskov,J. 1994. Earthquake swarm in Steigen, northern Norway: An unusual example of intraplate seismicity. Terra Nova 6, 180-194.

Brune J.N. (1970): Tectonic stress and spectra of seismic shear waves. Journal of Geophysical Research, 75, 4997-5009.

Grünthal, G. (1998): "European Macroseismic Scale 1998". Cahiers du Centre Européen de Géodynamique et de Séismologie Volume 15, Luxembourg.

Havskov J., and Bungum, H. (1987): Source parameters for earthquakes in the northern North Sea. Norsk Geologisk Tidskrift,Vol.67, pp 51-58.

Havskov, J. and Ottemöller, L. (1999): SEISAN earthquake analysis software. Seism. Res. Letters, Vol. 70, pp. 532-534.

Havskov, J. and Ottemöller, L. (2001): SEISAN: The earthquake analysis software. Manual for SEISAN v. 8.0, Department of Earth Science, University of Bergen, Norway.

Havskov, J. and Sørensen, M.B. (2006): New coda magnitude scales for mainland Norway and the Jan mayen region. NNSN Technical report no. 19.

Kanamori, H. (1977): The energy release in great earthquakes. Journal of Geophysicsl Research 82; 20, pp. 2981-2987.

Karnik, V., Kondorskaya, N.V., Riznichenko, Y. V., Savarensky, Y. F., Solovev, S.L., Shebalin, N.V., Vanek, J. and Zatopek, A. (1962): Standardisation of the earthquake magnitude scales. Studia Geophys. et Geod., Vol. 6, pp. 41-48.

# Kennett, B.L.N. and Engdahl, E.R. (1991): Traveltimes for global earthquake location and phase identification. Geophys. J. Int., Vol. 105, pp. 429-465.

Kradolfer, U. (1996): AuroDRM – The First Five Years. Seismological Research Letters, vol. 67, no. 4, 30-33.

Lienert, B.R. and Havskov, J. (1995): HYPOCENTER 3.2 A computer program for locating earthquakes locally, regionally and globally. Seismological Research Letters, Vol. 66, 26-36.

Moreno, B, Ottemöller, L., Havskov, J. and Olesen, K.A. (2002): Seisweb: A Client-Server-Architecture-Based Interactive Processing Tool for Earthquake Analysis. Seism. Res. Letters. Vol.73, No.1.

# Ottemöller, L. (1995): Explosion filtering for Scandinavia. Technical Report No. 2, Institute of Solid Earth Physics, University of Bergen, Norway.

Sørensen, M.B., Ottemöller, L., Havskov, J., and Atakan, K., Hellevang, B., Pedersen, R.B. 2007. Tectonic processes in the Jan Mayen Fracture Zone based on earthquake occurrence and bathymetry. Bulletin of the Seismological Society of America, Vol.97 No.3, 772-779, doi: 10.1785/0120060025.

Veith K.F., and Clawson, G.E. (1972): Magnitude from short-period P-wave data. Bull. Seism. Soc. Am., Vol. 62, pp.435-452.

# Westre S. (1975): Richter's lokale magnitude og total signal varighet for lokale jordskjelv på Jan Mayen. Cand. real thesis., Seismological Observatory, University of Bergen, Norway.