Report for June, 2004

for

The University of Tibet Seismic Network (UTB)

Operated by

The Department of Science

Address: Environmental Physics institute. Lhasa. Tibet. PRC

Responsible: Tsoja Wangmo

Email: tsoja2@yahoo.com

The UTB network operates short period stations in and around Lhasa with the purpose of studying the local seismicity. The first station started operating on June 18, 2004. The network is considered experimental and stable operation cannot be expected before  more experience is gained. All data is freely available on request.

Stations:

Station name:		Code		   Latitude(N)	    Longitude(E)    Height (m)

Jamag			JAMG               29.6879°      	      91.6694°          4161

Nhimo			NIHM            	  29.4336°              90.1643°         3823

Station 	Operation  time for June	Problems

JAMG			22-30			     OK

NIHM			17-30                               OK

For the month of June a total of 83 events were recorded (Table 2). Of these, 22 were located with 2 stations and 36 with one station (see Figure 1). 2 events were  teleseismic. The largest local event had magnitude Ml=3.6. The one station locations must be considered very uncertain due to the uncertainty in azimuth determination.

The crustal model used for location is given in Table 1.

| Depth (km) | Vp (km/s) | Vs (km/s) |
| --- | --- | --- |
| 0-27 | 6.0 | 3.4 |
| 27-41 | 6.5 | 3.7 |
| 41-61 | 7.0 | 4.0 |
| >61 | 8.0 | 4.6 |

Table 1. Crustal model of the area around Lhasa

The magnitude scales used are:

Mc = 2.6log(coda) + 0.001dist –3.0

Ml = log (amp) – 1.11 log (dist) – 0.00189 dist – 2.09

Where Mc is coda magnitude, coda is coda length in seconds, dist is hypocentral distance in km, Ml is local magnitude and amp is maximum S-amplitude in nm.

Figure 1.  Seismicity of area around Lhasa for June 18-30, 2004. The network recorded 83 events for this time period and 58 could be located within the area shown (top). The bottom figure shows the best located events where 2 stations are used. The two stations used are shown with triangles

Year Date HRMM  Sec L Latitud Longitud Depth AGA NST  RMS   Mc   Ml   Mb

2004  618  814 42.0 L                        TBU   1

2004  619  719 57.0 L                        TBU   1

2004  620 1731 19.0 L                        TBU   1

2004  621 0005 38.0 L  29.497   90.255  15.0 TBU   1  3.0  1.4

2004  621 0015 55.8 L  29.497   90.256  15.0 TBU   1  3.0       1.3

2004  621 1727 31.9 L  29.417   90.195  15.0 TBU   1  2.8       0.8

2004  622 12 7 16.0 L                        TBU   1

2004  622 1347 42.9 L  30.151   91.699  15.0 TBU   1  0.2  1.7  0.6

2004  622 1443 20.1 L  29.433   90.159   0.0 TBU   2  2.8  1.5  1.0

2004  622 15 1 43.0 L                        TBU   1

2004  622 1533 57.5 L  29.496   90.257  15.0 TBU   1  3.0  1.0  1.6

2004  623  126  1.0 D  -6.960  124.970 537.1 PDE   1                 5.3

2004  623  144 54.0 L                        TBU   1

2004  623 2329 27.9 L  29.968   93.444  15.0 TBU   1  0.0  2.1

2004  624 0027 53.0 L  29.497   90.256  15.0 TBU   1  3.1  0.3

2004  624 0254  7.1 L  29.703   93.565  15.0 TBU   1  0.0  2.1

2004  624 0320 29.9 L  29.814   93.526  15.0 TBU   1  0.0  2.1

2004  624 0559 37.1 L  29.229   93.470  15.0 TBU   1  0.0  2.1  1.3

2004  624  642 37.0 L                        TBU   1

2004  624 0841 23.1 L  29.966   92.361  15.0 TBU   1  0.0  1.6  0.9

2004  624 0941 42.8 R  29.249   88.778   0.1 TBU   2  3.3       2.2

2004  624 1003 35.6 L  29.008   88.944   0.0 TBU   2  3.6       2.8

2004  624 10 3 49.0 L                        TBU   1

2004  624 1046 39.0 L                        TBU   1

2004  624 1625  8.3 L  29.072   88.839   0.0 TBU   2  3.6  1.9  1.5

2004  624 2011  1.2 L  29.585   89.830  15.0 TBU   2  0.7  2.2  1.6

2004  624 2051 51.0 L                        TBU   2

2004  625  235  8.0 D  -6.710  130.360  70.5 PDE   1            6.0

2004  625 0319 42.9 L  29.649   93.543  15.0 TBU   1  0.0  1.9  1.2

2004  625 1028  1.2 L  30.356   93.690  15.0 TBU   1  0.0  2.1  2.2

2004  625 1709 56.1 L  29.415   88.642  15.0 TBU   1  0.0  2.1  2.9

2004  625 1710  2.7 L  29.449   88.795   0.0 TBU   2  3.5  2.1

2004  625 1728 54.3 L  29.083   88.825   0.0 TBU   2  3.2  2.0

2004  625 1749 59.0 L                        TBU   1

2004  625 1832 52.4 L  29.016   88.736  15.0 TBU   1  0.0  2.0  2.8

2004  625 1832 57.3 L  29.215   88.790   0.0 TBU   2  3.0       2.3

2004  625 1846 35.3 L  30.117   95.203  15.0 TBU   1  0.0       1.7

2004  625 2347  5.4 L  30.208   94.893  15.0 TBU   1  0.0       1.3

2004  626 0259 25.1 L  29.184   88.641   0.1 TBU   2  2.8       3.3

2004  626  259 44.0 L                        TBU   1

2004  626 0312 54.8 L  29.040   89.360  15.0 TBU   1  0.0       2.4

2004  626 0312 55.9 L  31.751   91.356  15.0 TBU   1  0.0       2.4

2004  626 0326 31.1 L  32.348   93.306  15.0 TBU   1  0.0       1.7

2004  626 0331 28.3 L  29.104   88.819   0.0 TBU   2  3.2       2.2

2004  626  4 8 45.0 L                        TBU   1

2004  626 0444 43.8 L  29.843   95.108  15.0 TBU   1  0.0       1.8

2004  626 0600  5.8 L  29.433   88.669  15.0 TBU   1  0.0  2.4  2.9

2004  626 0600 10.0 L  29.330   88.751   0.0 TBU   2  3.4       2.7

2004  626 0641 14.2 L  30.893   94.802  15.0 TBU   1  0.0       1.9

2004  626 1624  9.0 L                        TBU   1

2004  626 1838 35.2 L  29.203   88.668  15.0 TBU   1  0.0       2.9

2004  626 1838 40.1 L  29.347   88.742   0.0 TBU   2  3.4       2.5

2004  626 1853 58.1 L  29.111   88.817   0.0 TBU   2  2.8  2.0  2.0

2004  626 2049 29.2 L  29.668   89.665   0.1 TBU   2  2.3       1.2

2004  627 1029 55.3 L  31.319   91.510  15.0 TBU   1  0.0       1.3

2004  627 1155  5.0 L                        TBU   1

2004  627 1227  0.7 L  29.742   92.024  15.0 TBU   1  0.0       0.5

2004  627 1325 12.0 L                        TBU   1

2004  627 1409 19.2 L  29.351   90.102   0.0 TBU   2  3.2  1.6  1.2

2004  627 1418 28.4 L  31.256   94.753  15.0 TBU   1  0.0       1.8

2004  627 1524 29.0 L                        TBU   1

2004  627 1943 35.3 L  29.784   92.271  15.0 TBU   1  0.0  1.9  0.9

2004  627 2047 59.2 L  30.140   91.755  15.0 TBU   1  0.2       0.2

2004  628 0211 48.8 L  30.596   94.714  15.0 TBU   1  0.0       2.1

2004  628 0818 29.3 L  34.628   90.541  15.0 TBU   1  0.0       4.2

2004  628 2109 36.0 L  29.475   90.025  15.0 TBU   2  1.8       1.4

2004  628 2154 30.0 L  30.175   92.810  15.0 TBU   1  0.0       0.9

2004  628 2231 52.4 L  29.624   90.249   0.0 TBU   2  2.1  1.4

2004  628 2320 55.1 L  29.628   88.918   0.0 TBU   2  3.4  1.9

2004  628 2337 18.1 L  30.366   90.671  15.0 TBU   1  0.0       0.9

2004  628 2348 22.0 L                        TBU   1

2004  629 0014 38.7 L  29.789   89.666   0.1 TBU   2  3.0  2.0  1.8

2004  629  812 31.0 L                        TBU   1

2004  629 2230 57.6 L  30.785   91.794  15.0 TBU   1  0.0       1.8

2004  630 0346 18.3 L  30.015   91.931  15.0 TBU   1  0.0       1.0

2004  630 1324 21.0 L  29.932   94.853  15.0 TBU   1  0.0  2.0

2004  630 1533  3.7 L  29.414   88.664  15.0 TBU   1  0.0       3.5

2004  630 1533  8.9 L  29.293   88.773   0.0 TBU   2  3.3  2.0

2004  630 1711 45.0 L                        TBU   1

2004  630 2051 23.5 L  29.671   89.742   0.0 TBU   2  1.9  1.4

2004  630 2210 24.0 L                        TBU   1

2004  630 2248 47.0 L                        TBU   1

2004  630 2344 39.0 L                        TBU   1

Table 2 . All events of June 2004 recorded by TBU. Abbreviations are: HRMM: Hour and minute, Sec, Seconds, L: L or D for local or distant event, respectively, AGA: Agency, NST: Number of station used, RMS: Root mean square of location residuals, Mc, Ml and Mb: Coda wave magnitude, local magnitude and body wave magnitude, respectively.