Report for July, 2004

for

The University of Tibet Seismic Network (UTB)

Operated by

The Department of Science

Address: Environmental Physics institute. Lhasa. Tibet. PRC

Responsible: Tsoja Wangmo

Email: tsoja2@yahoo.com

The UTB network operates short period stations in and around Lhasa with the purpose of studying the local seismicity. The first station started operating on June 18, 2004. The network is considered experimental and stable operation cannot be expected before more experience is gained. All data is freely available on request.

Stations:

Station name:		Code		   Latitude(N)	    Longitude(E)    Height(m)

Jamag			JAMG          29.6879°            91.6694°   4161

Nhimo			NIHM          29.4336°            	90.1643°   3823

Station           Operation time for June	   Problems

JAMG 			  01-13 			       there is no data July 14-31due to a

memory problem

NIHM			  none                   there is no date, due to a memory

problem, no visits was made during July

For the month of July a total of 21 events were recorded (Table 2). Of these, 21 were located with one station (see Figure 1). The largest local event had magnitude Mw=3.6. The one station locations must be considered very uncertain due to the uncertainty in azimuth determination.

The crustal model used for location is given in Table 1.

| Depth (km) | Vp (km/s) | Vs (km/s) |
| --- | --- | --- |
| 0-27 | 6.0 | 3.4 |
| 27-41 | 6.5 | 3.7 |
| 41-61 | 7.0 | 4.0 |
| >61 | 8.0 | 4.6 |

Table 1. Crustal model of the area around Lhasa

The magnitude scales used are:

Mc = 2.6log(coda) + 0.001dist –3.0

Ml = log (amp) – 1.11 log (dist) – 0.00189 dist – 2.09

where Mc is coda magnitude, coda is coda length in seconds, dist is hypocentral distance in km, Ml is local magntude and amp is maximum S-amplitude in nm.

Figure 1.  Seismicity of area around Lhasa for July 1-13, 2004. The network recorded 21 events for this time period and all could be located within the area shown.

Year Date HRMM  Sec L Latitud Longitud Depth AGA NST  RMS Mc   Ml

2004  7 1 0040 22.8 L  29.753   95.039  15.0 TBU   1  0.0        1.8

2004  7 1 0357 45.6 L  30.293   90.644  15.0 TBU   1  0.0  1.7  1.2

2004  7 1 0914 10.9 L  29.794   92.155  15.0 TBU   1  0.0  1.4  0.8

2004  7 1 1704 59.9 L  29.990   93.494  15.0 TBU   1  0.0        1.1

2004  7 1 1901 36.5 L  28.708   88.907  15.0 TBU   1  0.0  2.2  2.8

2004  7 1 1901 38.1 L  28.725   89.026  15.0 TBU   1  0.0  2.0  2.5

2004  7 1 1901 38.9 L  27.894   94.454  15.0 TBU   1  0.0        2.7

2004  7 1 1914 41.4 L  29.815   88.736   0.0 TBU   2  4.2        2.7

2004  7 1 1950  1.7  L  29.276   95.133  15.0 TBU   1  0.0        1.5

2004  7 2 0645 24.7 L  30.892   88.479  15.0 TBU   1  0.0        1.6

2004  7 2 1517  1.6  L  29.679   91.934  15.0 TBU   1  0.0  1.0  0.8

2004  7 2 2048 18.6 L  31.478   90.681  15.0 TBU   1  0.0        1.7

2004  7 2 2115 14.7 L  30.682   92.177  15.0 TBU   1  0.0  1.6  1.1

2004  7 3 0211 24.4 L  29.931   95.284  15.0 TBU   1  0.0        2.4

2004  7 3 0406 57.0 L  33.468   92.071  15.0 TBU   1  0.0        2.9

2004  7 3 0710 21.1 L  31.507   93.637  15.0 TBU   1  0.0        2.4

2004  7 3 0920  9.8  L  32.809   91.947  15.0 TBU   1  0.0        1.9

2004  7 3 1411 52.1 L  30.161   91.447  15.0 TBU   1  0.0  2.1  2.1

2004  7 3 1437 12.2 L  29.944   91.065  15.0 TBU   1  0.0  2.1  1.7

2004  712 1439 38.0 L  29.534   90.093  15.0 TBU   1  1.9  1.2  1.8

2004  713 0408 24.8 L  29.698   90.218  15.0 TBU   1  0.1  1.7  1.7

Table 2 . All events of July 2004 recorded by TBU. Abbreviations are: HRMM: Hour and minute, Sec, Seconds, L: L or D for local or distant event, respectively, AGA: Agency, NST: Number of station used, RMS: Root mean square of location residuals, Mc, Ml and Mb: Coda wave magnitude, local magnitude and body wave magnitude, respectively.