Report for August, 2004

for

The University of Tibet Seismic Network (UTB)

Operated by

The Department of Science

Address: Environmental Physics institute. Lhasa. Tibet. PRC

Responsible: Tsoja Wangmo

Email: tsoja2@yahoo.com

The UTB network operates short period stations in and around Lhasa with the purpose of studying the local seismicity. The first station started operating on June 18, 2004. The network is considered experimental and stable operation cannot be expected before more experience is gained. All data is freely available on request.

Stations:

Station name:		Code		   Latitude(N)	    Longitude(E)    Height(m)

Jamag			JAMG          29.6879°            91.6694°   		4161

Nhimo			NIHM          29.4336°            	90.1643°   		3823

Palub	PALB          29.6534°            	91.1130°   		3679

Operation of stations in August 2004

Jamag

Station  was visited on 25th of Augus

Down Auguet 1 to June 14. The reason was that, due to late visit, the memory was full

Nhimo

Station was visited on First of December

Down August 1-24:  due to memory full

Down August 29-31: memory full

Note: Due to a bad road to Nhimo, visits have been difficult

Palub

The station started operation August 31

For the month of August a total of 45 events were recorded (Table 2). Of these, 38 were located with one station (see Figure 1). The largest local event had magnitude ML=5.2. The one station locations must be considered very uncertain due to the uncertainty in azimuth determination.

The crustal model used for location is given in Table 1.

| Depth (km) | Vp (km/s) | Vs (km/s) |
| --- | --- | --- |
| 0-27 | 6.0 | 3.4 |
| 27-41 | 6.5 | 3.7 |
| 41-61 | 7.0 | 4.0 |
| >61 | 8.0 | 4.6 |

Table 1. Crustal model of the area around Lhasa

The magnitude scales used are:

Mc = 2.6log(coda) + 0.001dist –3.0

Ml = log (amp) – 1.11 log (dist) – 0.00189 dist – 2.09

where Mc is coda magnitude, coda is coda length in seconds, dist is hypocentral distance in km, Ml is local magntude and amp is maximum S-amplitude in nm.

Figure 1.  Seismicity of area around Lhasa for August 15-31, 2004. The network recorded 42 events for this time period and 38 could be located within the area shown.

Year Date HRMM  Sec L Latitud Longitud Depth AGA NST  RMS   Mc   Ml

2004  815 0621 23.6 L  29.786   92.105  15.0 TBU   1  0.0  1.6  1.0

2004  816 0903 50.3 L  29.008   92.182  15.0 TBU   1  0.0  1.5  1.4

2004  817 0538 39.4 L  31.115   90.634  15.0 TBU   1  0.0  1.8  1.4

2004  817 1115 36.7 L  31.023   90.641  15.0 TBU   1  0.0  1.7  1.5

2004  817 1758 39.5 L  29.792   92.114  15.0 TBU   1  0.0  1.1  0.8

2004  817 2228 46.6 L  30.738   91.293  15.0 TBU   1  0.0  1.4  1.2

2004  818 0514 19.8 L  30.663   91.064  15.0 TBU   1  0.0  1.7  1.6

2004  818 0618 25.7 L  30.449   92.563  15.0 TBU   1  0.0  2.2  3.6

2004  818 0646 40.8 L  30.741   91.139  15.0 TBU   1  0.0  1.8  1.8

2004  818 0903 58.5 L  30.170   90.626  15.0 TBU   1  0.0  1.7  1.6

2004  820 0707 59.0 L  30.092   91.754  15.0 TBU   1  0.0  1.5  1.1

2004  820 1031 49.0 L                        TBU   0

2004  820 1046 14.9 L  29.568   95.053  15.0 TBU   1  0.0  2.2  2.2

2004  821 0206 36.2 L  30.162   93.336  15.0 TBU   1  0.0  1.9  2.0

2004  821 0907  9.3 L  29.476   95.252  15.0 TBU   1  0.0         3.5

2004  821 1532  6.8 L  29.462   92.335  15.0 TBU   1  0.0  1.7   1.7

2004  821 1906 24.8 L  32.467   90.207  15.0 TBU   1  0.0  2.2  2.0

2004  822 0008 40.1 L  29.333   92.227  15.0 TBU   1  0.0  1.3  1.0

2004  822 0224 56.5 L  29.907   91.233  15.0 TBU   1  0.0  0.9  1.0

2004  822 1358  7.6 L  31.462   93.805  15.0 TBU   1  0.0  1.9   1.7

2004  822 1629  7.7 L  29.241   91.609  15.0 TBU   1  0.0  1.2   1.0

2004  822 1634 45.2 L  30.391   90.698  15.0 TBU   1  0.0  1.6  1.6

2004  823 2304 31.4 L  29.775   92.000  15.0 TBU   1  0.0  1.2  1.0

2004  824  017 54.0 L                        TBU   1

2004  824 0505 25.5 L  29.792   92.099  15.0 TBU   1  0.0  1.2  0.8

2004  824 1005 34.0 L  32.631   91.164  10.0 TBU   2  2.3        5.2

2004  824 2123 48.3 L  30.642   94.856  15.0 TBU   1  0.0  2.2  1.9

2004  825 0128 58.5 L  32.995   91.532  15.0 TBU   1  0.0  2.3  2.6

2004  825 1257 14.5 L  31.500   94.532  15.0 TBU   1  0.0  2.4  3.1

2004  825 1337 55.9 L  28.743   92.288  15.0 TBU   1  0.0  1.9  1.9

2004  826 0834 16.7 L  29.950   91.230  15.0 TBU   1  0.0  1.2  1.2

2004  826 1716 23.0 L                        TBU   0

2004  827 0546 27.8 L  30.312   94.933  15.0 TBU   1  0.0  2.1  1.8

2004  827 1423 28.7 L  30.191   93.179  15.0 TBU   1  0.0  2.1  1.9

2004  827 1502 41.3 L  29.731   92.261  15.0 TBU   1  0.0  1.1  0.9

2004  827 1550 22.0 L                        TBU   0

2004  828 2353 21.5 L  30.519   91.141  15.0 TBU   1  0.0  1.6  1.3

2004  830 0349 53.9 L  29.244   90.672  15.0 TBU   1  0.0  1.9  2.3

2004  830 1437 58.6 L  30.778   93.324  15.0 TBU   1  0.0  2.1  2.6

2004  830 1437 57.8 L  28.070   90.708  15.0 TBU   1  0.0  2.3  2.7

2004  831 0102 39.5 L  30.206   91.573  15.0 TBU   1  0.0  1.4  1.3

2004  831 0927 29.1 L  29.978   94.882  15.0 TBU   1  0.0  2.2  2.1

Table 2 . All events of August 2004 recorded by TBU. Abbreviations are: HRMM: Hour and minute, Sec, Seconds, L: L or D for local or distant event, respectively, AGA: Agency, NST: Number of station used, RMS: Root mean square of location residuals, Mc, Ml and Mb: Coda wave magnitude, local magnitude and body wave magnitude, respectively.