Report for August, 2005

for

The University of Tibet Seismic Network (UTB)

Operated by

The Department of Science

Address: Environmental Physics institute. Lhasa. Tibet. PRC

Responsible: Tsoja Wangmo

Email: tsoja2@yahoo.com

The UTB network opera TBU short period stations in and around Lhasa with the purpose of studying the local seismicity. The first station started operating on June 18, 2004. All data is freely available on request.

Stations:

| Station name | Code | Latitude(N) | Longitude(E) | Height(m) |
| --- | --- | --- | --- | --- |
| Jamag | JAMG | 29.6879 | 91.6694° | 4161 |
| Nhimo | NIHM | 29.4336° | 90.1643° | 3823 |
| Chuding | CHUD | 29.6978° | 91.1438° | 3794 |

Operation of stations in August 2005

Jamag

Down August 1 to June 21. The reason was that, signal cable had been cut.

Nhimo

Station running stable.

Chuding

Down Auguet 1 to June 17. The PC was infected by virus and we had to reinstall the windows system.

For the month of August a total of 62 events were recorded (Table 2). Of these, 58 were located with one station (see Figure 1). 4 were located with two stations.

The crustal model used for location is given in Table 1.

| Depth (km) | Vp (km/s) | Vs (km/s) |
| --- | --- | --- |
| 0-27 | 6.0 | 3.4 |
| 27-41 | 6.5 | 3.7 |
| 41-61 | 7.0 | 4.0 |
| >61 | 8.0 | 4.6 |

Table 1. Crustal model of the area around Lhasa

The magnitude scales used are:

Mc = 2.6log(coda) + 0.001dist –3.0

Ml = log (amp) – 1.11 log (dist) – 0.00189 dist – 2.09

where Mc is coda magnitude, coda is coda length in seconds, dist is hypocentral distance in km, Ml is local magntude and amp is maximum S-amplitude in nm.

Figure 1.  Seismicity of area around Lhasa for August 1-31, 2005. The network recorded 62 events for this time period and 59 could be located within the area shown.

Year Date HRMM  Sec Latitud Longitud Depth AGA NST  RMS   Mc   Ml  Mb

2005  8 1 0038 29.2  28.960   90.733  15.0 TBU   1  0.0  0.8  2.3

2005  8 4 0750 25.0  30.248   90.251  15.0 TBU   1  0.0  1.2  2.7

2005  816 1655  2.0                            TBU   1

2005  819 1259 25.1  29.756   91.241  15.0 TBU   1  1.9 -0.2  0.4

2005  819 2039 26.7  29.757   91.240  15.0 TBU   1  0.3  0.3  0.7

2005  819 2335 33.9  29.012   90.810  15.0 TBU   1  0.0  0.6  1.7

2005  820 0438  1.2  29.658   91.199  15.0 TBU   1  0.7  0.4  0.7

2005  820 1250 49.0  31.223   88.168  54.0 TBU   2  2.4  2.3  3.5  5.1

2005  820 1407 10.1  31.144   88.206  10.0 TBU   2  1.4  2.2  2.9  4.4

2005  820 1839 57.1  29.043   91.910  15.0 TBU   1  0.0  1.6  2.5

2005  820 2318 37.7  29.766   87.006  17.9 TBU   2  3.0  2.2  2.9

2005  820 2328 22.1  29.756   92.061  15.0 TBU   1  0.3  0.8  1.6

2005  824 0000 47.5  30.050   91.054  15.0 TBU   1  0.0  0.6  1.0

2005  824 0333 59.3  30.074   91.441  15.0 TBU   1  0.0  1.0  1.1

2005  824  357 56.0                            TBU   1

2005  824 0740 14.1  29.755   91.242  15.0 TBU   1  2.2  0.0  0.7

2005  824 1114 41.7  32.350   92.789  15.0 TBU   1  0.0  1.9  3.7

2005  824 1319  7.7  30.212   91.939  15.0 TBU   1  0.0  0.9  0.9

2005  825 0251 18.3  29.575   92.183  15.0 TBU   1  0.0  0.7  0.8

2005  826 0001 35.2  30.162   92.196  15.0 TBU   1  0.0  0.9  1.5

2005  826 0203  6.9  29.757   91.755  15.0 TBU   1  0.1  0.0  1.6

2005  826 0353 14.0  29.764   91.233  15.0 TBU   1  0.0  0.3  0.9

2005  826 0439 29.5  29.665   92.410  15.0 TBU   1  0.0  1.0  1.6

2005  826 0545 26.6  30.207   91.519  15.0 TBU   1  0.0  1.4  1.9

2005  826 1017 36.8  27.778   90.989  15.0 TBU   1  0.0  1.1  2.0

2005  826 1117 50.8  29.939   93.106  15.0 TBU   1  0.0  1.7  1.8

2005  826 1310 10.8  33.572   92.923  15.0 TBU   1  0.0  2.2  2.4

2005  826 1836 59.4  28.965   93.014  15.0 TBU   2  7.3  1.3  3.0

2005  826 2118  1.3  29.770   91.050  15.0 TBU   1  0.0  0.9  1.6

2005  826 2147 54.1  29.742   91.100  15.0 TBU   1  1.9  0.3  0.3

2005  826 2318  2.4  29.428   91.207  15.0 TBU   1  0.1  0.9  2.5

2005  826 2321 35.6  29.756   91.757  15.0 TBU   1  0.6 1.0  1.1

2005  827 0010 35.6  32.472   91.697  15.0 TBU   1  0.0  1.8  2.0

2005  827 0014 19.9  29.766   91.746  15.0 TBU   1  0.4  0.6  1.5

2005  827 0016 26.1  30.580   90.897  15.0 TBU   1  0.0  1.4  1.2

2005  827 0212 39.9  29.775   91.222  15.0 TBU   2 10.4  1.0  0.9

2005  827 0649 25.7  32.156   91.134  15.0 TBU   1  0.0  1.6  2.2

2005  827 1117 51.0  29.318   89.369  15.0 TBU   1  0.0  1.1  1.6

2005  827 1141 44.4  32.083   92.519  15.0 TBU   1  0.0  1.7  2.2

2005  827 1156 18.3  30.698   90.958  15.0 TBU   1  0.0  0.8  1.7

2005  827 1336 41.9  29.716   91.126  15.0 TBU   1  1.8  0.6  1.1

2005  827 1855 29.1  29.690   91.666  15.0 TBU   1  0.3 -0.2  0.5

2005  827 1927 15.1  29.565   92.997  15.0 TBU   1  0.0  1.0  1.7

2005  828 0010 32.1  29.870   91.369  15.0 TBU   1  0.0  0.5  1.0

2005  828 0714 27.0  29.509   92.893  15.0 TBU   1  0.0  1.1  1.8

2005  828 0720 51.7  29.764   91.233  15.0 TBU   1  1.2  0.6  1.1

2005  829 1239 59.6  29.776   91.220  15.0 TBU   1  0.5  0.3  0.7

2005  829 1335 54.1  30.435   91.378  15.0 TBU   1  0.0  1.1  1.5

2005  829 1648 23.8  29.757   91.240  15.0 TBU   1  0.0  0.5  0.7

2005  829 1819 52.7  32.511   90.386  15.0 TBU   1  0.0  2.1  2.9

2005  830 0046 25.6  28.950   92.417  15.0 TBU   1  0.0  1.3  3.0

2005  830 0549 35.2  30.519   91.382  15.0 TBU   1  0.0  1.0  2.6

2005  830 0628 33.0  28.701   90.837  15.0 TBU   1  0.0  1.1  1.4

2005  830 0637 26.9  29.743   91.338  15.0 TBU   1  0.0  2.0  2.5

2005  830 0713  1.4  30.792   91.735  15.0 TBU   1  0.0  0.9  1.9

2005  830 0757 29.5  32.071   91.757  15.0 TBU   1  0.0  1.7  2.0

2005  830 0840 41.4  29.684   91.124  15.0 TBU   1  0.5  0.3  0.8

2005  830 1101 57.0  30.590   91.092  15.0 TBU   1  0.0  1.1  2.1

2005  830 1207 39.8  30.248   91.399  15.0 TBU   1  0.0  0.7  1.7

2005  830 1212  2.7  31.703   91.205  15.0 TBU   1  0.0  1.6  2.6

2005  831 0926  0.3  30.959   90.109  15.0 TBU   1  0.0  1.3  2.2

2005  831 1646 38.0  29.790   91.759  15.0 TBU   1  0.1  0.7  1.4

Table 2 . All events of August 2005 recorded by TBU. Abbreviations are: HRMM: Hour and minute, Sec, Seconds, L: L or D for local or distant event, respectively, AGA: Agency, NST: Number of station used, RMS: Root mean square of location residuals, Mc, Ml and Mb: Coda wave magnitude, local magnitude and body wave magnitude, respectively.