Report for August, 2006

for

The University of Tibet Seismic Network (UTB)

Operated by

The Department of Science

Address: Environmental Physics institute. Lhasa. Tibet. PRC

Responsible: Tsoja Wangmo

Email: tsoja2@yahoo.com

The UTB network operates short period stations in and around Lhasa with the purpose of studying the local seismicity. The first station started operating on June 18, 2004. The network is considered experimental and stable operation cannot be expected before more experience is gained. All data is freely available on request.

Stations:

| Station name | Code | Latitude(N) | Longitude(E) | Height(m) |
| --- | --- | --- | --- | --- |
| Nhimo | NHIM | 29.4336° | 90.1643° | 3823 |
| Chuding | CHUD | 29.6978° | 91.1438° | 3794 |
| Chusang | CHUS | 29.9970° | 90.7462° | 4113 |
| Tage | TAGA | 29.7400 ° | 91.4603° | 3788 |

Operation of stations in August 2006

TAGA

Down August 9-11, 29-31 : System could not restart after power failure

NHIM

Down August 24 : Because no power at the meteorology station

CHUD

Down August 23-25 :  System could not restart after power failure

CHUS

Down August 23-26:. System down because of lighting strike

For the month of August a total of 22 events were recorded (Table 2). All those were located with one station (see Figure 1), the one station locations must be considered very uncertain due to the uncertainty in azimuth determination.

The crustal model used for location is given in Table 1.

| Depth (km) | Vp (km/s) | Vs (km/s) |
| --- | --- | --- |
| 0-27 | 6.0 | 3.4 |
| 27-41 | 6.5 | 3.7 |
| 41-61 | 7.0 | 4.0 |
| >61 | 8.0 | 4.6 |

Table 1. Crustal model of the area around Lhasa

The magnitude scales used are:

Mc = 2.6log(coda) + 0.001dist –3.0

Ml = log (amp) – 1.11 log (dist) – 0.00189 dist – 2.09

where Mc is coda magnitude, coda is coda length in seconds, dist is hypocentral distance in km, Ml is local magntude and amp is maximum S-amplitude in nm.

Figure 1.  Seismicity of area around Lhasa for August 01-31, 2006. The network recorded 22 events for this time period and 20 could be located within the area shown.

Year Date HRMM  Sec L Latitud Longitud Depth AGA NST  RMS   Mc   Ml

2006  8 7 1352 32.4 L  30.447   90.226  15.0 TBU   1  0.0  1.7  1.6

2006  8 9 1437 15.6 L  34.669   93.453  15.0 TBU   1  0.0  3.4  4.1

2006  811 0535 43.3 L  29.519   90.234  13.8 TBU   1 70.0  1.3  1.7

2006  812 2045 36.2 L  27.979   98.425  15.0 TBU   1  0.0  4.0  4.6

2006  813 1719 16.5 L  29.706   91.146  15.0 TBU   1  2.5  1.0  0.8

2006  814 2051 49.4 L  29.755   91.954  15.0 TBU   1  0.2  0.9  0.9

2006  817 0748 23.1 L  29.791   91.453  15.0 TBU   1  0.7  1.1  1.5

2006  819 2336  4.9 L  29.728   91.133  15.0 TBU   1  2.4  0.6  0.7

2006  820 1546 46.5 L  29.651   91.118  15.0 TBU   1  2.8  0.8  1.0

2006  820 2241 50.3 L  29.994   90.366  15.0 TBU   1  0.0  1.6  1.3

2006  821 0427  2.6 L  30.382   91.337  15.0 TBU   1  0.0  1.3  1.4

2006  821 0944 45.7 L  29.819   91.537  15.0 TBU   1  2.1  0.7  1.4

2006  821 1510 39.3 L  29.968   91.425  15.0 TBU   1  0.0  0.9  0.8

2006  824 1908 53.9 L  30.250   91.507  15.0 TBU   1  0.1  1.2  1.1

2006  826 2021 45.8 L  30.109   91.832  15.0 TBU   1  0.0  0.7  1.0

2006  827 1653 14.0 L  30.029   91.512  15.0 TBU   1  0.1  1.5  1.6

2006  828 1731 46.9 L  29.498   90.256  15.0 TBU   1  3.3  1.6  1.4

2006  829 1617 49.9 L  29.495   90.258  15.0 TBU   1  2.3  0.5  0.9

2006  830 1258 16.2 L  29.366   90.127  15.0 TBU   1  3.2  1.0  1.7

2006  830 1718  4.6 L  29.377   90.116  15.0 TBU   1  3.2  1.7  2.0

2006  830 1836 32.8 L  29.374   90.118  15.0 TBU   1 28.8  1.6  1.1

2006  831 0536 12.5 L  26.566   90.755  15.0 TBU   1  0.0  3.0  3.5

Table 2 . All events of August 2006 recorded by TBU. Abbreviations are: HRMM: Hour and minute, Sec, Seconds, L: L or D for local or distant event, respectively, AGA: Agency, NST: Number of station used, RMS: Root mean square of location residuals, Mc, Ml and Mb: Coda wave magnitude, local magnitude and body wave magnitude, respectively.