Report for September, 2006

for

The University of Tibet Seismic Network (UTB)

Operated by

The Department of Science

Address: Environmental Physics institute. Lhasa. Tibet. PRC

Responsible: Tsoja Wangmo

Email: tsoja2@yahoo.com

The UTB network operates short period stations in and around Lhasa with the purpose of studying the local seismicity. The first station started operating on June 18, 2004. The network is considered experimental and stable operation cannot be expected before more experience is gained. All data is freely available on request.

Stations:

| Station name | Code | Latitude(N) | Longitude(E) | Height(m) |
| --- | --- | --- | --- | --- |
| Nhimo | NHIM | 29.4336° | 90.1643° | 3823 |
| Chuding | CHUD | 29.6978° | 91.1438° | 3794 |
| Chusang | CHUS | 29.9970° | 90.7462° | 4113 |
| Tage | TAGA | 29.7400 ° | 91.4603° | 3788 |

Operation of stations in September 2006

TAGA

Down September 9, 12-13, 20-21, 29 : system could not restart after power failure

NHIM

Down September 12-14 : No power in the meteorology station for two days .

CHUD

Station running stable ..

CHUS

Station running stable ..

For the month of September a total of 29 events were recorded (Table 2). Of these, 26 were located with one station (see Figure 1) and 3 events located with two stations, the one station locations must be considered very uncertain due to the uncertainty in azimuth determination.

The crustal model used for location is given in Table 1.

| Depth (km) | Vp (km/s) | Vs (km/s) |
| --- | --- | --- |
| 0-27 | 6.0 | 3.4 |
| 27-41 | 6.5 | 3.7 |
| 41-61 | 7.0 | 4.0 |
| >61 | 8.0 | 4.6 |

Table 1. Crustal model of the area around Lhasa

The magnitude scales used are:

Mc = 2.6log(coda) + 0.001dist –3.0

Ml = log (amp) – 1.11 log (dist) – 0.00189 dist – 2.09

where Mc is coda magnitude, coda is coda length in seconds, dist is hypocentral distance in km, Ml is local magnitude and amp is maximum S-amplitude in nm

.

Figure 1.  Seismicity of area around Lhasa for September 01-30, 2006. The network recorded 29 events for this time period and 28 could be located within the area shown.

Year Date HRMM  Sec L Latitud Longitud Depth AGA NST  RMS   Mc   Ml

2006  9 3 1832 16.6 L  29.428   90.213  15.0 TBU   1  3.7  0.9  1.1

2006  9 4 1340  9.4 L  29.454   90.200  15.0 TBU   1  3.1  1.4  1.6

2006  9 4 1400 41.0 L  29.333   90.161  15.0 TBU   1  3.3  0.8  1.3

2006  910 0122 38.0 L  29.459   90.161  15.0 TBU   1  2.4  1.7  1.9

2006  914 0156  0.9 L  29.558   90.242  15.0 TBU   1  0.0  0.4  0.5

2006  915 2141 21.5 L  31.880   88.969  15.0 TBU   1  0.0  2.1  2.7

2006  918 1548 51.4 L  29.474   90.203  15.0 TBU   1  1.9  0.5  0.8

2006  919 2015 29.0 L  29.600   90.184   0.0 TBU   2  1.7  0.5  0.2

2006  922 1707  5.8 L  29.514   90.239  15.0 TBU   1  2.8  0.6  0.3

2006  927 0217 41.4 L  31.557   91.174  15.0 TBU   1  0.0  2.1  2.2

2006  927 1105 27.4 L  29.735   91.112  15.0 TBU   1  3.6  1.0  0.9

2006  927 1402 18.3 L  29.434   90.206   0.0 TBU   2  2.6  1.7  2.2

2006  927 1413 10.8 L  29.497   90.256  15.0 TBU   1  3.3  1.3  1.1

2006  928 1250 13.3 L  29.494   90.259  15.0 TBU   1  3.3  1.0  1.1

2006  928 1304 52.4 L  29.500   90.253  15.0 TBU   1  3.3  1.1  1.2

2006  928 1309 15.1 L  29.969   90.386  15.0 TBU   1  0.0  1.9  2.2

2006  928 1334 33.2 L  29.500   90.253  15.0 TBU   1  3.3  1.1  1.6

2006  928 1407 24.7 L  29.498   90.255  15.0 TBU   1  3.3  2.8  3.1

2006  928 1417 34.9 L  29.496   90.257  15.0 TBU   1  3.5  1.1  1.1

2006  928 1509 55.8 L  29.499   90.254  15.0 TBU   1  3.4  0.9  1.5

2006  929 1124 50.3 L  29.755   91.242  15.0 TBU   1  0.7  1.1  1.0

2006  929 1422  6.6 L  29.658   91.085  15.0 TBU   1  3.1  0.5  0.4

2006  929 1426 37.0 L  29.858   91.647  15.0 TBU   1  0.0  1.3  1.4

2006  930 1144 57.8 L  29.498   90.153  15.0 TBU   1  3.2  1.7  1.7

2006  930 1304 29.7 L  29.494   90.259  15.0 TBU   1  3.3  0.9  1.3

2006  930 1758 45.0 D                            TBU   2

2006  930 2008 25.8 L  29.499   90.254  15.0 TBU   1  3.3  1.0  1.2

2006  930 2247 15.3 L  29.715   91.184  15.0 TBU   1  2.6  0.6  0.8

2006  930 2254 58.0 L  29.456   90.180  15.0 TBU   1  2.3  1.2  1.4

Table 2 . All events of September 2006 recorded by TBU. Abbreviations are: HRMM: Hour and minute, Sec, Seconds, L: L or D for local or distant event, respectively, AGA: Agency, NST: Number of station used, RMS: Root mean square of location residuals, Mc, Ml and Mb: Coda wave magnitude, local magnitude and body wave magnitude, respectively.